**Government of Pakistan**

**Ministry of National Health Services, Regulation & Coordination**

**Drug Regulatory Authority of Pakistan**

**\*\*\*\*\*\*\*\*\*\*\***

**MINUTES OF THE 10TH MEETING OF THE MEDICAL DEVICE BOARD (MDB)**

**HELD ON 09-10-2018**

10th meeting of the Medical Device Board (MDB) was held in the office of Chief Executive Officer, Drug Regulatory Authority of Pakistan, TF Complex, G-9/4, Islamabad on 9th October, 2018. The meeting was chaired by Dr. Sheikh Akhter Hussain, Director Medical Devices & Medicated Cosmetics, Drug Regulatory Authority of Pakistan and was attended by the following:-

|  |  |  |
| --- | --- | --- |
| **S.No**. | **Name and Designation / Department** | **Position in the MDB** |
|  | Director Medical Devices & Medicated Cosmetics, DRAP, Islamabad. | Chairman |
|  | Dr. Alamgir Rao,  Director (Pharmacy Services), Health Department, Lahore. | Member |
|  | Mr. Imranullah, Senior Drug Inspector, Abbottabad, KPK  (Nominee of Director General Health, Khyber Pakhtunkhwa ) | Member |
|  | Mr. Syed Abdul Saleem Shah,  Chief Drug Inspector, Health Department, Balochistan  (Nominee of Director General Health, Balochistan) | Member |
|  | Brig.(R) Dr. Waqar Azim Niaz,  Consultant Urologist & Transplant Surgeon, Quaid-e-Azam International Hospital, Golra Mor, Islamabad. | Member |
|  | Dr. Sajid Bashir,  Prof. of Pharmaceutics, University of Sargodha, Sargodha. | Member |
|  | Mr. Muhammad Tahir Aziz, Chief Operating Officer, Shaukat Khanum Memorial Cancer Hospital & Research Centre, Peshawar. | Member |
|  | Mrs. Tazeen S. Bukhari,  Biomedical Equipment Planner, Saleem Memorial Trust Hospital, 31-Q, Gulberg-II, Lahore. | Member |
|  | Mr. Muhammad Asghar,  CEO, Cyber Soft Technologies,  Lahore. | Member |
|  | Prof. Dr. Saqib Shafi Sheikh,  Interventional Cardiologist/  Cardiovascular Surgeon, Mayo Hospital, Lahore. | Member |
|  | Dr. Ghazanfar Ali Khan, Additional Director (MD&MC), DRAP, Islamabad. | Secretary / Member |

The meeting started with the recitation of the Holy Quran. The Chairman MD&MC welcomed all the participants. Secretary MDB presented the agenda of the meeting.

**Item No.I**. **CONFIRMATION OF MINUTES OF 9TH MEDICAL DEVICS BOARD MEETING**.

**Decision:** The Board confirmed the minutes of the 9th meeting of MDB.

**Item No. II**. **APPLICATIONS FOR GRANT OF ESTABLISHMENT LICENSE TO IMPORTMEDICAL DEVICES.**

Secretary MDB informed the Board that the following applications for grant of Establishment License to import medical devices under Medical Devices Rules, 2017 were received in the Division. The establishments were inspected by the panels constituted by the Chairman MDB. The inspections were conducted according to the checklist.

**Decision:- The MDB decided as mentioned against each:-**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **S.No.** | **Name of Establishment** | | **Director/Proprietor/**  **partners** | **Name of panel Inspector (s)** | **Cold Chain**  **(Yes/No)** | **Decision** |
|  | M/s Medicamp International, First Floor Raja Naseer Plaza, Mohalla Raja Yousaf, New Abadi Morgah Rawalpindi. | | 1.Muhammad Hussain  2.Chaudhry Arif Hussain. | Mrs Unum Zia Shamsi, Assistant Director-IV (MDMC),DRAP, Islamabad.  Miss Hira Bhutto, Assistant Director-I (MD&MC), DRAP, Islamabad. | No | **Approved** for room temperature medical devices without cold chain facility |
|  | M/s Diagnostic Medical Associates, 205-Muhammadia Plaza Gordon College Road, Rawalpindi. | | Naveel Farooq | -do- | No | **Approved** for room temperature medical devices without cold chain facility |
|  | M/s Seico Medical Traders, 104 Mohammadia Plaza, Gordon College Road, Rawalpindi. | | Muhammad Farooq Malik. | -do- | Yes | **Approved** for room temperature medical devices alongwith cold chain facility. |
|  | M/s Hi-Tech Scientific International, F- 833/11-B, F-Block, Satellit Town, Rawalpindi. | | Muhammmad Rehan | -do- | Yes | **Approved** for room temperature medical devices alongwith cold chain facility. |
|  | M/s Global Clinical Cura Pvt Ltd., House No 334, Lane 6, Peshawer Road Rawalpindi. | | 1.Mr Hamza Ali.  2.Ms. Sonia Anum | -do- | Yes | **Approved** for room temperature medical devices alongwith cold chain facility. |
|  | M/s Blazon Diagnostic, Office No 45, Rawalpinhi Cricket Stadium, Double Road Rawalpindi. | | Mr Ahmar Zaman Khan. | -do- | No | **Approved** for room temperature medical devices without cold chain facility |
|  | M/s Future Scientific, FS House, Opposite Street No 4, Main Road Shaheen Town, Gangal West, Rawalpindi | | Malik Najam Farooq | -do- | Yes | **Approved** for room temperature medical devices alongwith cold chain facility. |
|  | M/s Elite Traders Rawalpindi, House No B-342 B Block St Town, Rawalpindi. | | Muhammad Imran. | -do- | No | **Approved** for room temperature medical devices without cold chain facility |
|  | M/s Pakistan Marketing Services, House No 4, 1st Floor, Street Haider Karar, Allah Abad School Road, Westridge 3, Rawalpindi. | | Khawaja Semab Akhtar | -do- | No | **Approved** for room temperature medical devices without cold chain facility |
|  | M/s Mediland Pakistan (Pvt) Ltd, Office B-09, 2nd Floor, Masood Arcade, IJP road, Near Saidpur Road, Rawalpindi.  **Godown:**  PD-452-B, Kareem Plaza, ISP Road, Near Pindora Chungi, Rawalpindi. | | 1. Mr Ghulam Murtaza Tariq (CEO)  2.Mr. Abdul Shakoor  3.Mr. Arfat Javeed  4.Mr. Naveed Akhter  5.Mr Shahid Mehmood. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s S.M. Diagnostics, 42C, Asghar Mall Scheme Rawalpindi. | | Rehan Musarrat. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Hasnain Scientific, Flat No 16, Shalimar Floor Aries Tower Shamsabad Murree Road Rawalpindi. | | Hassan Nawaz Lalee. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Meritorious Business Solutions (Pvt) Ltd, Office 202, 2nd Floor 153, D, Civic Center, Phase-4, Bahria Town, Rawalpindi. | | 1.Muhammad Raza Jaffary  2.Zainab Raza. | -do- | Yes | **Approved** for room temperature medical devices alongwith cold chain facility. |
|  | M/s Physiomed (Pvt) Ltd., 268/3, Kamal Road Saddar, Rawalpindi. | | 1. Muhammad Ramzan.  2.Sher Zaman.  3.Nusrat. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Freesia Enterprises, First Floor 104, Dawn Plaza, Bank Road Saddar, Rawalpindi. | | Muhammad Ibrar | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Gulf Marketing International, 11-B/2 Mohallah Satellite Town, Abdullah Jan Masjid Street, Near Kali Tanki, Said Pur Road, Rawalpindi. | | 1. Rana Muhammad Shafiq.  2.Muhammad Shabir. | -do- | Yes | **Approved** for room temperature medical devices alongwith cold chain facility subject to provision of DSL. |
|  | M/s Sanwa Trading Corporation, Office No 85, Rawalpindhi Cricket Stadium Double Road Rawalpindi. | | Mr Ajmal Masih | Mr.Muhammad Ayub Naveed, Assistant Director-II (MDMC), DRAP, Islamabad.  Hafiz Muhammad Asif Iqbal, Assistant Director-V (MDMC),DRAP, Islamabad. | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Surgi World, Office No 303, Muhammdia Plaza College Road Rawalpindi. | | Muhammad Saeed Iqbal | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Perfect Vision, Ali Plaza Near Rahat Bakers, Chur Chowk, Main Peshawar Road, Rawalpindi. | | Muhammad Imran Khalid | -do- | No. | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |
|  | M/s Uni brand International, Flat No 104, 1st Floor Muhammadia Plaza, collage Road, Rawalpindi. | | 1. Mr Abdul Rahim Shahid  2. Mr . Nadeem Shahid. | -do- | No. | **Approved** for room temperature medical devices without cold chain facility subject to provision of DSL. |
|  | M/s A.H Distributors, House No CB-708 Lane No 5 Peshawar Road Rawalpindi. | | Mr Muhammad Javed. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Cor-Med, 2nd Floor 38/62 Rehman Plaza Bank Road Saddar Rawalpindi. | | Israr Ul Haq. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Kiswa Cares, Office No.07, Gulf Plaza Chandni Chowk, Rawalpindi. | | Waqas Ahmed Malik. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Hospital Appliances, Office No 1, G-274, Chishti Plaza, Gordon Collage Road, Rawalpindi. | | Muhammad Irfan Ali Chishti. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Zuis Pharmaland, H CB974/8, St NO 3, Shabbir Ln, Rawalpindi. | | 1.Muhammad Ibrahim  2.Saeeda Ibrahim. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Zaidi Traders, 1.417, Satellite Town Distt Rawalpindi. | | Syed Masood Akhtar Zaidi | -do- | No | **Rejected** due to inadequate storage area. |
|  | M/s Princess Scientific Services, Plot No. 67/62, Adam-Jee Road 1st Floor Deen Plaza Saddar Cantonment, Rawalpindi. | | Abdul Hafeez. | -do- | Yes | **Approved** for room temperature medical devices alongwith cold chain facility. |
|  | M/s Biocare Enterprises, 64/2, St/17,FESCH (NPF) 0-9 PWD Road, Islamabad. | | Mr Muhammad Asif. | -do- | Yes | **Approved** for room temperature medical devices alongwith cold chain facility subject to provision of DSL. |
|  | M/s Alpha Evolution Enterprises Pvt Ltd., Suit 2 First Floor Sultan Plaza Gulshane Khudadad Colony, E-11/1, Islamabad. | | 1.Usman Rasheed butt.  2.Khaqan Babar.  3.Muhammad Ehtisham. | -do- | No | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |
|  | M/s Vantage Technologies, 251, Street 11-B, Phase-1, Ghouri Town, Islamabad. | | Muhammad Saeed Zia. | -do- | Yes | **Approved** for room temperature medical devices alongwith cold chain facility subject to provision of DSL. |
|  | M/s Sveda Health Care, Office No, 4 3rd Floor MB City Plaza 1/8 Markaz Islamabad. | | Naveed Aslam. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Bio Life, Office No 4, 2nd Floor, Ahmed Center, 1-8 Markaz, Islamabad. | | Sohail Akram | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Reaction Scientific, 337, street No 17, Sector B-17, Block B, Islamabad.  (PVT. lTD) CHANGE TO BE ADDED. | | Kashif Rehman Siddiqui.  Muhammad Altaf  Muhammad Imran  Muhammad Nawaz  Nadeem Akhter | -do- | Yes | **Approved** for room temperature medical devices alongwith cold chain facility. |
|  | M/s Rehab Initiative, Sadaat Plaza, Thanda Pani, main Lehtrar Road, Islamabad. | | Ihtisham Ahmad . | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Irteqa Biotek, Office 7& 8, Basement floor Chaudhary Akhmat Plaza Gulberg Green, Islamabad. | | Muhammad Azm Saeed Dar | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Safemed Technologies, Apartment No.3, 2nd Floor, Retoon Plaza, Sector G-15/1, Islamabad. | | Mrs. Humara Rasool | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Allied Surgicals,  Ist floor A, Unit No.1, Justice Inamullah Road, Block 7/8 KCHS Karachi  **Godown:**  Plot NO.37/1, Unit No.01, Sector 15, Korangi Industrial Area, Karachi. | | Muhammad Salman Muddasir | Mrs. Unum Zia Shamsi, Assistant Director-IV (MDMC),DRAP, Islamabad.  Hafiz Muhammad Asif Iqbal, Assistant Director-V (MDMC), DRAP, Islamabad | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Medica,  House No 188-1-B first Floor Near Nursery Area, Block -2 PECHS, Karachi. | | 1. Mr salman Qureshi.  2.Mr Asif Dosslani | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Best - Med Traders,  Lower Ground suit No 27 & 28 resham Bazar, Main University Road, Gulshan Town, Karachi | | Adnan Hayat Nizami | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s A.T Associates,  2. Flat No. F1, 1st ,51-C, Block-6, PECHS, Karachi | | Mr Tahir Ali Ghaghro. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Timax Life Sciences (Pvt) Ltd., 2 Mezzaine -1 Fl-37, Block-B, Gulshan - e Jamal, Karachi. | | 1. Nadeem Rana  2.Muhammad Kaleem Rana. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s A.M Sales & Services,  A. M House, 82-L, Block-02, PECHS Karachi. | | 1.Mr Anwar Habib  2.Karima. | -do- | Yes | **Approved** for room temperature medical devices alongwith cold chain facility. |
|  | M/s Meditec Instruments Co., Suit No 202, Tahir Plaza, A-20, KCSHU, Near Duty Free Shop, Karachi | | 1.Mrs. Tanseem Hozaifa.  2.Ms. Ismat Hatim Gabaji.  3.Mrs. Arwa Idris.  4.Mr. Hozaifa Hashim . | -do- | Yes | **Approved** for room temperature medical devices alongwith cold chain facility. |
|  | M/ Otsuka Pakistan Limited, 30-B, SMCHS, Karachi. | | Hanif Sattar  Mr. Saddiq Rafee. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Scientific Supplies Pvt Ltd, 57-A, Block 2, PECHS, Karachi | | 1.Mr Maqsood Khan  2. Mr Masroor Khan  3.Mansoor Ahmad Khan  4.Mudassir Maqsood. | -do- | Yes | **Approved** for room temperature medical devices alongwith cold chain facility. |
|  | M/s Medworks, 327 Haider Ali Road, Block -3 DMCHS Karachi. | | Faisal Masood Younus. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Medisurg Innovatives  Health Care, 1/6-N Block-6,PECHS, Shahrah - e- Faisal Karachi  **Godown:**  F-1102, Saima Square One, Gulshan-e-Iqbal, Block-10-A, Karachi. | | Dr Muhammad Rizwan. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Rafi Sultan Enterprises,  Plot No -19-1-A, Office No. M-5, Mezzanine floor Business Centre, Block-6,PECHS, Main Shahrah-E-Faisal, Karachi. | | 1.Mr Khalil Ahmed Allahwala  2.Mr Sabih Mohsin  3.Mr Ahsan Mehmood  4.Mr Raza Mahmood. | -do- | No | **Approved** for room temperature medical devices without cold chain facility.. |
|  | M/s Meher Enterprises,  1st Floor Azzainab Court Campbell Street, Karachi.  **Godown:**  A-IV, 1st Floor Azzainab Court Campbell Street, Karachi. | | Muhammad Anwar Idress. | -do- | No | **Approved** for room temperature medical devices without cold chain facility.  Name Alert. |
|  | M/s Ghazali Brothers,  1st Floor Azzainab Court Campbell Street Karachi.  **Godown:**  1. Ground Floor, Karimgi & others, Shop No.14,Plot No.W.07/15, North Napier Road, Karachi.  2. 2nd Floor, Karimgi & others, Off-2/D, Plot No.W.07/15, North Napier Road, Karachi. | | Ahmed Ghazali. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Musaji Adam & Sons.  Office No. C-285,Block- 10, Federal B Area, Karachi.  **Godown:**  F-14, Phase-II, S.I.T.E Super Highway, Ahsanabad, Karachi. | | 1.Muhammad Ilyas Vohra  2.Muhammad Irfan Vohra  3.Muhammad Ismail Vohra  4.Muhammad Sufyan Vohra. | -do- | Yes | **Approved** for room temperature medical devices alongwith cold chain facility subject to provision of DSL. |
|  | M/s GD Traders,  Plot No 110-C, Mezzanine Floor in Between 9th & 10th Commercial Street Phase -IV DHA, Karachi. | | 1.Syed Sami uddin  2.Syed Salah uddin. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Novo Nordisk Pharma (pvt) Ltd., 113, Shahrah -e- Iran , Clifton Karachi | | 1.Jahanzeb Kamal Khan.  2.Wasi Uddin Syed.  3.syed Abdul Azeem.  4.Anila Sikandar.  5.Saqib Zia.  5.Mohammad Adil. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Amanco, 402, Marine Point, Bl.9, Clifton Karachi.  **Godown:**  Plot No.36, Ware House No.3& 4, Sector 28, KIA, Karachi. | | Amna Ashraf. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s JF International,  4th Floor 10-C, 6th Phase-II, EXT, DHA, Karachi. | | Saima Azeem. | -do- | No | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |
|  | M/s Tri Tech International,  10- C, Sunset Commercial Lane, Phase-II EXT, DHA, Karachi. | | 1. Sheikh Muhammmad Azeem  2.Shakeel Ahmad. | -do- | No | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |
|  | M/s A.M Distributors,  4th Floor Plot No. 37-C, Bukhari Commercial Lane-8, Phase-VI, DHA. Karachi. | | Mr. Muhammad Rafiq. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Interex Company,  House No.195, 2nd Floor, KMCHS, Near Hill Park, Karachi. | | Mr Inam Ullah Arain. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Trans Angio System, Suite 507, Progressive Square Block -6, P.E.C.H.S Shahrah -e- Faisal Karachi.  **Godown:**  35-B/1, Portion-C, Block-6, PECHS, Shahra-e-Faisal, Karachi. | | Zahid Ahmed. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Rech International, Office No.247-B, P.E.C.H.S., Block-6, Near Hotel Faran, Yaseen Suleman Street, Karachi. | | 1.Alia Shafiq.  42201-1956737-6  2.M. Muneeb. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Shirazi Trading Company (Private) Limited, Plot N0.114-C, Al-Murtaza Commercial Lane-3, Khayaban-e-Iqbal, Phase-8, DHA, Karachi.  **Godown:**  1st Floor, Nadir House, I.I.Chundrigarh Road, Karachi. | | Mr. Yusuf Hussain Shirazi  2.Mr Amir Hussain Shirazi.  3.Mr Saqib Hussain Shirazi.  4.Ali Hussain Shirazi.  5.Mr Frahim Ali Khan.  6.Mr Khaleeq -ur- Rehman  7.Mr.Farooq Saleem | -do- | No | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |
|  | M/s Hospital Solutions,  174-E, Block -2, P.E.C.H.S Karachi. | | 1. Masood Shams Ul Haq.  2.Muhammad Nadeem. Anwer. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Business Medical International, Suit. 203, 2nd Floor, Hafeez Center, Shahra-e-Faisal, Karachi.  **Godown:**  Plot No.C-16, Block-7/8, K.A.E.C.H.S., Karachi. | | Muhammad Nadeem. | -do- | No | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |
|  | M/s Scilife Pharma Pvt Ltd., 16 K.O.C.H.S. Amir Khusro Road, Karachi.  **Godown:**  Plot No.FD-57/58-A/2, Korangi Creek Industrial Park, Karachi. | | 1.Mr Shahid Ghoury.  2.Mr Inam Ur Rehman  3.Mr waqar Hassn siddiqui  4.Mr Asim Hussain Siddiqui. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Medichem Enterprises,  331/C, Block No 3, DMCH Society, Alamgir Road Karachi. | | Khalid Sultan. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Greenstar Social Marketing (Guarantee) Limited, Ocean Tower, 8th Floor, G-3, Block-9, K.D.A. Scheme No.5, Main Clifton Road, Karachi.  **Godown:**  Ground floor, Plot No.F-A/A-2, Hub River Road, Sher Shah Site, Karachi. | | 1.Dr. Syed Aziz Ur Rab.  2.Javid Sadiq.  3.Karl Hofmann.  4.Mahtab Akbar Rashdi  5.Marcie Anne Cook.  6.Douglas Call.  7.Dr Mushtaq Ali Khan.  8.Muzzafar Mahmood Qurashi.  9.Dr Rehana Ahmed.  10.Dr. Aliya Iqbal Naqvi.  11.Faisal Farooq. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Grace Pharmaceutical, 102, 1st Floor, Block-9, Clifton, Karachi.  **Godown:**  F-112, S.I.T.E, Karachi. | | Shahdev Vankwani. | -do- | No | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |
|  | M/s Batla Impex,  SH. NO 40, Namco Centre Cambell Street Karachi.  **Godown:**  Rehman Chamber, Medicine Street No.2, Marriot Road, Karachi. | | Iqbal Batla. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Fabnos International,  Bulding No 26-C, 1st Floor, Tauheed Commercial Area Street No 26, Phase- V, DHA, Karachi. | | Burhanuddin Banday. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Flying Distribution Network,  M- 57, Mezzaine Floor Glass Tower Main Clifton Road Karachi.  **Godown:**  Plot No.2, FT/3, M-62, Frere Town, Main Clifton Road, Karachi. | | Hussain Muhammad Akbar | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Ophthalmo-Tec,  Haji Fazal Ellahi Building, Opp. Women Collage Shahrah -E- Liaquat, Karachi. | | Farha Masoom. | Ms. Hira Bhutto, Assistant Director-I (MDMC),DRAP, Islamabad.  Muhammad Ayub Naveed, Assistant Director-II (MDMC), DRAP, Islamabad. | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s United International,  GNB-F 18/A Ground Floor F- Block Meher Sons Estate Karachi. | | Mr Sohail Kadvavi. | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Medtronic Pakistan Pvt Ltd., Office No. 1301, 13th Floor Dilkusha Forum Tariq Road, Karachi.  **Godown:**  Plot No. S1, Survey 231, Sector 2, Road No. 4000, Korangi Industrial Area, Karachi. | | 1. Mr Shahid Manzoor.  2. Mr Fabiano Favretto.  3. Mr. Moussa Srour. | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Hospicare Systems,  Mazzanini Floor, Rabbiya Garden, Plot No, 3, MCHS Society, Shaheed-e-Millat Road, Karachi. | | Masood Ahmad. | -do- | Yes | **Approved** for room temperature medical devices alongwith freeze and cold chain facility. |
|  | M/s Safe Health Pakistan  Bizcon, Office No.25, 2nd Floor, Dilkusha Chamber Marston Road, Karachi. | | Naveed Ur Rizwan Azizi. | -do- | No. | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |
|  | M/s Angel Medical Services,  House No 7/4 Drigh Road Cantt Bazar Korangi Shah Faisal Town Karachi. | | Kaleem Sharoon. | -do- | No | **Approved** for room temperature medical devices with limited storage capacity without cold chain facility. |
|  | M/s N Z Trader, 9/16 AR KAY Squire extension Shahra -e- Liaquit New Challi Karachi.  **Godown:**  Room No.112-113, New Charli Trade Center, Shahra-e-Liaqut, Karachi. | | Muhammad Imran Khan Sherwani. | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Vida Laboratories,  Plot No 225, Sector 23, Korangi Industrial Area, Karachi. | | Mr Atif Iqbal. | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Hamza Trading Co., 302, 3rd Floor, Makkah Market, KatchiGali 2. No1, Marriot Road, Densohall, Karachi.  **Godown:**  Puri House, 4/22, West Wharf Road, Karachi. | | Daniyal Iqbal. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Battla Associates, No. 4, Allawala Building Kutchi Gali No 1, Marriot Road Karachi. | | Ikhlas Ahmed Battla | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Maqsood Brothers,  Office No 503, B, 5th Floor, Saima Trade Tower, I.I Chandrigar Road, Karachi.  **Godown:**  Shop No.1-2, 66/2 SB/2, Al-Noor Arcade, Opp. CIA Residency, Near Lucky Star Market, Saddar, Karachi. | | Maqsood Ahmad | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Alere Medical Pakistan (Pvt) Ltd, 21 Buhadarabad Block - 3 Shaheed- e- Millat Road Karachi. | | 1.Mr. Arthur Mark Hengerer.  2.Mr. Foo Suan Chin. | -do- | Yes | **Approved** for room temperature medical devices alongwith cold chain facility with limited capacity. |
|  | M/s Uniferoz Pvt Ltd., Plot No. 32/8 and 33/2, Sector-15, Korangi Industrial Area, Karachi.  **Godown:**  Plot No.108 & 109, Sector 23, KIA, Karachi. | | 1.Tariq Mehtab Feroz.  2.Sadiq Mehtab Feroz,  3.Muneer Mehtab Feroz  4. Mehtab - uddin Feroz. | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Al Hamd Enterprises, FL-111/1, Block-6, Gulshan-e- Iqbal, Karachi | | Aslam ullah Khan | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Uniprom Healthcare,  L-151, 2nd Floor SehbaAkhter Road, Block 13-G Gulshan-e-Iqbal Karachi  **Godown:**  A-33, Bukhari Town, Block 10-A,Gulshan-e-Iqbal, Karachi. | | Syed Hameed Ahmed. | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Nismedical,  Mashriq Center, Suite No315, 3rd Floor, Gulshan-e-Iqbal Block 14, Karachi | | Syed Hameed Ahmed. | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s A J International Company, Suit No 313, 3rd Floor Mashriq Center, Gulshan- e- Iqbal Block-14, Karachi | | Rehan Mohsin Khan. | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Ontech Corporation,  154 Block 13-D/2, Gulshan-e- Iqbal, Karachi | | Zareen Mujeeb | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s 4S International,  Suit No 205, 2nd Floor Al - Fiza Glass Tower Rashid Minhas Road , Blok 10-A Gulshan-e-Iqbal, Karachi. | | Foquia Liaquat. | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Eastern Optical Co., Lakshmi Building M.A. Jinnah Road Karachi. | | 1.Muhammad Sarwar  2.Muhammad Kamran  3.Sajida Sharif | -do- | No. | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |
|  | M/s Life Scan Enterprises, R-274, 1st Floor Railway Society Block-13-D2 Sehba Akhtar Road Gulshan -e- Iqbal, Karachi. | | 1.Yasir Baig.  2.Shaikh Muhammad Zubair.  3.Moiz Shahid. | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Multi Med Healthcare. Plot No 17, Street No 1, Sector 19, Korangi Industrial Area, Karachi. | | Kanwal Rehman. | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s DIAG. M (Private) Limited, B-270 Sector 6-F EBM causeway, Mehran Town Korangi, Karachi. | | 1.Arshad Aleem  2.Muhammad Zia Ullah  3.Muhammad Shahabuddin  4.Muhammad Nadeem Biswas  5.Manzar Aleem  6.Faisal Warsi. | -do- | Yes | **Approved** for room temperature medical devices alongwith cold chain facility. |
|  | M/s New Pakistan Traders, Office No. 306/1 Trade Tower Altaf Hussain Road New Challi, Karachi.  **Godown:**  1st Floor, Puri House, West Wharf Road, Karachi. | | Muhammad Rafiq. | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Ruella Medical,  Suit No. 1002, 10th Floor, Kawish Crown Plaza, Karachi | | Mr. Kamran Muhammad  Khan. | -do- | No. | **Rejected** due to poor inventory management system and limited storage capacity and absence of qualified person.  No documents available as per GDPMD. |
|  | M/s Wasim Co,  Kutchi Gali No.1, Marriot Road, Karachi.  **Godown:**  Sadaf Center, SR-3, Serial Road, 2nd Floor No.15 & 26, Karachi. | | Khalil Ahmed. | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Curelink Pharmaceuticals,  Office No 6, 3rd Floor B.B. Shoping Mall, Opp, Ned University, Block 1, Gulistan-e- Jauhar, Karachi | | Syed Najam Abbas. | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Medilution Healthcare, A- 322, First Floor, Gulshan- e-Iqbal Block 2, KDA Scheme 24, Karachi | | Adnan Ahmed Saddiqui. | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Martin Dow Marker Specialities (Pvt) Ltd.,  D-7 Shaheed-e-Millat Road, Karachi.  **Godown:**  1. Plot No.130, Sector 15, KIA, Karachi. | | 1.Mr Amjad  2.Ali Amir  3.Anis Ahmad Shah. | -do- | Yes | **Approved** only for cold chain facility. |
|  | M/s AB Enterprises,  Plot No.C-155-156, Sector-6, F, Mehran Town, Karachi. | | Farhan Javeed. | -do- | No. | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |
|  | M/s United Healthcare, 435, BYJ Society, Bahadurabad,  Karachi. | | Mr. Asad Feroz. | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Elate CC Pvt Ltd., Suite No 1,2, 3, St-3 Block 3, Gulshan e Iqbal, Karachi. | | Syed Ashar Alam. | -do- | No. | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Eastern Medical Care (Pvt) Ltd, 7-A, Block- N, Model Town Extension, Lahore | | 1.Muhammad Sarwar  2.Muhammad Kamran  3.Sajida Sharif | Miss Hira Bhutto, Assistant Director-I (MD&MC), DRAP, Islamabad.  Hafiz Muhammad Tayyab, Assistant Director, DRAP, Islamabad. | No | **Approved** for room temperature medical devices without cold chain facility subject to provision of DSL. |
|  | M/s Total Technologies (Pvt) Ltd., House No 696, J-2 M.A. Johar Town, Lahore | | 1.Mr. Shoukat Ali  2.Mr Tallat Mahmood Qureshi. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Mukhtar Enterprises, 55 Block B, Faisal Town Lahore. | | Farooq Ahmad. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Sial Traders, 156-A, Abubaker Block, New Garden Town Lahore | | Muhammad Ashiq. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Med Impex, 101-A Faisal Town, Lahore | | Muhammad Jamil. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Premier Health Care, 31, Block A- 1, Johar Town Lahore | | 1.Wasib Hanif  2.Asad Chughtai. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Human Health Care, 61-A, Revenue Employee Coorperative Housing Society, M.A Johar Town, Lahore | | Muhammad Arslan Latif. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Meditron Medical Systems, 369-E, Johar Town Lahore | | Muhammad Arshad | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s M. Yousaf & Co, Office No 131, Tippu Block, Garden Town, Lahore. | | Muhammad Yousaf | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s 3A Nutra, 12-F-1 Mohamod Chowk Johar Town, Lahore | | Mushtaq Ahmed | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Jam's Heart International, Office No 602 6th Floor Al-Qadir Heights New Garden Town Lahore | | 1. Jamshaid Alam  2.Kashif Hussain. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | M/s Radiant Medical (Pvt) Ltd., 6th Sher Shah, New Garden Town, Lahore | | 1. Sabir Ali Ch.  2. Ali Ahmad Ch. | -do- | No | **Approved** for room temperature medical devices without cold chain facility subject to provision of DSL. |
|  | | M/s Health Care International, Office No. 210 1st Floor, Block J/2 Johar Town Lahore. | Omer Jan Shaukat | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s M.S. Associates,  Shop No 5, Plot No. 8 Al - Meraj Arcade Chauburgy, Lahore.  **Godown:**  Ground & 1stFloor, Shop No.12, Property No.S-94-R-1/E, Super Market, Chowk Chouburgy, Lahore. | Shahzad Wazir | -do- | No | **Approved** for warm range (above 30°C) medical devices without cold chain facility subject to compliance of GDPMD. |
|  | | M/s Cardiovascular Medical System, Office No.210-Block, J/2 Johar Town, Iqbal Town, Lahore | Asim Toqeer. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Optic Classic Distribution Network, Office No.2, 1st Floor, Shan Arcade, Barkat Market, New Garden Town, Lahore. | 1.Fareed Akhtar.  2.Dr Nadeem Ashraf | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Bio Care Medical System, 415 Gulshan Block Allama Iqbal Town Lahore. | 1.Khurram Bukhari.  2.Mohsin Nisar | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s ICU Pharmaceuticals, House No.515, Karim Block Allama Iqbal Town, Lahore | Inam Ullah Khosa. | -do- | No | **Rejected** due to poor storage conditions. |
|  | | M/s Uniplan Trade International (Pvt) Ltd., 2-132 Industrial Estate, KotLakhpat Lahore | 1.Muhammad Khalid Javaid  2.Nasir Javid.  3.Tahir Javeed.  4.Naveed Khalid. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Glow Pak International, 129/5-M Quaid- E- Azam Industrial Estate, Kot Lakhpat, Lahore | 1. Idress Qadri.  2.Shoaib Afzal Qureshi. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Optisurg, 17- C1, Valancia Town, Lahore | 1.Mahfooz Ahmad Qureshi.  2.Fayyaz Ahmad Qureshi. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Metro Commercial Enterprises, Suit No 1, LGF, Abrar Business centre, Wahdat Road, Lahore | Muhammad Jalil Tahir. | -do- | No | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |
|  | | M/s Imtiaz Brothers, Suit No 7 B,2nd Floor Abrar Bussiess Center 25 Main Wahdat Road Lahore.  **Godown:**  22 Lower Ground Floor, Abrar Business Center, 25 main Wahdat Road, Lahore. | Saqib Ameen. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Algene Medical (Pvt) Limited , 139-B 2nd Floor, Commercial zone Jasmine block Bahria Town Lahore. | 1. Muhammad Ramzan  2. Tanveer Akhtar | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Dental Supply (Pvt) Ltd., UD 42, Land Mark Plaza, Jail Road, Lahore | 1. Idress Qadri.  2.Shoaib Afzl Qureshi. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Ever-X, 1-E, Samanbergm, Johar Town, Lahore. | 1.Muhammad Farooq  2.Imran Latif | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Horizon Group of Company, 603-Kamran Block, Allama Iqbal Town, Lahore.- | 1.Ahmad Farhan Aslam  2.Sana Farhan | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Safmed, 124- A Shadman-1, Lahore | 1.Naheed Shafiq  2.Safia Ahmad. | Hafiz Muhammad Asif Iqbal, Assistant Director-V (MD&MC), DRAP, Islamabad.  Hafiz Muhammad Jawad Ali, Assistant Director (EC), DRAP, Islamabad. | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Chemical House, 6-C SikandarMalhi Road Canal Park, Gulberg-II, Lahore | Shoaib Rana. | -do- | Yes | Recommended for cold chain and room temperature medical devices. |
|  | | M/s Renacon Pharma Ltd. House No,3 Street No 1, 18 Km, Ferozepur Road, Mujahid Colony Lahore. | 1.Dr Salman Shakoh.  2.Syed Shahid Ali Shah.  3.Syed Shehryar Ali.  4.. Abdul Majeed Ch.  5.Mr. Jamal Mustafa Saddiqui.  6.Dr. Salman Faridi  7.Mrs. Lubna Shakoh | -do- | No | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |
|  | | M/s Sterijekt Medical Devices, 22 Km Ferozpur Road Lahore. | 1.Mr Omer Manzoor.  2.Manzoor Elahi Taj. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Tek Enterprises, Office No MZ-9 Mezzanine Floor Al Hafeez Heights 65 -D Sir Syed Road Gulberg-III, Lahore. | Tariq Rasheed Qureshi. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s M & M Pharma, 1st Floor, Javid Plaza, Opposite Gate No 2, Pepsi Factory, Gurumangat Road, Gulberg-II, Lahore. | 1. Munawar Akhtar Islam  2.Adeel Munawar  3.Raheel Munawar. | -do- | No | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |
|  | | M/s Treu-Dynamic International (Pvt) Limited, C-206, 2nd Floor, City Tower, Main Boulevard Gulberg, Lahore. | 1.Mr. Rizwan zahid Khan  2.Mr. Salman zahid Khan.  3.Mr. M. Zaman Khan.  4.Mr. M. Irfan Khan.  5.Mr. M. Tahir Khan. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Novum Life Solutions, 328/16 W-Block, DHA, Lahore. | Salam Ahmed. | -do- | No | **Approved** for room temperature medical devices without cold chain facility subject to provision of DSL  . |
|  | | M/s Denovo Pharma, D-7, 90-C, Canal Park, Gulberg-II, Lahore. | 1.Anwar Ul Haq Ghafoor.  2.Shahid Rafique.  3.Waqas Zaib Mughal. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Ortholink, 55-4, Shadman Market, Lahore | 1.Imtiaz Ahmad  2.Ismat Mahmood. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Ghrasa Laboratory Supplies, 174- Ferozpur Road, Pearl Plaza, 2nd Floor, Shahjamal Stop, Lahore | Mr Ghulam Hussain. | -do- | Yes | **Approved** for room temperature medical devices alongwith cold chain facility. |
|  | | M/s Vertex Medical (Pvt) Ltd., 70-B-1, Gulberg-III, Lahore.  **Godown:**  108- Tipu Block, New Garden Town, Lahore. | 1.Qasim Ali  2. Umair Qasim  3.Shouqat Ali  4.Ramzan Arif | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Alfa Scientific Store, 24-Maclogen Road, Lahore  **Godown:**  LG-1, LG-2, LG-3, Lower Ground, Sourth Counter, 10-Adward Road, Lahore. | Muhammad Sajjad. | -do- | Yes | **Approved** for room temperature medical devices alongwith cold chain facility. |
|  | | M/s The Holy Green International, Office No 8 & 9, First Floor Fatima Center Queens Road, Lahore. | Waqar Ahmed Butt. | -do- | No | **Approved** for room temperature medical devices without cold chain facility.. |
|  | | M/s Siemens Heathcare (Pvt) Ltd., 4th Floor, State Life Building 15-A, Sir Agha Khan Road, Lahore. | 1. Khurram Jameel  2.Syed Imran Raza. | -do- | No | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |
|  | | M/s Electro Med Corporation, 53 Mall, Near Panorama Shopping Centre, Lahore | 1.Saif Ur Rehman  2.Razi Ur Rehman  3.Zaki Ur Rehman  4.Shoaib Rizwan Usmani. | -do- | No | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |
|  | | M/s SHAHCO Medical (Pvt ) Limited, Office No. 934, Shahdman-01, Lahore | 1.Mr Shahid Mahmood.  2. Mrs. Salamat Bibi. | -do- | No | **Approved** for warm range (above 30°C) medical devices without cold chain facility subjecdt to provision of DSL**.** |
|  | | M/s Pak Punjab Cardex Medical Systems, Office No.202, 2nd Floor, Eden Heights Jail Road, Lahore  **Godown:**  Plot No.257, Ground Floor, K-Block, DHA, Lahore. | Waqas Liaqat. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Ahmad Care International, 2nd Floor, 7-Shahra-e-Tajbagh, Main Market, Phase-I, Tajbagh Housing Scheme, Lahore. | Amir Ijaz Butt. | -do- | No | **Rejected** due to not having storage facility. |
|  | | M/s Crystal Health Care, Naseem Manzil, 10-A, Main Market, Samanabad, Lahore. | 1. M. Moien Uddin  2. Imtiaz Haq | -do- | No | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |
|  | | M/s Endoaid Biomedica, 185 C, DHA EME Sector, Lahore  **Godown:**  2nd Floor, 85-D, Commercial Area, DHA EME, Lahore. | 1. Muhammad Rashid Khan.  2. Mohammad Naeem. | -do- | No | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |
|  | | M/s Nwill Healthcare, Office No. B-9, Royal Garden Hotel Building, 19- Birdwood Road, Lahore | Naveed Sarwar. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Reliance (Pvt) Ltd., 17/3, Mulana Zafar Ali Khan Road, Lahore | 1.Adrees Waqar Hayee.  2. Adrees Saleem Hayee.  3.Address Kamran Hayee. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Alliance Medical, 12-B, 1st Floor, Agro Flats, Shadman, Lahore | Wasim Ijaz. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Pharma Consultant Pakistan (Pvt) Ltd. Suit No 207, 207 A Khan Tower DHA Square Walton Road Lahore Cantt. | Muhammad Kashif Saleem | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Medi Health Services, 1st Floor , 16-E Mehta Street Temple road, Lahore. | Mr. Faisal Ikram | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Kaumedex, E-144/2, New Super Town, Defence Road, Lahore Cantt. | Ali Raza Khan. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Hope Pharma, 1-B, Guldasht Town, Zarar Shaheed Road, Lahore. | Kashif Amin | -do- | No | **Approved** with limited storage area for room temperature medical devices without cold chain facility. |
|  | | M/s Genome Pharma,  House No.166-A, Street No.9,  Chaklala Scheme-III, Rawalpindi.  **Godown:**  Basement C-19, main Commercial Access Road, RCCI Industrial Estate, Rawalpindi. | 1.Abuzar Faizy Rattu  2.Faisal Zafar. | Muhammad Ayub Naveed, AD-II(MDMC), DRAP, Islamabad.  Mr. Arsalan Tariq, AD (QC-I), QA&LT, DRAP, Islamabad. | No | **Approved** for room temperature medical devices without cold chain facility subject to provision of DSL. |
|  | | M/s Fresenius Kabi Pakistan (Pvt) Ltd., Tanwir Ahmad Medical Center (TAMC), First Floor MM Alam Road, 27-C/3, Gulberg-III, Lahore  **Godown:**  Agility Logistrics Private Limite, RLC-2, 26 KM, Multan Road, Opp.Hussani Darbar, Near Shamshad Farm House, Lahore. | Noman Zia | Ms. Hira Bhutto, Assistant Director-I (MDMC),DRAP, Islamabad.  Muhammad Ayub Naveed, Assistant Director-II (MDMC), DRAP, Islamabad. | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s A.S Enterprises, 3, Mozang Road, Lahore. | Shafi ud Din. | -do- | Yes | **Approved** for room temperature medical devices alongwith cold chain facility. |
|  | | M/s 3M Pakistan Pvt Ltd., 3M Pakistan Pvt Ltd.Islamic Chamber Of Commerce Building, St No 2/A Block 9, KDA Scheme 5, Clifton Karachi.  **Godown:**  Plot No.A-6, A-7, Qasim Logistics Center, North West Industrial Zone, Port Qasim, Karachi. | 1. Jarrri Masood Zaidi.  2. Andrei Liviu Holban. | Mrs. Unum Zia Shamsi, Assistant Director-IV (MDMC),DRAP, Islamabad.  Hafiz Muhammad Asif Iqbal, Assistant Director-V (MDMC), DRAP, Islamabad | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Krestacorp, M/s Krestacorp.76-C, 3rd Floor, Office No.2 Khayaban-e-Jami Street No.9, DHA 7, Karachi. | 1.Mr.Kanwar Nouman Haseeb  2. Mr. Kanwar Abdul Haseeb | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Eli Lillly Pakistan Pvt Ltd.5-A 5th floor 10th Buliding Floor , Al Tijarah Center, 32- A, Block 6, PECHS Main Shahrah e Faisal Karachi  **Godown**  B 23- (EL-1) Gate 5, S.I.T.E, Karachi. | Muhammad Mahmood Hanif | Mrs. Unum Zia Shamsi, Assistant Director-IV (MDMC),DRAP, Islamabad.  Hafiz Muhammad Asif Iqbal, Assistant Director-V (MD&MC), DRAP, Islamabad. | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Atlantic Pharmaceuticals. 445, Sodawaterwala Building Dr Ziauddin Ahmad Road, Near Light House, Karachi.  **Godown:**  C-1/8, Sector 16, Korangi Industrial Area Karachi. | Azmat ullah khan. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Easha Enterprises. Office No 376, Pak Khaleej Center Saidpur Road Rawalpindi. | Tauseef Ahmed Farooqi. | Mrs Unum Zia Shamsi, Assistant Director-IV (MDMC),DRAP, Islamabad.  Miss Hira Bhutto, Assistant Director-I (MD&MC), DRAP, Islamabad. | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Blue Birds Enterprises. Office No 01, Ashraf Plaza, Iqbal Road Rawalpindi.  **Godown:**  Office No 04, Ashraf Plaza, Iqbal Road Rawalpindi. | Waseem Aslam. | -do- | No | **Approved** for room temperature medical devices without cold chain facility. |
|  | | M/s Claris Medical.Unit 27, 3rd Floor, Twin City Plaza I-8 Markaz Islamabad. | Mr. Saqib Altaf Chudhry. | Miss Hira Bhutto, Assistant Director-I (MD&MC), DRAP, Islamabad.  Hafiz Muhammad Asif Iqbal, AD-V (MDMC), DRAP, Islamabad. | No | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |
|  | | M/s Safeway Systems Pakistan.Flat No. 4, 2nd Floor Amna Shopping Centre Misrial Road, Rawalpindi. | Mr. Zeeshan Haider. | Mrs Unum Zia Shamsi, Assistant Director-IV (MDMC),DRAP, Islamabad.  Miss Hira Bhutto, Assistant Director-I (MD&MC), DRAP, Islamabad. | No | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |
|  | | M/s Kohsar Distributors.Hill View Block, Lower Basement, Block No 516-523, Pakistan Town,  Islamabad  **Godown:**  Plot No.3-4, Hall No.1, Korang Town, Islamabad. | Mr. Raja Iftikhar Ahmed. | -do- | No | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |
|  | | M/s Shaheen Medical Services. Opposite Benazir Bhutto International Airport Chaklala Rawalpindi. | Muhammad Sajid Waheed. | -do- | No | **Approved** for warm range (above 30°C) medical devices without cold chain facility. |

The Board also discussed at length the implications of imminent expiry of exemption period i.e 15-10-2018 for Class D medical devices and the resultant negative impact on import and availability of such medical devices. The Board taking into consideration the limitations of the Medical Devices Division in terms of human resource and time requirement for proper evaluation / assessment of enlistment / registration dossiers, decided that import of all such life saving / life sustaining Schedule "D" medical devics shall not be hampered, which have been provisionally registered and shall continue to be effective till decision is made on their submitted registration application by the MDB.

**Item No. III** . **APPLICATIONS FOR RENEWAL OF ESTABLISHMENT LICENSE TO MANUFACTURE MEDICAL DEVICES.**

The below mentioned firms have applied for renewal of Establishment License to manufacture medical devices under MDR, 2017 for which inspection panel were constituted for inspection of their establishments. The information about the firms/companies and recommendations of the panel are submitted for consideration of MDB please:-

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **S.No** | **Name of Establishment** | **Address** | **Name of Production Inchange** | **Name of QC Incharge** | **Inspection panel & date of inspection** | **Recommendations** |
| 1. | M/s Crespak Medical Industries | 8.KM, Manga Raiwind Road, Lahore. | Muhammad Imran  (Pharmacist)  10 year exp | Nehmatullah,  M.Sc. Microbiology  10 year exp  (not as per requirement) | Prof. Dr.Nadeem Irfan Bu,khari, Principal, Colege of Pharmacy, University of Punjab, Lahore.  Dr. Ghazanfar Ali Khan, Additional Director (MDMC), DRAP, Islamabad.  Muhammad Ayub Naveed, AD-II (MDMC), DRAP, Islamabad. | Recommended for renewal of Establishment License to manufacture medical devices for Hypodermic Syringe, Infusion Giving Sets, I.V.Catheter/Butterfly Needle Section. |
| **Decision:** Approved the Renewal of Establishment License to Manufacture Medical Devices alongwith following Sections. The firm shall surrender the Drug Manufacturing Licence and a fresh Establishment Licence to Manufcture Medical Devices shall be issued.  (i) Hypodermic Syringe Section.  (ii) I.V. Catheter/Butterfly Section.  (iii) I.V Products Section. | | | | | | |
| 2. | M/s Amson Vaccines & Pharma (Pvt) Limited | Plot No.113, Industrial Triangle, Kahuta Road, Islamabad. | Ch. Sajid Elahi  (Pharmacist)  06 year exp | Fiaz Arshad  (Pharmacist)  06 year exp | Prof. Dr.Abdul Halim Khan, Member, MDB.  Muhammad Tahir Aziz, Member, MDB.  Mrs. Unum Zia Shamsi, AD-IV (MDMC), DRAP, Islamabad | Recommended for renewal of Establishment License to manufacture medical devices in Syringe Section. |
| **Decision:** Approved the Renewal of Establishment License to Manufacture Medical Devices alongwith following Sections. The firm shall surrender the Drug Manufacturing Licence and a fresh Establishment Licence to Manufcture Medical Devices shall be issued.   1. Syringe Section. | | | | | | |

**Item No.IV**. **CONCURRENCE OF MDB REGARDING PEC AND PROVISIONAL REGISTRATION OF MEDICAL DEVICES PROVIDED IN SCHEDULE-D OF MDR, 2017.**

It is submitted that the subject case was placed before the MDB in its 8th meeting held on 13th February, 2018 for concurrence of the MDB for issuance Provisional Eestablishment Certificates (PECs) and Provisional Registration Certificates (PRCs) for Schedule-D medical devices. The MDB decision is as under:-

*"The MDB gave its concurrence for issuance of PEC and provisional registrations for Schedule-D medical devices. However, the list of issued PEC and provisional registrations shall be placed before the Board in next meeting for its information".*

In the light of above decision, this Division has issued 47 Provisional Registration Certificates (PRCs) to different importers of medical devices uptil 04-10-2018. The list of PRCs is annexed at Annexure-I for information of MDB please.

**Decision:-** The MDB went through the Annex-I, gave its concurrence and appreciated the efforts of the MDMC Division.

**Item No. V**. **Inspection of Manufacturer Abroad M/s Engineering Technical Plastic Industries (ENTEPLIN) Egypt.**

The Registration Board in its 246th meeting held on 10th & 11th December, 2014 considered and approved the following medical devices of M/s. A. Feroz & Co, Karachi subject to inspection of manufacturer abroad, local storage facility etc:-

|  |  |  |  |
| --- | --- | --- | --- |
|  | M/s. A. Feroz & Co., Medicine Street No.1, Marriot Road, Karachi.  **Manufactured by**  M/s. Engineering Technical Plastic Industries (Enteplin-Egypt) 10th of Ramadan City, Industrial Zone, A-1 Part 41/3. Sharqia, Egypt.  **Sterilization Site:**  M/s EG Med (S.A.E) having their plant at Part 100-Industrial Zone, B-3, 10th of Ramadan City, Egypt. | Star IV. Catheter with Injection Port | (14G, 16G, 18G, 20G, 22G, 24G)  100 per box |

Accordingly the inspection of manufacturer abroad has been carried out by the panel comprising Mr. Asim Rauf, Additional Director (E&M), DRAP, Lahore and Dr. Ghazanfar Ali Khan, Additional Director (MDMC), DRAP, Islamabad on 20-03-2018. The recommendation of the panel is as under:-

***"The panel unanimously concluded that the firm has adequate building, machinery and know-how for manufacturing of IV Catheter but they are deficient in an important component of QC and Sterility testing, therefore, is of the opinion that the firm is not recommended for import of IV Catheter under current circumstance. The panel thus proposed that the firm be re-inspected once it is equipped with the QC and microbiology lab."***

**Decision:** The Board rejected the application of M/s A. Feroz & Co., Medicine Street No.1, Marriot Road, Karachi for import of Star IV Catheter with Injection Port from M/s Engineering Technical Plastic Industries (Enteplin-Egypt) 10th of Ramadan City, Industrial Zone, A-1 Part 41/3. Sharqia, Egypt based on the panel inspection report whereby inte-ralia deficiencies of Quality Control and Sterility Testing facilities were pointed out.

**Item No. VI**. **TRANSFER OF REGISTRATION.**

M/s Premier Agencies, Karachi has requested for transfer of following registered imported drugs (Medical Devices) from the name of M/s Becton Dickinson Pakistan (Private) Limited, Lahore to their name:-

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S.# | Regn.No. | Brand Name of Medical Device | Packing | Shelf Life | Name of Manufacturer |
| (i) | 059212 | BD Ultra Fine TM II Insuline Syringe | 1 ml | 5 years | M/s Becton Dickinson and Company, USA |

The firm has submitted following documents:-

1. Application dossier alongwith Form 7-A for the above product.
2. Fee of Rs.100,000/- for above product.
3. Letter of Authorization regarding above product to M/s Premier Agencies, Karachi from the foreign manufacturer, namely, M/s Becton Dickinson and Company, USA (legalized from High Commission of Pakistan/Embassy).
4. Letter of Termination of Authorization of M/s Becton Dickinson Pakistan (Pvt) limited, Lahore from the foreign manufacturer (legalized from High Commission of Pakistan/Embassy).
5. Original NOC from M/s Becton Dickinson Pakistan (Pvt) Limited, Lahore regarding transfer of registration of above products to M/s Premier Agencies, Karachi (legalized from High Commission of Pakistan/Embassy).
6. Original and valid Free Sale Certificate of US FDA for the above product.
7. Clarification from M/s Asto Life Sciences (Pvt) Limited, Lahore (Authorized Distributor of BD, other than BD Insulin Syringe-II 0.5ml and 1 ml) that they have no concern in this regard.
8. Memorandum of Understanding between M/s Asto Life Sciences (Pvt) Limited and M/s Premier Agencies for transfer of registration of above mentioned medical device.

It is submitted that M/s Premier Agencies, Karachi has been issued Establishment Licence to Import Medical Devices under MDR, 2017 vide Licence No. ELI-00050, dated 3rd August, 2018.

Decision: TheBoard apporved the new registration of BD Ultra Fine TM II Insuline Syringe, 1 ml in tha name of M/s Premier Agencies, Karachi on the same terms and conditions as was previously registered and cancelled the registration of the same in the name of M/s Becton Dickinson and Company, USA.

**Item No. VII. Applications for Registration of Medical Devices for Local Manufacture.**

Secretary MDB informed the board that the following firms have applied for registration of their medical devices for local manufacture. The MDB considered the applications and decided as mentioned against each:-

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sr.No.** | **Name and Addresses of Establishment** | **Name of Medical Device** | **Product Details** | **MD Class** | **Shelf Life** |
|  | M/s Vikor Healthcare (Pvt) Ltd  159/P, Block 3, Kashmir Road P.E.C.H.S., Karachi.  Manufacturing Facility, Plot C-126 to C-135 LIEDA, Hub District Lasbela, Baluchistan. | SURGLINE TM POLYCRYL TM PLUS  (Polyglactin 910 PGA-PLA with anti-bacterial coating, sterile, braided, absorbable synthetic surgical suture) | A sterile absorbable, synthetic braided surgical suture composed of copolymers made from 90% glycolide and 10% L-lactide | Class D | 5 Years  **DML Holder**  **Stability study not provided (Undertaking)** |
| LCH201, LT201, LT202,LB301,LCH202,LT203,LT204,LT205,LT206,LC201,LT207,LT208,LT209,LT211,LT210,LT601,LT212,LT213,LT214,LS001,LS002,LT215,LCH203,LC202,LT216,LX301,LT217,LT218,LT219,LR301,LCH204,LN301,LN302,LT220,LT221,LC203,LX302,L0001,LS003. |
|  | -Do- | SURGLINE TM PERMA STEEL TM  (Stainless Steel Wire) | SURGLINE TM PERMA STEEL TMis a sterile non absorbable surgical suture composed of high grade Stainless Steel Wire of finest quality (AISI 316LVM, AISI316L) | Class D | 5 Years  **DML Holder**  **Stability study not provided (Undertaking)** |
| WA201, WR201, WC201, WR202, WC202, WR301, WTS201, WTS202, WT201, WTS203, WTS204, WTS205, WTS206. |
|  | -Do- | SURGLINE TM Mono TM PLUS  (Polyglycolide-co-caprolactone) | SURGLINE TM Mono TMPLUS is a sterile monofilament, absorbable, synthetic, surgical suture composed of Poly (glycolide –co-caprolactone) Copolymer (polyglicaprone 25) with antibacterial coating of ChlorhexidineDiacetate. | Class D | 5 Years  **DML Holder**  **Stability study not provided (Undertaking)** |
| UR301, UR302, UR303, US001, UTH201, UT201 |
|  | -Do- | SURGLINE TM POLYSORB TMQUICK  (Fast Absorbable Polyglycolic Acid) | SURGLINE TM POLYSORB TMQUICK is a sterile, braided, absorbable, synthetic surgical suture composed of Polyglycolic Acid. | Class D | 5 Years  **DML Holder**  **Stability study not provided (Undertaking)** |
| QC201, QR301, QC202, QS001, QC203, QR302, QS002, QC204, QR303, QR304, QX301, QR305, QN301, QX302, QR306, QTH201, QR307, QU301, QU302. |
|  | -Do- | SURGLINE TM NYFLEX TM  (Polyamide 6.6) | SURGLINE TM NYFLEX TMis a sterile, monofilament, non-absorbable synthetic surgical suture composed of polymide 6.6. | Class D | 5 Years  **DML Holder**  **Stability study not provided (Undertaking)** |
|  |
| FR201, FT201,FX301, FS001, FR301, FR302, FN301, FT301, FT302, FUD201, FUD301, FT303, FT202, FTH201. |
|  | -Do- | SURGLINE TM POLYSTER  (Polyester) | SURGILINETM POLYESTER is a sterile, non  absorbable synthetic surgical suture  Composed of poly (ethylene terephthalate). | Class D | 5 Years  **DML Holder**  **Stability study not provided (Undertaking)** |
| BT201, BT202, BT203, BT204, BT205, BC201, BTD201, BTD202, BTD203, BCD201, BCD202, BCD203,BUD201, BUD401, BCD301, BX301, BCH201, BCH202, BCD204, BCD205, BCD206, BCD207, BCD208,BRD201, BCH203. |
|  | -Do- | SURGLINE TM POLYSORB TM  (Polyglycolic Acid) | SURGILINETM POLYSORBTM is a sterile,  braided, absorbable, synthetic surgical suture composed of Polyglycolic Acid | Class D | 5 Years  **DML Holder**  **Stability study not provided (Undertaking)** |
| GT201, GCH201, GT202, GB301, GCH202, GT203, GT204, GC201, GT205, GT206, GT207, GT208, GT601, GT209, GS001, GT210, GCH203, GC202, GX301, GT211, GT212, GCH204, GN302 GX302 , GN301, GR301, GX303, GC203 ,GX304, G0001, G0002, GS002, GS003, GN303, GX305, GT213, GT214, GN304, GX306, GN305, GR302, GX307, GT301, GR303, GT602, GT215, GN306, GX308, GT216, GX309, G0003, GN307, GX310, GT217, GX311, GN308, GT302, GT218, GT219, GX312, GN309, GX313, GT220, GT303, GR304, GT221, GT222, GX316, GT223, GN310, GX317, GR305, GT304, GUD201, GUD401, GT224, GT225, GX318, GN311, GT305, GR306, GT306, GUD301, GUD302, GT307, GUD402, GUD202, GT226, GUD304, GUD203, GUD303, GT308, GT309, GUD305, GUD306. |
|  | -Do- | SURGLINE TM POLYCRYL TM  (Polyglactin 910) | SURGLINE TM POLYCRYL TM is a sterile, absorbable synthetic braided surgical suture composed of copolymer made from 90% glycolide and 10 % L-lactide. | Class D | 5 Years  **DML Holder**  **Stability study not provided (Undertaking)** |
| YT224, YT225, YX318, YN311, YT305, YR306, YT306, YUD301, YUD302, YT307, YUD402, YUD202, YT226, YUD304, YUD203, YUD303, YT308, YT309, YUD305, YUD306, ZYT702, ZYT701, ZYT001, ZY001. |
|  | -Do- | SURGLINE TM DIOXOSORB TM  PLUS  (Polydioxanone)  anti-bacterial coated | SURGILINE TM DIOXOSORBTM Plus is a sterile, absorbable, synthetic monofilament, surgical suture composed of Poly (p -dioxanone). | Class D | 5 Years  **DML Holder**  **Stability study not provided (Undertaking)** |
| XT201, XT202, XTH203, XT203, XT204, XT205, XTH204, XT206, XT207, XTH205, XT208, XTH206, XT209, XTD201, XN301, XX301, XT210, XT211, XTD301, XTD302, XT301, XTH201, XTH202, XCH201, XTD302, XED301, XTD303, XED302. |
|  | -Do- | SURGLINE TM DIOXOSORB TM  (Polydioxanone PDO) | SURGILINE TM DIOXOSORBTM is a sterile, monofilament, absorbable synthetic surgical  suture composed of poly  (p - diaxanone). | Class D | 5 Years  **DML Holder**  **Stability study not provided (Undertaking)** |
| DT201, DT202, DTH203, DT203, DT204, DT205, DTH204, DT206, DT207, DTH205, DT208 , DTH206, DT209, DTD201, DN301, DX301, DT210, DT211, DTD301, DTD302, DT301, DTH201, DTH202, DCH201, DTD302, DED301, DTD303, DED302, ZD001, ZD002, ZD003. |
|  | -Do- | SURGLINE TM POLYCRYL TM  RAPID  (Fast AbsorablePolyglactin 910) | SURGILINE TM POLYCRYLTM RAPID is a sterile,  absorbable, synthetic braided surgical  Needle. Surgical suture composed of  copolymers made from 90% glycolide and  10% L-lactide. | Class D | 5 Years  **DML Holder**  **Stability study not provided (Undertaking)** |
| RC201, RR301, RC202, RS001, RC203, RR302, RS002, RC204, RR303, RR304, RX301, RR305, RN301, RX302, RR306, RTH201, RR307, RU301, RU302 |
|  | -Do- | SURGLINE TM POLYSORB TM  PLUS  (Polyglycolic Acid) | SURGILINE TM POLYSORBTM Plus is a sterile,  braided, absorbable, synthetic surgical  suture composed of Polyglycolic Acid with  antibacterial coating SURGILINETM | Class D | 5 Years  **DML Holder**  **Stability study not provided (Undertaking)** |
| ACH201, AT202, AT201, AB301, ACH202, AT206, AT207 , AT208 , AC201 , AT205, AT204, AT203, AT601, AT214, AT213, AT212, AT211, AT210, AT209, AT216,, AX301 , AR301, AX302, AT215, AT217, AT218 AT219, AT220, AT221, AC202, AC203, ACH203, ACH204, AS001, AS002, A0001, AN301, AN302, AT222 , AT223, AT303, , AT224,, AT225, AT226, AT227, AT602, AS003, AS004, AR302, AR303, A0002, AN303, AN304, AN305, AN306, , AX303, AT301 , AT228, AT230, AT231, AT232 , A0003, AN307 , AN308, AN309, AX304, AT233, AT229 , AT234, AT302, ,AT235, AUD201, AUD401, AR304, AR305, AX305, AN310. |
|  | -Do- | SURGLINE TM SURGILENE TM  (Polyproylene) | SURGLINE TM SURGILENE TM sutures are sterilized by Ethylene oxide,  Validation. | Class D | 5 Years  **DML Holder**  **Stability study not provided (Undertaking)** |
| NT201, NT202, NS001, NT203, NTH201, NT204, NC201, NC201, NR301, NTH202, NS002, NS003, NX301, NT205, NR302, NCD201, NT206, NED201, NC202, NT207, NCD202, NTD201, NT208, NS004, NT209, NTD202. NTD203, NTD204, NN301, NX303, NR304, NX312, NT210, NC203, NT211, NX201, NE301, NE302, NTD205, NX302, NT212, NT213, NX304, NN302, NX307, NTD206, NT214, NED202, NTD207, NX305, NR305, NC204, NTD208, NT215, NX306, NN3O3, NX308, NED203, NN304, NR304, NR307, NX309, NTD209, NN305, NT216, NTD210, NED204, NX310, NTD211, NTD301, NR306, NR308, NED205, NN306, NX311, NTD302, NTD303, NED302, NED303, NW303, NR309, NTD304, NTD212, NED303, NT101, NTD306, NED304, NE304, NW302, NTD213, NCD203, NTD305, NCD301, NE305, NW301, NED305, NTD307, NED306, NE306, NW304, NTD308, NCD302, NE307, NW305, NED307, NWD302, NRD302, NED308, NE308, NW306, NT217, NTD214, NWD301, NCD303, NRD301, NE309, NW307, NED309, NTD309, NSD001, NUD301, NUD302. |
|  | -Do- | SURGLINE TM MONO TM  (Polyglycolide-co-caprolactone) | SURGILINE TM MONOTM is a sterile,  monofilament, absorbable synthetic surgical  suture composed of (Polyglycolide-cocaprolactone) | Class D | 5 Years  **DML Holder**  **Stability study not provided (Undertaking)** |
| MR301,MR302, MR303, MS001, MTH201, MT201. |
| **Decision:** The Board after thorough deliberations regarding manufactruing and quality control conditions of the firm and on knowing that the firm has a microbiology section and experienced technical staff, approved the product from serial No. 1-14 subject to recommendations of the follwoing Committee:  i) Dr. Saqib Shafi (member MDB)  ii) Dr. Abdul Haleem Khan (member MDB)  The Committee shall re-evaluate the dossiers and shall give clear recommendations regarding utility and requirement of products in surgery.  It was also decided that a GMP inspection shall be conducted of the firm to ascertain the present GMP status during due course of manufacturing. | | | | | |
|  | M/s Cotton Craft (Pvt) Ltd  No. 407-408, Sunder Industrial Estate, Raiwand, Lahore. | Pro-Max Alcohol Swab  (Isopropyl Alcohol.) | For preparation of skin prior to injection. For first aid to decrease germs in minor cuts, scrapes and burns. | Class C | 5 Years  **DML Holder**  **Stability study not provided (Undertaking)** |
| Pro-Max Alcohol Swab Sterile (1x100) 3cm x 3cm (2-Ply)  Pro-Max Alcohol Swab Sterile (1x200) 3cm x 3cm (2-Ply) |
|  | -Do- | Farma-Tulle Bp  Farmycetin Sulphate BP....1 | Treatment of infected or potentially infected burns, wounds, ulcers, graft sites and other lesions that are clinically infected by organisms shown to be sensitive to framycetin. | Class C | 5 Years  **DML Holder**  **Stability study not provided (Undertaking)** |
| 1. -Tulle Bp (Framycetin Sulphate 1 %) Sterile 10cm x 10 cm 2. Frama-Tulle Bp (Framycetin Sulphate 1 %) Sterile 15cm x 20 cm 3. Frama-Tulle Bp (Framycetin Sulphate 1 %) Sterile 15cm x 150 cm |
| **Decision:** The Board approved the products at serial No. 15-16 subject to the submission of stability studies. | | | | | |
|  | M/s Injection System (Pvt) Ltd,  Plot No. 271, Main Road , Industrial Estate GadoonAmazai | BIOSAFE U-100/1ML Insulin Syringe | (U100/1ml Insulin Syringe) | Class B | **5 Years**  **DML Holder**  **Stability study not provided (Undertaking)** |
| **Decision :** The Board approved the product at serial No. 17 subject to submission of stability studies and satisfactory GMP inspection report. | | | | | |
|  | M/s Silver Surgical Complex Pvt Ltd.  C-40, S.I.T.E II, Super Highway Industrial Area Karachi. | Orange 1cc, 3cc, 5cc, 10cc, 20cc, Syringe  (Auto Disable Syringe) | Auto Disable Syringe with Detachable Needle | Class B | 5 Years  DML Holder  Stability study not provided (Undertaking) |
|  | -do- | Silver Intravenous Set  (I.V Set) | It is used as universal device for the administrator of fluids and drugs with no particulars filtration requirements. | Class B | 5 Years  DML Holder  Stability study not provided (Undertaking) |
| **Decision :** The Board approved the product at serial No. 18-19 subject to submission of stability studies and satisfactory GMP inspection report. | | | | | |
|  | M/s Idcot Pharmaceuticals  57, 1st floor Muslim Town# 1  Sargodha Road, Faisalabad. | Gauzocracy  Surgical Gauze Swab / Sponge | 100% Cotton fabric with loose wave. It is used in Hospitals. | Class B | 3 Years |
| **Decision :** The Board approved the product at serial No. 20. | | | | | |

**Item No.VIII. Renewal of registration of Medical Devices for Local Manufacture.**

Following firms have applied for renewal of their medical devices for local manufacture.:-

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sr.No.** | **Name and Addresses of Establishment** | **Name of Medical Device** | **Product Details** | **MD Class** | **Shelf Life & Registration No.** |
|  | M/s Rehman Rainbow (Pvt) Ltd  82-M Industrial Estate KotLakhpat Lahore. | Surgee Gauze B.P.C  (Swabs & Sponges (Sterile) | Gauze Swabs and sponges are used for packing open wounds and swabbing procedures. They are also used as direct wound dressings. | Class C | 3 Years  DML Holder  Stability study not provided (Undertaking)  Registration No. 030772 |
| SurgeeGuaze5cm X 5cm  SurgeeGuaze7.5 cm X 7.5 cm  SurgeeGuaze10 cm X 10 cm  SurgeeGuaze15 cm X 15 cm  SurgeeGuaze10 cm X 10 cm |
|  | -do- | Surgee Cot B.P.C  (Absorbent Cotton Wool) | Nil | Class A | 3 Years  DML Holder  Stability study not provided (Undertaking)  Registration No. 030779 |
| 1. Surgee Cotton 50 grm 2. Surgee Cotton 100 grm 3. Surgee Cotton 200 grm 4. Surgee Cotton 250 grm 5. Surgee Cotton 400 grm 6. Surgee Cotton 500 grm |
|  | -do- | Surgee Wax  (Paraffin Gauze Dressing) | Surgee Bandage B.P.C is intended to be used principally with wounds which have breach the dermis. | Class C | 3 Years  DML Holder  Stability study not provided (Undertaking)  Registration No. 030778 |
| Surgee Wax 10 cm x 10 cm |
|  | -do- | Surgee Bandage B.P.C  (Open wove Bandage Type-I) | Surgee Bandage B.P.C is intended to be used principally with wounds which have breach the dermis. | Class B | 3 Years |
| 1. Surgee Bandage 2.5 cm x 1 meter/ Dozen |
|  | -do- | Surgee Bandage B.P  (Bandage Type-II) | Surgee Bandage B.P. Type-I is used to protect dressing and hold them in place and to give support. It is also used to secure splints. | Class B | 3 Years  DML Holder  Stability study not provided (Undertaking)  Registration No. 030775 |
| 1. Surgee Bandage 5 cm x 2 meter /Dozen 2. Surgee Bandage 7.5 cm x 2 meter /Dozen 3. Surgee Bandage 10 cm x 2 meter/ Dozen 4. Surgee Bandage 15 cm x 2 meter/Dozen 5. Surgee Bandage 5 cm x 3 meter/Dozen 6. Surgee Bandage 7.5 cm x 3 meter/Dozen 7. Surgee Bandage10 cm x 3 meter/Dozen 8. Surgee Bandage 15 cm x 3 meter/Dozen |
|  | -do- | Surgee Crepe  ( Cotton Crepe Bandage B.P.C) | Surgee Crepe (Cotton Crepe Bandage) consist of Characteristics fabric of plain weave, in which the warp thread are of cotton and weft threads are of cotton or rayon or of combined cotton and rayon yarn. | Class A | 3 Years  DML Holder  Stability study not provided (Undertaking)  Registration No. 030776 |
| 1. Surgee Crepe 3” x 4.5 meter 2. Surgee Crepe 4” x 4.5 meter 3. Surgee Crepe 6” x 4.5 meter |
|  | -do- | Surgee Optic  (Eye Pads B.P.C) | Surgee Optic is a pad of absorbent cotton wool, Face on both sides with absorbent muslin, attached to an open woven bandage. It is used as a protective covering of eye. | Class A | 3 Years  DML Holder  Stability study not provided (Undertaking)  Registration No. 030782 |
| Surgee-Optic 1 x 50 |
|  | -do- | Surgee Shell B.P.C  (Dressing Shell) | Consists of cotton pads in different sizes. Wrapped with highly absorbent acriflavine. Treated gauze stitched with brown roller bandage of size 5 cm x 4 meters. Wrapped in butter papers and sealed in poly coated paper pack. It is used as a first aid during war. | Class B | 3 Years  DML Holder  Stability study not provided (Undertaking)  Registration No. 030781 |
| Surgee Shell 1’s |
|  | -do- | Surgee Tulle B.P  (Wound Dressing (Sterile) | Surgee Tulle consist of fabric of leno weave with two picks in each shed in which the warp and weft threads consists of cotton or viscos or combine. Fabric is evenly impregnated with a paraffin wax with suitable ointment. | Class C | 3 Years  DML Holder  Stability study not provided (Undertaking)  Registration No. 030783 |
| Surgee Tulle 10 cm x 10 cm |
|  | -do- | Surgee Lint B.P.C  (Absorbent Lint) | Surgee Lint B.P.C consist of cotton cloth plain have one side a nap well raised from the warp yarn it is bleached to good white clean and reasonably free from weaving defect. | Class A | 3 Years  DML Holder  Stability study not provided (Undertaking)  Registration No. 030780 |
| 1. SurgeeLint 25 grams 2. Surge Lint 500 grams |
|  | -do- | Surgee Absorbent Gauze Cloth  (Absorbent Gauze B.P.C) | Surgee absorbent Gauze cloth is intended to be used principally with wounds which have breached the dermis including devices principally intended to manage the micro environment of a wound. | Class B | 3 Years  DML Holder  Stability study not provided (Undertaking)  Registration No. 030773 |
| 1. Absorbent Gauze 1 m x 20 m 2. Absorbent Gauze 1 m x 30 m 3. Absorbent Gauze 1 m x 40 m 4. Surgee Gauze 5 cm x 5xm 5. Surge Gauze 7.5 cm x 7.5 cm 6. Surgee Gauze 10 cm x 10 cm |
|  | -do- | Orthofast B.P.C  (Plaster of Paris Bandagers) | Orthofast consist of cotton cloth impregnated with derived calcium sulphate and suitable adhesive so that the calcium sulphate is adhere to the fabric. | Class A | 3 Years  DML Holder  Stability study not provided (Undertaking)  Registration No. 030777 |
| 1. Orthofast plaster of Paris 10 cm x 2.7 cm 2. Orthofast Plaster of Paris 15 cm x 2.7 m |
| **Decision :** The Board approved the renewal of products at serial No. 1-12, however the firm will be asked to submit the ongoing stability studies of the products.    The Board further constituted the following Committee to identify all the categories / classes of medical devices for whcih stability study is required:  i) Dr. Tahir Aziz (member MDB)  ii) Dr. Ghazanfar Ali Khan (Secretary MDB)  iii) Mr. Asif Iqbal, AD-V, MDMC Division | | | | | |
|  | M/s Surgical Textiles (Pvt) Ltd  70 km Multan Road Near Pattoki Distt Kasur. | RayLint Absorbent Cotton Lint (B.P)  Sterile Absorbent Cotton Lint Gauze (B.P) (Surgical Dressings) | Absorbent Cotton Lints Gauze (Surgical Dressings), used to stop flow of blood, absorb immobilize an injured part of the body to prevent further injury and to facilitate. Protects cushions the wound. | Class B | 3 Years  DML Holder  Stability study not provided (Undertaking)  Registration No.  009950 |
| **RayLint (Absorbent Cotton And Viscose Gauze (B.P)**  **10cm x 10cm (8-ply)** |
|  | -do- | RayBand Absorbent Cotton Gauze  (Sterile Absorbent Cotton Gauze (B.p) (Surgical Dressings) | Absorbent Cotton Gauze (Surgical Dressings) used to stop flow of blood, absorb immobilize and uninjured part of the body to prevent further injury and to facilitate. Protects and cushions the wound. | Class B | 3 Years  DML Holder  Stability study not provided (Undertaking)  Registration No. 009951 |
| Rayband Gauze Swabs/ Sponges  Absorbent Cotton Gauze (B.P)  10cm x 10cm (8 Ply ) |
| **Decision:** The Board approved the renewal of products at serial No. 13-14 subject to GMP inspection and satisfactory inspection report. | | | | | |
|  | M/s BSN Medical Pvt Ltd , A/69, S.I.T.E Manghopir Road, Karachi | Cuticelll ® C  Chlorhexidine Acetate Tulle Gras Dressing | Cuticell C is used as an antiseptic non-adherent dressing for the prevention of infection in wounds and may be used include lacerations, abrasions, minors, burns, leg ulcers and donor and recipient graft sited. | Class C | 2 Years  DML Holder  Stability study not provided (Undertaking)  Registration No. 053282 |
| 1. 5cm x 5cm 2. 10cm x 10 cm 3. 15cm x 20cm 4. 15cm x 1m 5. 15cmx2cm |
| **Decision:** The Board approved the renewal of products at serial No. 15 subject to GMP inspection and satisfactory inspection report. | | | | | |
|  | M/s Amson vaccines & Pharma (Pvt) Ltd.  **Head Office :**  Plot No.115, Industrial Triangel, Kahuta Road, Islamabad.  **Plant:**  Plot 113, Industrial Triangle, Kahuta Road, Islamabad. | Apple K1 5.0 ml | Auto Disable Syringe | Class B | 5 Years  Registration No.050850 |
|  | -do- | Apple 3.0 ml | Disposable Syringe | Class B | 5 Years  Registration No.050851 |
|  | -do- | Destroject AD 1000,  0.5ml | Auto Disable Syringe | Class B | 5 Years  Registration No.050852 |
|  | -do- | Apple K1 0.5 ml | Auto Disable Syringe | Class B | 5 Years  Registration No.050853 |
|  | -do- | Apple K1 2.0 ml | Auto Disable Syringe | Class B | 5 Years  Registration No.050854 |
|  | -do- | Apple 5.0 ml | Disposable Syringe | Class B | 5 Years  Registration No.050855 |
|  | -do- | Apple K1 3.0 ml | Auto Disable Syringe | Class B | 5 Years  Registration No.052999 |
| **Decision:** The Board approved the renewal of products at serial No. 16-22. | | | | | |

**Item No. IX. Change of Brand Name of Medical Devices for Local Manufacture.**

Following firms have applied for change of registration name of their medical devices for local manufacture.:-

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Sr.No.** | **Name and Addresses of Establishment** | **Name of Medical Device** | **Product Details** | **MD Class** | **Shelf Life** | **Fee Deposit** |
|  | M/s Silver Surgical Complex Pvt Ltd.  C-40, S.I.T.E II, Super Highway Industrial Area Karachi. | **SILVER IV Cannula**  **Existing Registered Name:**  **Silver IV Cannula/ Catheter with wings injection port type.**  **(Proposed Name/ to be change as” Silver I.V Cannula)** | Cannula is a small plastic tube (E.T.F.E or F.E.P) that is inserted through the skin in to one of the small vein in the hand or arm of patient. They are used to give many different type of medication, e.g., antibiotics or fluids. | Class B | 5 Years | 10,000/= |
| **Decision:** The Board acceeded to the request of the firm for the change in brand name. | | | | | | |

**Item No.X. Application For Enlistment of Medical Devices For Local Manufacture.**

Following firms have applied for enlistment of their medical devices for local manufacture.:-

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sr.No.** | **Name and Addresses of Establishment** | **Name of Medical Device** | **Product Details** | **MD Class** | **Shelf Life** |
|  | M/s Cotton Craft (Pvt) Ltd  No. 407-408, Sunder Industrial Estate, Raiwand, Lahore. | Pro-Max Combine Dressing (Sterile) | Non woven surgical dressing | Class-A | 3 Years |
| Pro-Max Combine Dressing (Sterile) 10cm x 10cm  Pro-Max Combine Dressing (Sterile) 10cm x 10cm |
|  | -do- | Tacheal Non-Woven Sponges | Now-woven material/ Fabric  Highly absorbent | Class-A | 3 Years |
| 1. Tracheal Non-Woven Sponges Sterile (1x5x2)x 10 10cm x 10cm (8-ply) 2. Tracheal Non-Woven Sponges Sterile (1x10x10) 10cm x 10cm (8-ply) 3. Tracheal Non-Woven Sponges Sterile (1x12) 10cm x 10cm (8-ply) 4. Tracheal Non-Woven Sponges Sterile (1x100) 10cm x 10cm (8-ply |
| **Decision:** The Board approved the enlsitment of product at serial No. 1-2. | | | | | |
|  | M/s Idcot Pharmaceuticals  57, 1st floor Muslim Town# 1  Sargodha Road, Faisalabad. | Bandocracy Type II  Cotton Bandage  **Size**  5 cms to 15 cms width  3m to 6m length. | Cotton Bandage | Class-A | 3 Years |
|  | -do- | Bandocracy BPC  Cotton Bandage  **Size**  5 cms to 15 cms width  3m to 6m length. | Cotton Bandage | Class-A | 3 Years |
|  | -do- | Crepocracy  Cotton Crepe Bandage  **Size**  7.5 cms to 15 cms width  4.5m length. | Cotton Crepe Bandage | Class-A | 3 Years |
|  | -do- | Gauzocracy  Surgical Gauze Roll  **Size**  100 cms width per roll 2.5 meter to 50 meter length per roll. | Surgical Gauze Roll | Class-A | 3 Years |
|  | -do- | Cottonocracy  Absorbent Cotton  **Size**  Cotton rolls of 25 grams to 1000 grams | Absorbent Cotton | Class-A | 3 Years |
| **Decision:** The Board approved the enlsitment of products at serial No. 3-7. | | | | | |

**Item No. XI. Application For Renewal of Enlistment of Medical Devices For Local Manufacture.**

Following firms have applied for renewal of enlistment of their medical devices for local manufacture.:-

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sr.No.** | **Name and Addresses of Establishment** | **Name of Medical Device** | **Product Details** | **MD Class** | **Shelf Life & Registration No.** |
|  | M/s Uniferoz (Pvt) Ltd Karachi.  32/8 Sector 15, Korangi Industrial Area, Karachi. | Nichipore | Surgical Tape | Class- A | 4 Years  Registration No. 016123 |
| 1. Nichipore Surgical Tape 12mm x 4.5 m Nichipore Surgical Tape 20mm x 4.5 m 2. Nichipore Surgical Tape 25mm x 4.5 m Nichipore Surgical Tape 50mm x 4.5 m 3. Nichipore Surgical Tape 75mm x 4.5 m 4. Nichipore Surgical Tape 100mm x 4.5 m |
|  | -do- | Uniplast-F Bandage | Fabric Bandage (First Aid Bandage | Class- A | 4 Years  Registration No. 035328 |
| Uniplast Medium (20mm x 70mm) |
|  | -do- | Saniplast | Fabric Bandage (First Aid Bandage | Class- A | 4 Years  Registration No. 030650 |
| Uniplast Medium (20mm x 70mm) |
|  | -do- | Saniplast | First Aid Bandage | Class- A | 4 Years  Registration No. 030651 |
| 1. Saniplast Medium 20mm x 72mm 2. Saniplast Medium 25mm x 25mm 3. Saniplast Medium 25mm x 72mm 4. Saniplast Medium 30mm x 72mm 5. Saniplast Medium 38mm x 38mm 6. Saniplast Junior 20mm x 56mm 7. Saniplast Assorted 4 in 1   Medium+Spot+Large+Square   1. Saniplast First Aid Bandage 38mm x 76mm Knuckle |
|  | -do- | Dermapore | (Non-woven paper Surgical Tape) | Class- A | 4 Years  Registration No. 070869 |
| 1. Dermapore Non-woven Paper Surgical Tape 12mm x 4.5m 2. Dermapore Non-woven Paper Surgical Tape 20mm x 4.5m 3. Dermapore Non-woven Paper Surgical Tape 25mm x 4.5m 4. Dermapore Non-woven Paper Surgical Tape 50mm x 4.5m 5. Dermapore Non-woven Paper Surgical Tape 75mm x 4.5m 6. Dermapore Non-woven Paper Surgical Tape 100mm x 4.5m |
|  | -do- | Saniplast Xcel | First Aid Bandages | Class- A | 4 Years  Registration No. 061557 |
| 1. Saniplast Medium 20mm x 72mm 2. Saniplast Large 385mm x 72mm 3. Saniplast Spot 25mm 4. Saniplast square 38mm x 38mm 5. Saniplast Assorted 20mm x 72mm,30mm x 82mm, 25mm 6. Saniplast Assorted 20mm x 72mm, 38mm x 38mm, 38mm, 72mm |
|  | -do- | Uniplast | Fist Aid Bandages | Class- A | 4 Years  Registration No. 042239 |
| Uniplast Medium 20mm x 72mm |
|  | -do- | Saniplast Ultra | Fist Aid Bandages | Class- A | 4 Years  Registration No. 067469 |
| 1. Saniplast Medium 20mm x 72mm 2. Saniplast Large 38mm x 72mm 3. Saniplast Spot 25mm 4. Saniplast Square 38mm x 38mm 5. Saniplast Assorted: 20mm x 72mm, 25mm 6. Saniplast Assorted: 20mm x 72mm, 38mm x 38mm, 38mm x 72mm |
| **Decision:** The Board approved the enlistment of products at serial No. 1-8 subject to GMP inspection and satisfactory inspection report. | | | | | |

**Item No. XII. APPLICATIONS FOR GRANT OF REGISTRATION OF MEDICAL DEVICES FOR IMPORT.**

Following firms has applied for the grant of registration of medical devices for import on prescribed form 7-A:-

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S #** | **Name and Addresses of Establishment** | **Manufacture Details** | **Name of Medical Device with sizes/Class/Shelf Life** | **Brief Description** | **Remarks** |
| 1 | M/s Hashir Surgical Services  (i) Office No. 16, Street No.1, F-2, Phase 6, Hayatabad, Peshawar  (ii) Office No. 5, 2nd Floor, Syed's Tower, University Road, Peshawar  (iii) House No.2, Street No.1, Gulshan Colony, GT Road, Peshawar  (ELI00075) | **Legal Manufacture:** M/s Meditop Corporation (Malaysia) SDN BHD No.3, Persiaran Usahawan, Taman IKS, Seksyen 9, 43650 Bandar Baru Bangi, Selangor Darul Ehsan, Malaysia  **Manufacturer:** M/s Top Corporation 19-10 Senju Nakai-Cho, Adachi-Ku, Tokyo 120-0035, Japan  (FSC Malaysia) | Top IV Catheter  GB2856564616  Class B  Shelf Life: 5 Years | IV Catheter |  |
| **Decision:** The Board approved the registration of product for import at serial No. 1 subject to re-evaluation of dossier by the Secretary MDB. | | | | | |
| 2 | M/s Atco Pharma International (Private) Limited, B-18, S.I.T.E., Karachi | **Manufactured By:** M/s CID S.p.A Strade per Crescentino s/n, 13040 Saluggia (VC), Italy  (FSC Italy) | Cre8 Amphilimus Eluting Coronary Stent  Sizes:  Stent Length (mm):  8, 12, 16, 20, 25, 31, 38 & 46.  Stent Dia (mm): 2.25, 2.50, 2.75, 3.00, 3.50, 4.00 & 4.50.  Class D  Shelf Life: 2Year  **Cre8 code:**  ICLI22508, ICLI22512, ICLI22516, ICLI22520, ICLI22525, ICLI22531, ICLI2508, ICLI2512, ICLI2516, ICLI2520, ICLI2525, ICLI2531, ICLI2538, ICLI2546, ICLI27508, ICLI27512, ICLI27516, ICLI27520, ICLI27525, ICLI27531, ICLI27538, ICLI27546, ICLI3008, ICLI3012, ICLI3016, ICLI3020, ICLI3025, ICLI3031, ICLI3038, ICLI3046, ICLI3508, ICLI3512, ICLI3516, ICLI3520, ICLI3525, ICLI3531, ICLI3538, ICLI3546, ICLI4008, ICLI4012, ICLI4016, ICLI4020, ICLI4025, ICLI4031, ICLI4038, ICLI4512, ICLI4516, ICLI4520, ICLI4525, ICLI4531 | Polymer-free Amphilimus (Sirolimus + Organic Acid) Eluting Coronary Stent |  |
| **Decision:** The Board approved the registration of product at serial No. 2 for import subject to re-evaluation of dossier by the Secretary MDB. | | | | | |
| 3 | M/s IBL HealthCare Limited, 9th Floor, NICL Building, Abbasi Shaheed Road, Karachi  (ELI-00119) | **Manufactured By:** M/s Shandong Weigao Group Medical Polymer Co., Ltd., No. 18 Xingshan Road, Weihai Torch Hi-Tech Science Park, Shandong Province, China  (FSC China) Inspection Conducted by Panel Constituted by Drug Registration Board (DRB) Transfer Case | WEGO Disposable Blood Bag Single 250ml and 500ml  Class C  Shelf Life: 2Year | Disposable Blood Bag Single with anticoagulant CPDA | Transfer of Registration case from M/s Genome Pharma to M/s IBL Healthcare |
| 4 | M/s IBL HealthCare Limited, 9th Floor, NICL Building, Abbasi Shaheed Road, Karachi  (ELI-00119) | **Manufactured By:** M/s Shandong Weigao Group Medical Polymer Co., Ltd., No. 18 Xingshan Road, Weihai Torch Hi-Tech Science Park, Shandong Province, China  (FSC China) Inspection Conducted by Panel Constituted by Drug Registration Board (DRB) | WEGO Disposable Infusion Set, with needle; without needle, model of needle (if with needle) 0.45#, 0.5#, 0.55#, 0.6#, 0.7#, 0.8#, 0.9#, 1.1#, 1.2#  Class B  Shelf Life: 3Year | Disposable Infusion Set, with needle; without needle |  |
| 5 | M/s IBL HealthCare Limited, 9th Floor, NICL Building, Abbasi Shaheed Road, Karachi  (ELI-00119) | **Manufactured By:** M/s Shandong Weigao Group Medical Polymer Co., Ltd., No. 18 Xingshan Road, Weihai Torch Hi-Tech Science Park, Shandong Province, China  (FSC China) Inspection Conducted by Panel Constituted by Drug Registration Board (DRB) | WEGO Disposable Syringes for Single Use  1ml, 2ml, 2.5ml, 3ml, 5ml, 10ml, 20ml  Class B  Shelf Life: 5Year | Disposable Syringes for Single Use |  |
| 6 | M/s IBL HealthCare Limited, 9th Floor, NICL Building, Abbasi Shaheed Road, Karachi  (ELI-00119) | **Manufactured By:** M/s Shandong Weigao Group Medical Polymer Co., Ltd., No. 18 Xingshan Road, Weihai Torch Hi-Tech Science Park, Shandong Province, China  (FSC China) Inspection Conducted by Panel Constituted by Drug Registration Board (DRB) Transfer Case | WEGO Disposable Blood Bag Double 250ml and 500ml  Class C  Shelf Life: 2Year | Disposable Blood Bag Double with anticoagulant CPDA | Transfer of Registration case from M/s Genome Pharma to M/s IBL Healthcare |
| 7 | M/s IBL HealthCare Limited, 9th Floor, NICL Building, Abbasi Shaheed Road, Karachi  (ELI-00119) | **Manufactured By:** M/s Shandong Weigao Group Medical Polymer Co., Ltd., No. 18 Xingshan Road, Weihai Torch Hi-Tech Science Park, Shandong Province, China  (FSC China) Inspection Conducted by Panel Constituted by Drug Registration Board (DRB) | WEGO I.V. Cannula for Single Use 14G, 16G, 18G, 20G, 21G, 22G, 23G, 24, 26G  Class B  Shelf Life: 2Year | Cannula for Single Use |  |
| 8 | M/s IBL HealthCare Limited, 9th Floor, NICL Building, Abbasi Shaheed Road, Karachi  (ELI-00119) | **Manufactured By:** M/s Shandong Weigao Group Medical Polymer Co., Ltd., No. 18 Xingshan Road, Weihai Torch Hi-Tech Science Park, Shandong Province, China  (FSC China) Inspection Conducted by Panel Constituted by Drug Registration Board (DRB) Transfer Case | WEGO Disposable Quadruple Blood Bag  250ml and 500ml  Class C  Shelf Life: 2Year | Disposable Quadruple Blood Bag with anticoagulant CPDA | Transfer of Registration case from M/s Genome Pharma to M/s IBL Healthcare |
| 9 | M/s IBL HealthCare Limited, 9th Floor, NICL Building, Abbasi Shaheed Road, Karachi  (ELI-00119) | **Manufactured By:** M/s Shandong Weigao Group Medical Polymer Co., Ltd., No. 18 Xingshan Road, Weihai Torch Hi-Tech Science Park, Shandong Province, China  (FSC China) Inspection Conducted by Panel Constituted by Drug Registration Board (DRB) Transfer Case | WEGO Disposable Triple Blood Bag  250ml and 500ml  Class C  Shelf Life: 2Year | Disposable Triple Blood Bag with anticoagulant CPDA | Transfer of Registration case from M/s Genome Pharma to M/s IBL Healthcare |
| **Decision:** The Board approved the products at serial 3-9 for import in the name of M/s IBL Health Care Limited, Karachi. | | | | | |
| 10 | M/s Health Tec, House No. 10-B, Street 24, Valley Road, Westridge 1, Rawalpindi  (ELI-000046) | **Manufactured By:** M/s CARDIONOVUM Spolka z ograniczona odpowiedzialnoscia ul. Panska 73, 00-834 Warszawa, Poland (FSC Spain) | Xlimus Sirolimus Eluting Coronary Stent System  Class D  Shelf Life: 2Year | Sirolimus Eluting Coronary Stent System |  |
| **Decision:** The Board approved the products at serial 10 for import in the name of M/s Health Tec subject to re-evaluation of dossier by Secretary MDB. | | | | | |
| 11 | M/s KM Enterprises, 605, D-Block, M.A. Johar Town, Lahore  (ELI-000054) | **Manufactured By:** M/s Euromed for Medical Industries, Area No.10, Block (i), Free Zone Nasr City, Cairo Egypt  (FSC Egypt) | Euro Flow Foley Catheters  Class B  Shelf Life: 5Year | Foley Catheters |  |
| 12 | M/s KM Enterprises, 605, D-Block, M.A. Johar Town, Lahore  (ELI-000054) | **Manufactured By:** M/s Euromed for Medical Industries, Area No.10, Block (i), Free Zone Nasr City, Cairo Egypt  (FSC Egypt) | Euro Flow I.V Cannula  Class B  Shelf Life: 5Year | I.V Cannula |  |
| 13 | M/s KM Enterprises, 605, D-Block, M.A. Johar Town, Lahore  (ELI-000054) | **Manufactured By:** M/s Euromed for Medical Industries, Area No.10, Block (i), Free Zone Nasr City, Cairo Egypt  (FSC Egypt) | Euro Flow Silicone Folly  Class B  Shelf Life: 5Year | Folly Catheters |  |
| **Decision:** The Board referred the products at serial 11-13 for constitution of panel for foreign inspection of the manufacturer as per import policy/ Medical Device Rules, 2017. | | | | | |
| 14 | M/s Global Marketing Services, 111, Hali Road Westridge 1, Rawalpindi  (ELI-000109) | **Legal Manufacturer:** M/s Cordis Cashel Cahir Road Cashel Co. Tipperary , Ireland  **Manufacturing Site:**  M/s Cordis de Mexico S.A. de C.V, Calle Circuito Interior Norte # 1820, Parque Industrial Salvarcar, Ciudad Juarez, Chihuahua, CP32574, Mexico  (FSC Ireland) | Trapease Permanent Vena Cava Filter  Class D  Shelf Life: 3Year | Permanent Vena Cava Filter | Manufacuring and Quality Control, EPSP not Provided |
| 15 | -do- | **Legal Manufacturer:** M/s Cordis Corporation 14201 N.W. 60th Ave. Miami Lakes, FL 33014, USA  **Manufacturing Site:**  M/s Cordis de Mexico S.A. de C.V, Calle Circuito Interior Norte # 1820, Parque Industrial Salvarcar, Ciudad Juarez, Chihuahua, CP32574, Mexico  (FSC USFDA) | INFINITI® Diagnostic Catheter  Class D  Shelf Life: 3Year  **Infiniti — 4F**  538417, 538418, 538419, 538420, 538421, 538422,  538423, 538424, 538425, 538427, 538428, 538429, 538430, 538431, 538440, 538441, 538443, 538444, 538445, 538446, 538447, 538448, 538449, 538450E, 538450S, 538451V, 538453S, 538455S, 538457V, 538459V, 538460, 538470, 538472, 538474, 538476, 538491P, 538492C, 538493, 538493C, 538493P, 538494, 538494C, 538494P, 538498, 538499, 538499C, 538499P, 538442  **Infiniti — 5F**  5345161, 5345171, 5345181, 534519T, 534520T, 534521T, 534522T, 534523T, 534524T, 534525T, 5345271, 5345281, 5345291, 5345301, 5345311, 5345391, 5345401, 5345411, 5345421, 5345431, 534550E, 5345441, 5345451, 5345461, 5345471, 5345481, 534549T, 534550S, 534552S, 534553S, 534554S, 534555S, 5345601, 5345621, 5345641, 5345701, 5345721, 5345741, 5345761, 5345781, 5345771,  **Infiniti — 6F**  534614T, 53461ST, 534617T, 534618T, 534619T, 534620T, 534621T, 5346221, 5346231, 5346351, 534670T, 534637T, 534672T, 534641T, 534674T, 534642T, 534676T, 534643T, 534644T, 534645T, 5346461, 5346471, 5346481, 534624T, 534625T, 5346491, 534627T, 534650E, 5346281, 534650S, 5346291, 534652S, 5346301, 534654S, 5346311, 5346601 | Angiography Diagnostic Catheter | Manufacuting and Quality Control, EPSP not Provided |
| 16 | -do- | **Legal Manufacturer:** M/s Cordis Cashel Cahir Road Cashel Co. Tipperary , Ireland  **Manufacturing Site:**  M/s Cordis de Mexico S.A. de C.V, Calle Circuito Interior Norte # 1820, Parque Industrial Salvarcar, Ciudad Juarez, Chihuahua, CP32574, Mexico  (FSC Ireland) | Optease Retrievable Vena Cava Filter and Introduction Kit  (466F210A, 466F210B, 466F210AF, 466F210AJ, 466F210BJ)  Class D  Shelf Life: 3Year | Vena Cava Filter and Introduction Kit | Manufacuting and Quality Control, EPSP not Provided |
| 17 | -do- | **Legal Manufacturer:** M/s Cordis Corporation 14201 N.W. 60th Ave. Miami Lakes, FL 33014, USA  **Manufacturing Site:**   1. M/s Lake Region Medical 340, Lake Hazeltine Dr Chaska, MN 55318, USA 2. M/s Lake Region Medical Limited Butlersland New Ross, Wexford, Ireland   (FSC USFDA) | Emerald Diagnostic Guidewire  Cordis Emerald Guidewires  Class D  Shelf Life: 3Year  **J Tip Wires**  502716, 502524, 502717, 502536, 502537, 502522, 502538, 502521, 502570, 502521F, 502539, 502521E, 502540, 502526, 502550, 502519, 502532, 502531, 502582A, 502534, 502701, 502587, 502585, 502585F, 502585E, 502589, 502535, 502535F, 502535E, 502576, 502533, 502520, 502520F, 502584E, 502584, 502584F, 502588, 502525, 502525E, 502575, 502530, 502569, 502572, 502571  **JTip (Tapered)**  502572A, 502568A, 502571A, 502574A, 502570A, 502573A  **Exchange JTip Wires**  502456, 502452, 502453, 502453F, 502453E, 502454, 502455, 502455F, 502455E  **Straight Tip Wires**  502549, 502548, 502542, 502542E, 502546, 502560, 502541, 502563, 502544, 502545, 502561, 502580, 502581, 502703, 502704  **Straight Tip Wires (Tapered)**  502581A  **Exchange Straight Tip Wires**  502442E, 502554, 502558, 502555, 502557, 502553  **Diagnostic Guidewire Specials**  SMxxxx, SMxxxxx, SLxxxx  **Super Stiff JTip Wires**  502731, 502733, 502735  **Super Stiff StraightTip Wires**  502726, 502728 | Steerable Guidewires | Manufacuting and Quality Control, EPSP not Provided |
| 18 | -do- | **Marketed By:** M/s Kaneka Corporation, 3-18, 2-Chome, Nakanoshima, Kita-ku, Osaka-city, Osaka, 530-8288, Japan  **Manufacturing Site:**  M/s KANEKA Corporation Osaka Plant 5-1-1, Torikai-Nishi, Settsu-city, OSAKA, 566-0072, Japan  (FSC Japan) | IKAZUCHI Zero PTCA Balloon Dilatation Catheter  Class D  Shelf Life: 3Year  ZE-6-100F, ZE-12-350, ZE-6-100P, ZE-12-375, ZE-6-120, ZE-12-400, ZE-6-150, ZE-15-150, ZE-6-175, ZE-15-175, ZE-6-200, ZE-15-200, ZE-6-225, ZE-15-225, ZE-6-250, ZE-15-250, ZE-6-275, ZE-15-275, ZE-6-300, ZE-15-300, ZE-6-325, ZE-15-325, ZE-6-350, ZE-15-350, ZE-6-375, ZE-15-375, ZE-6-400, ZE-15-400, ZE-8-100F, ZE-18-150, ZE-8-100P, ZE-18-175, ZE-8-120, ZE-18-200, ZE-8-150, ZE-18-225, ZE-8-175, ZE-18-250, ZE-8-200, ZE-18-275, ZE-8-225,  ZE-18-300, ZE-8-250, ZE-18-325, ZE-8-275, ZE-18-350, ZE-8-300, ZE-18-375, ZE-8-325, ZE-18-400, ZE-8-350, ZE-20-150, ZE-8-375, ZE-20-175, ZE-8-400, ZE-20-200, ZE-10-150, ZE-20-225, ZE-10-175, ZE-20-250, ZE-10-200, ZE-20-275, ZE-10-225, ZE-20-300, ZE-10-250, ZE-20-325, ZE-10-275, ZE-20-350, ZE-10-300, ZE-20-375, ZE-10-325, ZE-20-400, ZE-10-350, ZE-30-150, ZE-10-375, ZE-30-175, ZE-10-400, ZE-30-200, ZE-12-150, ZE-30-225, ZE-12-175, ZE-30-250, ZE-12-200, ZE-30-275, ZE-12-225, ZE-30-300, ZE-12-250, ZE-30-325, ZE-12-275, ZE-30-350, ZE-12-300, ZE-30-375, ZE-12-325, ZE-30-400 | Angioplasty Balloon Catheter | Manufacuting and Quality Control, EPSP not Provided |
| 19 | -do- | **Legal Manufacturer:** M/s Cordis Corporation 14201 N.W. 60th Ave. Miami Lakes, FL 33014, USA  **Manufacturing Site:**   1. M/s Lake Region Medical 340, Lake Hazeltine Dr Chaska, MN 55318, USA 2. M/s Lake Region Medical Limited Butlersland New Ross, Wexford, Ireland   (FSC USFDA) | ATW Steerable Guidewires  Class D  Shelf Life: 2Year  595014  595J014  595X014  595Y014  595E014  595EJ014  595EX014  595EY014  595-M014  595-MJ014  595-MX014  595-MY014  595-ME014  595-MEJ014  595-MEX014  595-MEY014 | Steerable Guidewires | Manufacuting and Quality Control, EPSP not Provided |
| 20 | -do- | **Legal Manufacturer:** M/s Cordis Corporation 14201 N.W. 60th Ave. Miami Lakes, FL 33014, USA  **Manufacturing Site:**  M/s Cordis de Mexico S.A. de C.V, Calle Circuito Interior Norte # 1820, Parque Industrial Salvarcar, Ciudad Juarez, Chihuahua, CP32574, Mexico  (FSC USFDA) | VistaBriteTip® Guiding Catheter  Class D  Shelf Life: 2Year  Vista Brite Tip — 5F  5560020L, 5561700L, 77800000, 5560040L, 5561720L, 77800100  5560080L, 5561740L, 77800200  SM7331, 5561900L,7780020E,  5560400L, 55627000,77800300,  5560540L, 5562700L, 77800400,  5560560L, 5562780L, 7780040E,  5560600L, 77800500, 5560620L,  7780050E, 5560800L,77800600,  5560820L, 77800700, 5561100L,  77800800,5561120L,77800900,  5561620L,77801000,5561640L,  77801200, 5561660L,77801300,  5561680L, 77801400  Vista Brite Tip — 7F  77801500, 77804500,77806500,  77800490,77818200,77822455,  77801600,77804800,77808000,  77803690,77818300,77825090,  77801800,77804900,77808100,  77808290,77818800,77827090,  77802200,77811400,77808200,  77808390,77819000,77827855,  77805200,7780820E,77811090,  77819100, 77827890,77803400,  77805300,77808300,77818090,  77827000,77827990,77803600,  77805400,7780830E,77819090,  77827100,77828055,7780360E,  77805500,77808400,77819190,  77827200,77828090,77803700,  77805600,77808500,77827090,  77827300,77803800,77805700,  77808800,77827890,77827055,  77803900,77805800,77808900,  77827990,77827800,77804000,  77805900,77809000,77811000,  77827900,77804090,77806000,  77809100,77811100,77821055,  77804100,77806100,77809200,  77811200,77821255,77804200,  77806200,77811600,77811300,  77821455,77804300,77806300,  77811800,77818000,77821690,  77804400,77806400,77800290,  77818100,77822255.  Vista Brite Tip 8F  588800, 588854, 5888116  5888102, 588839, 588858  588883, 588809, 588828,588815, 5888103, 588840, 588859, 588884, 588810, 588830, 588818, 5888104, 588842, 588860, 588885, 588812, 588830E, 588816, 5888105, 588840P, 588861, 588886, 588813, 588831, 588819, 588803, 588841, 588862, 588887, 588821, 588831E, 588801, 588804, 588841P, 588863, 588889, 588822, 588833, 588802, 588805, 588850, 588864, 588890, 588823, 588835, 588815T, 588806, 588857P, 588865, 588891, 588823E,588855, 588816T, 588817,588858P, 588866, 588892, 588824, 588856, 588823T, 588820, 588842P, 588867, 588892T, 588825, 588857, 588830T, 588836, 588843P, 588870, 588893, 588825E, 588811, 588831T, 588837, 588844P, 588871, 588894, 588826, 5888106, 588841T, 588845, 588845P, 588872, 588895, 588827, 5888107,588842P, 588846, 588846P, 588873, 588896, 588832, 5888108, 588843T, 588843, 588847P, 588874, 588898, 588834, 5888109, 588844T,588843E, 588848P, 588875, 588899, 588834E, 5888110, 588845T, 588844, 588849P, 588876, 588851, 5888111, 588850T, 588844E, 5888200, 588877, 588851E, 5888112, 5888511, 588847, 5888201, 588878, 588852, 5888113, 588829, 588848, 5888202, 588879, 588853, 5888114, 5888100, 588849, 5888206, 588880, 588853E, 5888115, 5888101, 588838, 5888207, 588882  Vista Brite Tip 9F  598900, 598915, 598949, 598941P, 598909, 598918, 598978, 598942P, 598910, 598916, 598991, 598943P, 598923, 598919, 598994, 598944P, 598932, 598917, 598996, 598945P, 598934, 598920, 598997, 598946P, 598951, 598941, 598942, 598949P, 598952, 598950, 598986, 598953, 598937, 598987, 598928, 598945, 598992, 598930, 598936, 5989200, 598931, 598943, 5989201, 598933, 598944, 5989202, 598955, 598947, 5989206, 598966, 598948, 5989207  Vista Brite Tip 10F  511040P  Vista Brite Tip 5F  55600200 55608000  55600400 55608200  55600800 55611200  55604000 55616200  55605400 55616800  55605600 55617200  55606000 55617400 | Guiding Catheter | Manufacuting and Quality Control, EPSP not Provided |
| **Decision:** The Board approved the products at serial 14-20 for import in the name of M/s Global Marketing Services subject to submission of manufacturing, Quality Control and Essential Principal of Safety and Performance data. | | | | | |
| 21 | M/s Abbott Laboratories (Pakistan) Ltd, Opposite Radio Pakistan Transmission Center, Hyderabad Road, Landhi, Karachi  (ELI-00019) | **Legal Manufacturer:** M/s Abbott GmbH & Co. KG  Max-Planck-Ring 2 65205 Wiesbaden Germany  **Manufacturing Site:**  M/s Abbott GmbH & Co. KG  Max-Planck-Ring 2 65205 Wiesbaden Germany  (FSC Germany) | ARCHITECT Anti-HCV Kit  Class D  Shelf Life:  (i) 1Year  (ii) 1Year  (iii) 9Month  (iv) 9Month  (v) 9Month  (i) ARCHITECT Anti-HCV  Calibrator  6C37-01  (ii) ARCHITECT Anti-HCV  Controls 6C37-10  (ii) ARCHITECT Anti-HCV  Reagent Kit 6C37-27  (iv) ARCHITECT Anti-HCV  Reagent Kit 6C37-32  (v) ARCHITECT Anti-HCV Reagent Kit 6C37-37 | IN-VITRO DIAGNOSTIC Kit for Anti-HCV Testing |  |
| 22 | M/s Abbott Laboratories (Pakistan) Ltd, Opposite Radio Pakistan Transmission Center, Hyderabad Road, Landhi, Karachi  (ELI-00019) | **Legal Manufacturer:** M/s Abbott GmbH & Co. KG  Max-Planck-Ring 2 65205 Wiesbaden Germany  **Manufacturing Site:**  M/s Abbott GmbH & Co. KG  Max-Planck-Ring 2 65205 Wiesbaden Germany  (FSC Germany) | ARCHITECT Anti-HBc II Kit  Class D  (i) ARCHITECT Anti-HBc II Calibrator 8L44-01  Shelf Life: 1Year  (ii) ARCHITECT Anti-HBc II Controls 8L44-10  Shelf Life: 1Year  (iii) ARCHITECT Anti-HBc II Reagent Kit 8L44-25  Shelf Life: 1Year  (iv) ARCHITECT Anti-HBc II Reagent Kit 8L44-30,  Shelf Life: 1Year  (v) ARCHITECT Anti-HBc II Reagent Kit 8L44-35  Shelf Life: 1Year | IN-VITRO DIAGNOSTIC Kit for Anti-HBc Testing |  |
| 23 | M/s Abbott Laboratories (Pakistan) Ltd, Opposite Radio Pakistan Transmission Center, Hyderabad Road, Landhi, Karachi  (ELI-00019) | **Legal Manufacturer/ Manufacturing Site:** M/s Abbott GmbH & Co. KG  Max-Planck-Ring 2 65205 Wiesbaden Germany  (FSC Germany) | ARCHITECT Anti-HBc IgM Kit  Class D  (i) ARCHITECT Anti-HBc IgM Calibrators  6C33-02  Shelf Life: 14Month  (ii) ARCHITECT Anti-HBc IgM Controls  6C33-11  Shelf Life: 15Month  (iii) ARCHITECT Anti-HBc IgM Reagent Kit  6C334-27  Shelf Life: 15Month | IN-VITRO DIAGNOSTIC Kit for Anti-HBc IgM Testing |  |
| 24 | M/s Abbott Laboratories (Pakistan) Ltd, Opposite Radio Pakistan Transmission Center, Hyderabad Road, Landhi, Karachi  (ELI-00019) | **Legal Manufacturer/ Manufacturing Site:** M/s Abbott GmbH & Co. KG  Max-Planck-Ring 2 65205 Wiesbaden Germany  (FSC Germany) | ARCHITECT Anti-HBe Kit  Class D  (i) ARCHITECT Anti-HBe Calibrator  6C34-01  Shelf Life: 15Month  (ii) ARCHITECT Anti-HBe Controls  6C34-10  Shelf Life: 12Month  (iii) ARCHITECT Anti-HBe Reagent Kit  6C34-25  Shelf Life: 11Month  (iv) ARCHITECT Anti-HBe Reagent Kit  6C34-35  Shelf Life: 11Month | IN-VITRO DIAGNOSTIC Kit for Anti-HBe Testing |  |
| 25 | M/s Abbott Laboratories (Pakistan) Ltd, Opposite Radio Pakistan Transmission Center, Hyderabad Road, Landhi, Karachi  (ELI-00019) | **Legal Manufacturer/ Manufacturing Site:** M/s Abbott Ireland Diagnostic Division, Finisklin Business Park, Sligo, Ireland  (FSC Ireland) | ARCHITECT Anti-HBs Kit  Class D  (i) ARCHITECT Anti-HBs Calibrators  7C18-03  Shelf Life: 12Months  (ii) ARCHITECT Anti-HBs Controls  7C18-13  Shelf Life: 10Months  (iii) ARCHITECT Anti-HBs Reagent Kit  7C18-29  Shelf Life: 15Months  (iv) ARCHITECT Anti-HBs Reagent Kit  7C18-39  Shelf Life: 15Months  (v) ARCHITECT Anti-HBs Reagent Kit  7C18-33  Shelf Life: 15Months  (vi) ARCHITECT Anti-HBs Reagent Kit  7C18-41  Shelf Life: 15Months  (vii) ARCHITECT Anti-HBs Reagent Kit  7C18-42  Shelf Life: 15Months  (viii)ARCHITECT Anti-HBs Specimen Diluent  7C18-40  Shelf Life: 12Months | IN-VITRO DIAGNOSTIC Kit for Anti-HBs Testing |  |
| 26 | M/s Abbott Laboratories (Pakistan) Ltd, Opposite Radio Pakistan Transmission Center, Hyderabad Road, Landhi, Karachi  (ELI-00019) | **Legal Manufacturer/ Manufacturing Site:** M/s Abbott GmbH & Co. KG  Max-Planck-Ring 2 65205 Wiesbaden Germany  (FSC Germany) | ARCHITECT HBeAg Kit  Class D  (i) ARCHITECT HBeAg Calibrators  6C32-01  Shelf Life: 12Months  (ii) ARCHITECT HBeAg Controls  6C32-10  Shelf Life: 12Months  (iii) ARCHITECT HBeAg Reagent Kit  6C32-25  Shelf Life: 11Months  (iv) ARCHITECT HBeAg Reagent Kit  6C32-27  Shelf Life: 11Months  (v) ARCHITECT HBeAg Reagent Kit  6C32-37  Shelf Life: 11Months  (vi) ARCHITECT HBeAg Quantitative Calibrators  7P24-01  Shelf Life: 12Months  (vii) ARCHITECT HBeAg Quantitative Controls  7P24-10  Shelf Life: 12Months | IN-VITRO DIAGNOSTIC Kit for HBeAg Testing |  |
| 27 | M/s Abbott Laboratories (Pakistan) Ltd, Opposite Radio Pakistan Transmission Center, Hyderabad Road, Landhi, Karachi  (ELI-00019) | **Legal Manufacturer/ Manufacturing Site:** M/s Abbott Ireland Diagnostic Division, Finisklin Business Park, Sligo, Ireland  (FSC Ireland) | ARCHITECT HBsAg Kit  Class D  (i) ARCHITECT HBsAg Calibrators  3M61-02  Shelf Life: 14Months  (ii) ARCHITECT HBsAg Controls  6C36-10  Shelf Life: 14Months  (iii) ARCHITECT HBsAg Reagent Kit  6C36-29  Shelf Life: 12Months  (iv) ARCHITECT HBsAg Reagent Kit  6C36-34  Shelf Life: 12Months  (v) ARCHITECT HBsAg Reagent Kit  6C36-35  Shelf Life: 12Months  (vi) ARCHITECT HBsAg Reagent Kit  6C36-43  Shelf Life: 12Months  (vii) ARCHITECT HBsAg Manual Diluent  6C36-40  Shelf Life: 14Months | IN-VITRO diagnostic Kit for HBsAg Testing |  |
| 28 | M/s Abbott Laboratories (Pakistan) Ltd, Opposite Radio Pakistan Transmission Center, Hyderabad Road, Landhi, Karachi  (ELI-00019) | **Legal Manufacturer/ Manufacturing Site:** M/s Abbott GmbH & Co. KG  Max-Planck-Ring 2 65205 Wiesbaden Germany  (FSC Germany) | ARCHITECT rHTLV-I/II Kit  Class D  (i) ARCHITECT rHTLV-I/II Calibrator  6L61-01  Shelf Life: 12Months  (ii) ARCHITECT rHTLV-I/II Controls  6L61-10  Shelf Life: 12Months  (iii) ARCHITECT rHTLV-I/II Reagent Kit  6L61-25  Shelf Life: 12Months  (iv) ARCHITECT rHTLV-I/II Reagent Kit  6L61-30  Shelf Life: 12Months  (v) ARCHITECT rHTLV-I/II Reagent Kit  6L61-35  Shelf Life: 12Months | IN-VITRO DIAGNOSTIC Kit for rHTLV-I/II Testing |  |
| 29 | M/s Abbott Laboratories (Pakistan) Ltd, Opposite Radio Pakistan Transmission Center, Hyderabad Road, Landhi, Karachi  (ELI-00019) | **Legal Manufacturer/ Manufacturing Site:** M/s Abbott GmbH & Co. KG  Max-Planck-Ring 2 65205 Wiesbaden Germany  (FSC Germany) | ARCHITECT Syphilis TP Kit  Class D  (i) ARCHITECT Syphilis TP Calibrator  8D06-04  Shelf Life: 12Months  (ii) ARCHITECT Syphilis TP Controls  8D06-13  Shelf Life: 12Months  (iii) ARCHITECT Syphilis TP Reagent Kit  8D06-29  Shelf Life: 12Months  (iv) ARCHITECT Syphilis TP Reagent Kit  8D06-39  Shelf Life: 12Months  (v) ARCHITECT Syphilis TP Reagent Kit  8D06-32  Shelf Life: 12Months  (vi) ARCHITECT Syphilis TP Reagent Kit  8D06-42  Shelf Life: 12Months | IN-VITRO DIAGNOSTIC Kit for Syphilis TP Testing |  |
| 30 | M/s Abbott Laboratories (Pakistan) Ltd, Opposite Radio Pakistan Transmission Center, Hyderabad Road, Landhi, Karachi  (ELI-00019) | **Legal Manufacturer/ Manufacturing Site:** M/s Abbott GmbH & Co. KG  Max-Planck-Ring 2 65205 Wiesbaden Germany  (FSC Germany) | ARCHITECT HCV Ag Kit  Class D  (i) ARCHITECT HCV Ag Calibrators  6L47-02  Shelf Life: 18Months  (ii) ARCHITECT HCV Ag Controls  6L47-11  Shelf Life: 18Months  (iii) ARCHITECT HCV Ag Reagent Kit  6L47-27  Shelf Life: 12Months  (iv) ARCHITECT HCV Ag Reagent Kit  6L47-29  Shelf Life: 12Months | IN-VITRO DIAGNOSTIC Kit for HCV Ag Testing |  |
| 31 | M/s Abbott Laboratories (Pakistan) Ltd, Opposite Radio Pakistan Transmission Center, Hyderabad Road, Landhi, Karachi  (ELI-00019) | **Legal Manufacturer/ Manufacturing Site:** M/s Abbott Ireland Diagnostic Division, Finisklin Business Park, Sligo, Ireland  (FSC Ireland) | ARCHITECT HBsAg Qualitative II Kit  Class D  (i) ARCHITECT HBsAg Qualitative II Calibrators  2G22-01  Shelf Life: 12Months  (ii) ARCHITECT HBsAg Qualitative II Controls  2G22-10  Shelf Life: 12Months  (iii) ARCHITECT HBsAg Qualitative II Reagent Kit  2G22-25  Shelf Life: 12Months  (iv) ARCHITECT HBsAg Qualitative II Reagent Kit  2G22-30  Shelf Life: 12Months  (v) ARCHITECT HBsAg Qualitative II Reagent Kit  2G22-35  Shelf Life: 12Months | IN-VITRO DIAGNOSTIC Kit for HBsAg Qualitative II Testing |  |
| 32 | M/s Abbott Laboratories (Pakistan) Ltd, Opposite Radio Pakistan Transmission Center, Hyderabad Road, Landhi, Karachi  (ELI-00019) | **Legal Manufacturer/ Manufacturing Site:** M/s Abbott Ireland Diagnostic Division, Finisklin Business Park, Sligo, Ireland  (FSC Ireland) | ARCHITECT HBsAg Qualitative II Kit  Class D  (i) ARCHITECT HBsAg Qualitative II Calibrators  2G22-01  Shelf Life: 12Months  (ii) ARCHITECT HBsAg Qualitative II Controls  2G22-10  Shelf Life: 12Months  (iii) ARCHITECT HBsAg Qualitative II Confirmatory Reagent Kit  2G23-25  Shelf Life: 12Months  (iv) ARCHITECT HBsAg Qualitative II Confirmatory Manual DiluentKit  2G23-40  Shelf Life: 12Months | IN-VITRO DIAGNOSTIC Kit for HBsAg Qualitative II Testing |  |
| 33 | M/s Abbott Laboratories (Pakistan) Ltd, Opposite Radio Pakistan Transmission Center, Hyderabad Road, Landhi, Karachi  (ELI-00019) | **Legal Manufacturer/ Manufacturing Site:** M/s Abbott GmbH & Co. KG  Max-Planck-Ring 2 65205 Wiesbaden Germany  (FSC Germany) | ARCHITECT HIV Ag/Ab Combo Kit  Class D  (i) ARCHITECT HIV Ag/Ab Combo Calibrator  4J27-03  Shelf Life: 10Months  (ii) ARCHITECT HIV Ag/Ab Combo Controls  4J27-12  Shelf Life: 10Months  (iii) ARCHITECT HIV Ag/Ab Combo Reagent Kit  4J27-27  Shelf Life: 10Months  (iv) ARCHITECT HIV Ag/Ab Combo Reagent Kit  4J27-32  Shelf Life: 10Months  (v) ARCHITECT HIV Ag/Ab Combo Reagent Kit  4J27-37  Shelf Life: 10Months | IN-VITRO DIAGNOSTIC Kit for HIV Ag/Ab Combo Testing |  |
| 34 | M/s Abbott Laboratories (Pakistan) Ltd, Opposite Radio Pakistan Transmission Center, Hyderabad Road, Landhi, Karachi  (ELI-00019) | **Legal Manufacturer/ Manufacturing Site:** M/s Abbott GmbH & Co. KG  Max-Planck-Ring 2 65205 Wiesbaden Germany  (FSC Germany) | ARCHITECT Chagas Kit  Class D  (i) ARCHITECT Chagas Calibrator  2P25-01  Shelf Life: 10Months  (ii) ARCHITECT Chagas Controls  2P25-10  Shelf Life: 10Months  (iii) ARCHITECT Chagas Reagent Kit  2P25-25  Shelf Life: 12Months  (iv) ARCHITECT Chagas Reagent Kit  2P25-35  Shelf Life: 12Months | IN-VITRO DIAGNOSTIC Kit for Chagas Testing |  |
| 35 | M/s Abbott Laboratories (Pakistan) Ltd, Opposite Radio Pakistan Transmission Center, Hyderabad Road, Landhi, Karachi  (ELI-00019) | **Legal Manufacturer/ Manufacturing Site:** M/s Abbott Ireland Diagnostic Division, Finisklin Business Park, Sligo, Ireland  (FSC Ireland) | Alinity i HBsAg Kit  Class D  (i) Alinity i HBsAg Calibrators  08P0801  Shelf Life: 09Months  (ii) Alinity i HBsAg Controls  08P0810  Shelf Life: 14Months  (iii) Alinity i HBsAg Reagent Kit  08P0822  Shelf Life: 09Months  (iv) Alinity i HBsAg Reagent Kit  08P0832  Shelf Life: 09Months  (v) Alinity i HBsAg Reagent Kit  08P0852  Shelf Life: 09Months  (vi) Alinity i HBsAg Reagent Kit  08P0857  Shelf Life: 09Months  (vii) Alinity i HBsAg Manual Diluent  08P0843  Shelf Life: 14Months | IN-VITRO DIAGNOSTIC Kit for i HBsAg Testing |  |
| 36 | M/s Abbott Laboratories (Pakistan) Ltd, Opposite Radio Pakistan Transmission Center, Hyderabad Road, Landhi, Karachi  (ELI-00019) | **Legal Manufacturer/ Manufacturing Site:** M/s Abbott Ireland Diagnostic Division, Finisklin Business Park, Sligo, Ireland  (FSC Ireland) | Alinity i HBsAg Confirmatory V.1 Kit  Class D  (i) Alinity i HBsAg Confirmatory V.1 Calibrators  08P0901  Shelf Life: 14Months  (ii) Alinity i HBsAg Confirmatory V.1 Controls  08P0910  Shelf Life: 14Months  (iii) Alinity i HBsAg Confirmatory V.1 Reagent Kit  08P0922  Shelf Life: 12Months | IN-VITRO DIAGNOSTIC Kit for i HBsAg Confirmatory V.1 Testing |  |
| **Decision:** The Board approved the products at serial 21-36 for import in the name of M/s Abbott Laboratories (Pakistan) Ltd., Karachi. | | | | | |
| 37 | M/s Ferozsons Laboratories Limited, P.O. Ferozsons, Amangarh, Nowshera-KPK, Pakistan | **Legal Manufacturer:** M/s Boston Scientific Corporation  300, Boston Scientific Way, Marlborough, MA 01752 USA  **Manufacturing Site:**  M/s Boston Scientific Corporation  780 Brookside Drive, Spencer, IN 47460 USA  (FSC USFDA) | Accustick TM II Introducer System  Class B  Shelf Life: 37Month  M001207020  08714729157588  Accustick II w .038” J Tip and 0.018” SS Guidewire  M001207030  08714729157601  Accustick II w .038” Str and 0.018” SS Guidewire  M001207040  08714729194514  Accustick II w 0.018” SS Guidewire  M001207050  08714729157625  Accustick II woGuidewire  M001207100  08714729201137  Accustick II w .038” J Tip and 0.018” NitinolGuidewire | The AccuStick II Introducer System with radiopaque marker facilitates introduction and placement of a guidewire. |  |
| **Decision:** The Board approved the product at serial no. 37 in Class B for import as per Rule 6 of Classification Rules of Medical Devices Rules, 2017 which is reproduced as under:   |  |  | | --- | --- | | **Rule 6**  All surgically invasive devics intended for **transient use** are in Class B | A majority of such devices fall in several major groups: those that create conduit through the skin (e.g syringe needles; lancets), surgical instruments (e.g. single-use scalpels; surgical sdtaplers; single-use aortic punch); surgical gloves; and various types of catheter/sucker etc. | | | | | | |
| 38 | M/s Ferozsons Laboratories Limited, P.O. Ferozsons, Amangarh, Nowshera-KPK, Pakistan | **Legal Manufacturer:** M/s Boston Scientific Corporation  300, Boston Scientific Way, Marlborough, MA 01752 USA  **Manufacturing Site:**  M/s Boston Scientific Limited  Business and Technology Park Model farm Road Cork, Ireland  (FSC Ireland) | ContourTM Embolization Particles  Class C  Shelf Life: 36Month  M0017600121  Contour Embolization Particles 45-150 microns  M0017600221  Contour Embolization Particles 150-250 microns  M0017600321  Contour Embolization Particles 250-355 microns  M0017600421  Contour Embolization Particles 355-500 microns  M0017600621  Contour Embolization Particles 500-710 microns  M0017600821  Contour Embolization Particles 710-1000 microns  M0017601121  Contour Embolization Particles 1000-1180 microns  M0017600151  Contour Embolization Particles 45-150 microns  M0017600251  Contour Embolization Particles 150-250 microns  M0017600351  Contour Embolization Particles 250-355 microns  M0017600451  Contour Embolization Particles 355-500 microns  M0017600651  Contour Embolization Particles 500-710 microns  M0017600851  Contour Embolization Particles 710-1000 microns  M0017601151  Contour Embolization Particles 1000-1180 microns | Boston Scientific’s Contour Embolization Particles are used for the embolization of peripheral hypervascular tumors, including leiomyoma uteri and peripheral arteriovenous malformations (AVMs).  Do not use particles smaller than 355 microns for the treatment of leiomyoma uteri. Contour Embolization Particles are artificial embolization devices. These devices are intended to provide vascular occlusion upon selective placement via an angiographic catheter. Contour Embolization Particles are packaged sterile by gamma irradiation. Each vial is intended for single patient use only |  |
| 39 | M/s Ferozsons Laboratories Limited, P.O. Ferozsons, Amangarh, Nowshera-KPK, Pakistan | **Legal Manufacturer:** M/s Boston Scientific Corporation  300, Boston Scientific Way, Marlborough, MA 01752 USA  **Manufacturing Site:**  M/s Boston Scientific Limited Ballybrit Business Park Galway Ireland  (FSC Ireland) | Wallstent-Uni TM Endoprosthesis Self-Expanding Stent  Class C  Shelf Life: 24Month  M001731000  WALLSTENT Uni 5 x20mm x 75cm  M001731010  WALLSTENTUni5x 20mm x 135cm  M001731020 WALLSTENTUni5x40mm x 75cm  M001731030  WALLSTENTUni5x40mm x 135cm  M001731040 WALLSTENTUni5x55mm x 75cm  M001731050 WALLSTENTUni5x 55mm x 135cm  M001731060 WALLSTENTUni5x80mm x 75cm  M001731070 WALLSTENTUni5x80mm x 135cm  M001731080 WALLSTENTUni 6 x20mm x 75cm  M001731090 WALLSTENTUni6x20mm x 135cm  M001731100 WALLSTENTUni6x45mm x 75cm  M001731110 WALLSTENTUni6x45mm x 135cm  M001731120 WALLSTENTUni6x60mm x 75cm  M001731130 WALLSTENTUni6x60mm x 135cm  M001731140 WALLSTENTUni6x90mm x 75cm  M001731150 WALLSTENTUni6x90mm x 135cm  M001731160 WALLSTENTUni7x20mm x 75cm  M001731170 WALLSTENTUni7x20mm x 135cm  M001731180 WALLSTENTUni7x40mm x 75cm  M001731190 WALLSTENTUni7x40mm x 135cm  M001731200  WALLSTENTUni7x60mm x 75cm  M001731210  WALLSTENT Uni 7x60mm x 135cm  M001731220  WALLSTENT Uni 7x90mm x 75cm  M001731230  WALLSTENT Uni7x90mm x 135cm  M001731240  WALLSTENT Uni8x20mm x 75cm  M001731250  WALLSTENT Uni 8x 20mm x 135cm  M001731260  WALLSTENT Uni 8x 40mm x 75cm  M001731270  WALLSTENT Uni 8x 40mm x 135cm  M001731280  WALLSTENT Uni 8x 60mm x 75cm  M001731290  WALLSTENT Uni 8x 60mm x 135cm  M001731300  WALLSTENT Uni 8x 80mm x 75cm  M001731310  WALLSTENT Uni 8x 80mm x135cm  M001731320  WALLSTENT Uni 10x 20mmx75cm  M001731330  WALLSTENT Uni 10 x 20mm x 135cm  M001731340  WALLSTENT Uni 10 x 42mm x 75cm  M001731350  WALLSTENT Uni 10x 42mmx 135cm  M001731360  WALLSTENT Uni 10 x 68mm x 75cm  M001731370  WALLSTENT Uni 10 x 68mm x 135cm  M001731380  WALLSTENT Uni 10 x 94mm x 75cm  M001731390  WALLSTENT Uni 10 x 94mm x 135cm  M001731400  WALLSTENT Uni 12 x 20mm x 75cm  M001731410  WALLSTENT Uni 12 x 20mm x 135cm  M001731420  WALLSTENT Uni 12 x 40mm x 75cm  M001731430  WALLSTENT Uni 12 x 40mmx135cm  M001731440  WALLSTENT Uni 12 x 60mm x 75cm  M001731450  WALLSTENT Uni 12 x 60mm x 135cm  M001731460  WALLSTENT Uni 12 x 90mm x 75cm  M001731470  WALLSTENT Uni 12 x 90mm x 135cm  M001731480  WALLSTENT Uni 14 x 20mm x 75cm  M001731490  WALLSTENT Uni 14 x 40mm x 75cm  M001731500  WALLSTENT Uni 14 x 60mm x 75cm  M001731510  WALLSTENT Uni 14 x 90mm x 75cm  M001731520  WALLSTENT Uni 16 x 20mm x 75cm  M001731530  WALLSTENT Uni 16 x 40mm x 75cm  M001731540  WALLSTENT Uni 16 x 60mm x 75cm  M001731550  WALLSTENT Uni 16 x 90mm x 75cm  M001731560  WALLSTENT Uni 18 x 40mm x 75cm  M001731570  WALLSTENT Uni 18 x 60mm x 75cm  M001731580  WALLSTENT Uni18 x 90mm x 75cm  M001731590  WALLSTENT Uni 20 x 40mm x 75cm  M001731600  WALLSTENT Uni 20 x 55mm x 75cm  M001731610 WALLSTENT Uni 20 x 80mm x 75cm  M001731620  WALLSTENT Uni 22 x 35mm x 75cm  M001731630 WALLSTENT Uni 22 x 45mm x 75cm  M001731640 WALLSTENT Uni 22x 70mm x 75cm  M001731650 WALLSTENT Uni 24 x 35mm x 75cm  M001731660 WALLSTENT Uni 24 x 45mmx 75cm  M001731670  WALLSTENT Uni24 x 70mmx 75cm | Wallstent-Uni Endoprosthesis is indicated for use following suboptimal percutaneous transluminal angioplasty (PTA) of common and/or external iliac artery stenotic lesions, which are ≤ 10cm in length. A suboptimal PTA is defined as a technically successful dilation, judged by the physician to be suboptimal due to the presence of unfavourable lesion morphology such as:  • An inadequate angiographic and/or hemodynamic result as defined by a 30% or greater residual stenosis after PTA, lesion recoil, or intimal flaps.  • Flow limiting dissections post PTA longer than the initial lesion length.  • A 5mm Hg or greater mean transtenotic pressure gradient post PTA.  Superficial Femoral Artery  Wallstent-Uni Endoprosthesis is intended for use in superficial femoral artery (SFA) stenoses or occlusions.  Transjugular Intrahepatic Portosystemic Shunt (TIPS)  Wallstent-Uni Endoprosthesis is indicated for creation of transjugular intrahepatic shunt connections between the portal venous system and the hepatic vein for prophylaxis of variceal bleeding or intractable ascites in the treatment of portal hypertension and its complications in patients who have previously failed conventional treatment techniques.  Biliary  Wallstent-Uni Endoprosthesis is indicated for use in the treatment of biliary strictures produced by malignant neoplasms.  Tracheobronchial  Wallstent-Uni Endoprosthesis is indicated for use in the treatment of tracheobronchial strictures produced by malignant neoplasms.  Central Venous  Wallstent-Uni Endoprosthesis is indicated for central venous obstruction and for improving central venous luminal diameter following unsuccessful angioplasty in patients on chronic hemodialysis with stenosis of the venous outflow tract. Unsuccessful angioplasty is defined as residual stenosis ≥30% for a vein ≤10 mm in diameter or ≥50% for a vein >10 mm in diameter, a tear which interrupts the integrity of the intima lumen, abrupt lesion site occlusion, or refractory spasm. The vessels that can be treated with the Wallstent-Uni Endoprosthesis product range are the innominate and subclavian veins, ranging from 8mm to 15mm in diameter.  Iliac Vein  The Wallstent-Uni Endoprosthesis is intended for use in the iliac veins for the treatment of symptomatic venous obstruction.WallstentUniEndoprosthesis is comprised of two components: the implantable metallic stent and the Unistep Plus Delivery System.  The stent is composed of biomedical superalloy wire with a radiopaque core, braided in a tubular mesh configuration. This design configuration results in a stent that is flexible, compliant and self-expanding. The delivery system consists of a coaxial tube system. The exterior sheath serves to constrain the stent until retracted during deployment. The exterior sheath can reconstrain the stent a maximum of two times after partial deployment of the stent. The radiopaque marker band on the exterior sheath facilitates the positioning of the exterior sheath, during the procedure. Radiopaque marker bands located on the interior, situated adjacent to the proximal and distal ends of the stent facilitate imaging during deployment. A radiopaque marker band, at a medial position on the interior tube, acts as a deployment limit marker. The interior tube of the coaxial system contains a central lumen that accommodates a 0.035 in (0.89 mm) guidewire. A stainless steel tube is positioned at the proximal end of the interior tube. A valve body attached to the proximal end of the exterior sheath, slides along the length of the stainless steel tube to facilitate the deployment and reconstrainment of the stent. |  |
| 40 | M/s Ferozsons Laboratories Limited, P.O. Ferozsons, Amangarh, Nowshera-KPK, Pakistan | **Legal Manufacturer:** M/s Boston Scientific Corporation  300, Boston Scientific Way, Marlborough, MA 01752 USA  **Manufacturing Site:**  M/s Boston Scientific Limited Ballybrit Business Park Galway Ireland  (FSC Ireland) | Sterling TMOver-The-Wire PTA Balloon Dilatation Catheter  Class B  Shelf Life: Original Sizes  36 Months  Expansion Sizes  18 Months  (Sterling OTW PTA Balloon Dilatation Catheter with balloons diameters of  5.0,  6.0,  and  7.0mm  in diameter with lengths  of  120,  150,  200  and  220mm)  H74939032150210  08714729859857 Sterling OTW 1.5mmx20mmx150cm  H74939032150290  08714729859864 Sterling OTW 1.5mmx20mmx90cm  H74939032150410  08714729859871 Sterling OTW 1.5mmx40mmx150cm  H74939032150490  08714729859888 Sterling OTW 1.5mmx40mmx90cm  H74939032200210  08714729859895 Sterling OTW 2mmx20mmx150cm  H74939032200290  08714729859901 Sterling OTW 2mmx20mmx90cm  H74939032200310  08714729859918 Sterling OTW 2mmx30mmx150cm  H74939032200390  08714729859925 Sterling OTW 2mmx30mmx90cm  H74939032200410  08714729859932 Sterling OTW 2mmx40mmx 150cm  H74939032200490  08714729859949 Sterling OTW 2mmx40mmx90cm  H74939032200610  08714729859956 Sterling OTW 2mmx60mmx150cm  H74939032200690  08714729859963 Sterling OTW 2mmx60mmx90cm  H74939032202210  08714729859970 Sterling OTW 2mmx220mmx 150cm  H74939032202290  08714729859987 Sterling OTW 2mmx220mmx90cm  H74939032250210  08714729859994 Sterling OTW 2.5mmx20mmx 150cm  H74939032250290  08714729860006 Sterling OTW 2.5mmx20mmx90cm  H74939032250310  08714729860013 Sterling OTW 2.5mmx30mmx 150cm  H74939032250390  08714729860020 Sterling OTW 2.5mmx30mmx90cm  H74939032250410  08714729860037  SterlingOTW2.5mmx40mmx150cm  H74939032250490  08714729860044 Sterling OTW 2.5mmx40mmx90cm  H74939032250610  08714729860051 Sterling OTW 2.5mmx60mmx150cm  H74939032250690  08714729860068 Sterling OTW 2.5mmx60mmx90cm  H74939032252210  08714729860075 Sterling OTW 2.5mmx220mmx150cm  H74939032252290  08714729860082 Sterling OTW 2.5mmx220mmx90cm  H74939032300210  08714729860099 Sterling OTW 3mmx20mmx150cm  H74939032300290  08714729860105 Sterling OTW 3mmx20mmx90cm  H74939032300310  08714729860112 Sterling OTW 3mmx30mmx150cm  H74939032300390  08714729860129 Sterling OTW 3mmx30mmx90cm  H74939032300410  08714729860136 Sterling OTW 3mmx40mmx150cm  H74939032300490  08714729860143 Sterling OTW 3mmx40mmx90cm  H74939032300610  08714729860150 Sterling OTW 3mmx60mmx150cm  H74939032300690  08714729860167 Sterling OTW 3mmx60mmx90cm  H74939032302210  08714729860174 Sterling OTW3mmx220mmx150cm  H74939032302290  08714729860181 Sterling OTW3mmx220mmx90cm  H74939032350210  08714729860198  SterlingOTW3.5mmx20mmx150cm  H74939032350290  08714729860204  SterlingOTW3.5mmx20mmx90cm  H74939032350310  08714729860211  SterlingOTW3.5mmx30mmx150cm  H74939032350390  08714729860228  SterlingOTW3.5mmx30mmx90cm  H74939032350410  08714729860235 Sterling OTW 3 5mmx40mmx150cm  H74939032350490  08714729860242 Sterling OTW 3 5mmx40mmx90cm  H74939032350610  08714729860259 Sterling OTW 3 5mmx60mmx150cm  H74939032350690  08714729860266 Sterling OTW 3 5mmx60mmx90cm  H74939032352210  08714729860273 Sterling OTW 3 5mmx220mmx150cm  H74939032352290  08714729860280 Sterling OTW 3 5mmx220mmx90cm  H74939032401010  08714729123507 Sterling OTW 4mmx100mmx135cm  H74939032401080  08714729123514 Sterling OTW 4mmx100mmx80cm  H74939032402010  08714729123521 Sterling OTW 4mmx20mmx135cm  H74939032402040  08714729123538 Sterling OTW 4mmx20mmx40cm  H74939032402080  08714729123545 Sterling OTW 4mmx20mmx80cm  H74939032402110  08714729860297 Sterling OTW4mmx200mmx150cm  H74939032402190  08714729860303 Sterling OTW 4mmx200mmx90cm  H74939032402210  08714729860310 Sterling OTW 4mmx220mmx150cm  H74939032402290  08714729860327 Sterling OTW 4mmx220mmx90cm  H74939032403010  08714729123552 Sterling OTW 4mmx30mmx135cm  H74939032403080  08714729123569 Sterling OTW 4mmx30mmx80cm  H74939032404010  08714729123576 Sterling OTW 4mmx40mmx135cm  H74939032404040  08714729123620 Sterling OTW 4mmx40mmx40cm  H74939032404080  08714729123637 Sterling OTW 4mmx40mmx80cm  H74939032406010  08714729123644 Sterling OTW 4mmx60mmx135cm  H74939032406080  08714729123651 Sterling OTW 4mmx60mmx80cm  H74939032408010  08714729123668 Sterling OTW 4mmx80mmx135cm  H74939032408080  08714729123675 Sterling OTW 4mmx80mmx80cm  H74939032501010  08714729122814 Sterling OTW 5mmx100mmx135cm  H74939032501080  08714729122821 Sterling OTW 5mmx100mmx80cm  H74939032501210  08714729845348 Sterling OTW 5mmx120mmx150cm  H74939032501290  08714729845355 Sterling OTW 5mmx120mmx90cm  H74939032501510  08714729845362 Sterling OTW 5mmx150mmx150cm  H74939032501590  08714729845379 Sterling OTW 5mmx150mmx90cm  H74939032502010  08714729122838 Sterling OTW 5mmx20mmx135cm  H74939032502040  08714729122845 Sterling OTW 5mmx20mmx40cm  H74939032502080  08714729122852 Sterling OTW 5mmx20mmx80cm  H74939032502090  08714729845386 Sterling OTW 5mmx200mmx90cm  H74939032502110  08714729845393 Sterling OTW 5mm x200mmx150cm  H74939032502210  08714729845409 Sterling OTW 5mmx220mmx150cm  H74939032502290  08714729845416 Sterling OTW 5mmx220mmx90cm  H74939032503010  08714729122876 Sterling OTW 5mmx30mmx135cm  H74939032503080  08714729122883 Sterling OTW 5mmx30mmx80cm  H74939032504010  08714729122906 Sterling OTW 5mmx40mmx135cm  H74939032504040  08714729122913 Sterling OTW 5mmx40mmx40cm  H74939032504080  08714729122920 Sterling OTW 5mmx40mmx80cm  H74939032506010  08714729122937 Sterling OTW 5mmx60mmx135cm  H74939032506080  08714729122944 Sterling OTW 5mmx60mmx80cm  H74939032508010  08714729122951 Sterling OTW 5mmx80mmx1 35cm  H74939032508080  08714729122968 Sterling OTW 5mmx80mmx80cm  H74939032601010  08714729123682 Sterling OTW 6mmx100mmx135cm  H74939032601080  08714729123699 Sterling OTW 6mmx100mmx80cm  H74939032601210  08714729845423 Sterling OTW 6mmx120mmx150cm  H74939032601290  08714729845430 Sterling OTW 6mmx120mmx90cm  H74939032601510  08714729845447 Sterling OTW 6mmx150mmx150cm  H74939032601590  08714729845454 Sterling OTW 6mmx150mmx90cm  H74939032602010  08714729123729 Sterling OTW 6mmx20mmx135cm  H74939032602040  08714729123743 Sterling OTW 6mmx20mmx40cm  H74939032602080  08714729123750 Sterling OTW 6mmx20mmx80cm  H74939032602090  08714729845461 Sterling OTW 6mmx200mmx90cm  H74939032602110  08714729845478 Sterling OTW 6mmx200mmx150cm  H74939032602210  08714729845485 Sterling OTW 6mmx220mmx1 50cm  H74939032602290  08714729845492 Sterling OTW 6mmx220mmx90cm  H74939032603010  08714729123767 Sterling OTW 6mmx30mmx135cm  H74939032603080  08714729123774 Sterling OTW 6mmx30mmx80cm  H74939032604010  08714729122784 Sterling OTW 6mmx40mmx135cm  H74939032604040  08714729123781 Sterling OTW 6mmx40mmx40cm  H74939032604080  08714729123798 Sterling OTW 6mmx40mmx80cm  H74939032606010  08714729123804 Sterling OTW 6mmx60mmx135cm  H74939032606080  08714729123811 Sterling OTW 6mmx60mmx80cm  H74939032608010  08714729123828 Sterling OTW 6mmx80mmx135cm  H74939032608080  08714729123965 Sterling OTW 6mmx80mmx80cm  H74939032701010  08714729123972 Sterling OTW 7mmx100mmx135cm  H74939032701080  08714729123989 Sterling OTW 7mmx100mmx80cm  H74939032701210  08714729845508 Sterling OTW 7mmx120mmx150cm  H74939032701290  08714729845515 Sterling OTW 7mmx120mmx90cm  H74939032701510  08714729845522 Sterling OTW 7mmx150mmx150cm  H74939032701590  08714729845539 Sterling OTW 7mmx150mmx90cm  H74939032702010  08714729123996 Sterling OTW 7mmx20mmx135cm  H74939032702040  08714729124016 Sterling OTW 7mmx20mm x40cm  H74939032702080  08714729124047 Sterling OTW 7mmx20mmx80cm  H74939032702090  08714729845546 Sterling OTW 7mmx200mmx90cm  H74939032702110  08714729845553 Sterling OTW 7mmx200mmx150cm  H74939032702210  08714729845560 Sterling OTW 7mmx220mmx150cm  H74939032702290  08714729845577 Sterling OTW 7mmx220mmx90cm  H74939032703010  08714729124054 Sterling OTW 7mmx30mmx135cm  H74939032703080  08714729124061 Sterling OTW 7mmx30mmx80cm  H74939032704010  08714729124078 Sterling OTW 7mmx40mmx135cm  H74939032704040  08714729124092 Sterling OTW 7mmx40mmx40cm  H74939032704080  08714729124108 Sterling OTW 7mmx40mmx80cm  H74939032706010  08714729124115 Sterling OTW 7mmx60mmx135cm  H74939032706080  08714729124122 Sterling OTW 7mmx60mmx80cm  H74939032708010  08714729124139 Sterling OTW 7mmx80mmx135cm  H74939032708080  08714729124146 Sterling OTW 7mmx80mmx80cm  H74939032802010  08714729720621 Sterling OTW 8mmx20mmx135cm  H74939032802040  08714729720638 Sterling OTW 8mmx20mmx40cm  H74939032802080  08714729720645 Sterling OTW 8mmx20mmx80cm  H74939032803010  08714729720652 Sterling OTW 8mmx30mmx135cm  H74939032803080  08714729720669 Sterling OTW 8mmx30mmx80cm  H74939032804010  08714729720676 Sterling OTW 8mmx40mmx135cm  H74939032804040  08714729720683 Sterling OTW 8mmx40mmx40cm  H74939032804080  08714729720690 Sterling OTW 8mmx40mmx80cm  H74939032806010  08714729720706 Sterling OTW 8mmx60mmx135cm  H74939032806080  08714729720713 Sterling OTW 8mmx60mmx80cm  H74939032808010  08714729720720 Sterling OTW 8mmx80mmx135cm  H74939032808080  08714729720737 Sterling OTW 8mmx80mmx80cm  H74939032902010  08714729720744 Sterling OTW 9mmx20mmx135cm  H74939032902080  08714729720751 Sterling OTW 9mmx20mmx80cm  H74939032903010  08714729720768 Sterling OTW 9mmx30mmx 135cm  H74939032903080  08714729720775 Sterling OTW 9mmx30mmx80cm  H74939032904010  08714729720782 Sterling OTW 9mmx40mmx135cm  H74939032904080  08714729720799 Sterling OTW 9mmx40mmx80cm  H74939032906010  08714729720805 Sterling OTW 9mmx60mmx135cm  H74939032906080  08714729720812 Sterling OTW 9mmx60mmx80cm  H74939032908010  08714729720829 Sterling OTW 9mmx80mmx135cm  H74939032908080  08714729720836 Sterling OTW 9mmx80mmx80cm  H74939032102010  08714729123408 Sterling OTW 10mmx20mmx135cm  H74939032102080  08714729123415 Sterling OTW 10mmx20mmx80cm  H74939032103010  08714729123422 Sterling OTW 10mmx30mmx135cm  H74939032103080  08714729123439 Sterling OTW 10mmx30mmx80cm  H74939032104010  08714729123446 Sterling OTW 10mmx40mmx135cm  H74939032104080  08714729123453 Sterling OTW 10mmx40mmx80cm  H74939032106010  08714729123460 Sterling OTW  10mmx60mmx135cm  H74939032106080  08714729123477 Sterling OTW 10mmx60mmx80cm  H74939032108010  08714729123484 Sterling OTW 10mmx80mmx135cm  H74939032108080  08714729123491 Sterling OTW 10mmx80mmx80cm | The Sterling™ OTW PTA Balloon Dilatation Catheter is indicated for Percutaneous Transluminal Angioplasty (PTA) in the peripheral vasculature, including iliac, femoral, popliteal, infra-popliteal, and renal arteries, and for the treatment of obstructive lesions of native or synthetic arteriovenous dialysis fistulae. This device is also indicated for post-dilatation of balloon expandable and self-expanding stents in the peripheral vasculature |  |
| 41 | M/s Ferozsons Laboratories Limited, P.O. Ferozsons, Amangarh, Nowshera-KPK, Pakistan | **Legal Manufacturer:** M/s Boston Scientific Corporation  300, Boston Scientific Way, Marlborough, MA 01752 USA  **Manufacturing Site:**  M/s Boston Scientific Limited  Business and Technology Park Model farm Road Cork, Ireland  (FSC Ireland) | RotalinkTM Plus Pre-Connected Exchangeable Burr Catheter and Burr Advancing Device  Class D  Shelf Life: 24Month  H749236310020  Rotalink Plus / 1.25mm burr, 135 cm long  H749236310030  Rotalink Plus / 1.50mm burr, 135 cm long  H749236310040  Rotalink Plus / 1.75mm burr, 135 cm long  H749236310050  Rotalink Plus / 2.00mm burr, 135 cm long  H749236310150  Rotalink Plus / 2.15mm burr, 135 cm long  H749236310060  Rotalink Plus / 2.25mm burr, 135 cm long  H749236310160  Rotalink Plus / 2.38mm burr, 135 cm long  H749236310070  Rotalink Plus / 2.50mm burr, 135 cm long | Percutaneous rotational coronary angioplasty with the Rotablator Rotational Atherectomy System, as a sole therapy or with adjunctive balloon angioplasty, is indicated in patients with coronary artery disease who are acceptable candidates for coronary artery bypass graft surgery and who meet one of the following selection criteria:  • Single vessel atherosclerotic coronary artery disease with a stenosis that can be passed with a guide wire;  • Multiple vessel coronary artery disease that in the physician’s judgment does not pose undue risk to the patient;  • Certain patients who have had prior percutaneous transluminal coronary angioplasty (PTCA), and who have a restenosis of the native vessel; or  • Native vessel atherosclerotic coronary artery disease that is less than 25 mm in length.  The RotaLink Advancer and Catheter are intended for use with the Rotablator Rotational AtherectomySystem.The advancer houses the air turbine and functions as a guide for the sliding elements that control burr advancement. The turbine is designed with low torque so that it will stall if it encounters resistance. This feature prevents inadvertent damage to the artery.  The advancer has an air-actuated guide wire brake which is automatically actuated when the operator steps on the foot pedal (approved as part of the console) to activate the device. This feature prevents movement of the guide wire when the drive shaft is turning. This advancer is also known as the A21 Advancer |  |
| 42 | M/s Ferozsons Laboratories Limited, P.O. Ferozsons, Amangarh, Nowshera-KPK, Pakistan | **Legal Manufacturer:** M/s Boston Scientific Corporation  300, Boston Scientific Way, Marlborough, MA 01752 USA  **Manufacturing Site:**  M/s Boston Scientific Corporation  780 Brookside Drive Spencer, IN USA 47460  (FSC USFDA) | LeVeenTM Standard Needle Electrode System  Class C  Shelf Life: 36Month  M001262020 08714729300601  LeVeen Standard Needle Electrode System 3.5cm x 12cm  M001262030 08714729300618  LeVeen Standard Needle Electrode System 3.5cm x 15cm  M001262040 08714729300625  LeVeen Standard Needle Electrode System 3.0cm x 12cm  M001262050 08714729300632  LeVeen Standard Needle Electrode System 3.0cm x 15cm  M001262130 08714729295594  LeVeen Standard Needle Electrode System 4.0cm x 15cm  M001262150 08714729349594  LeVeen Standard Needle Electrode System 3.5cm x 25cm  M001262160 08714729454915  LeVeen Standard Needle Electrode System 5.0cm x 15cm  M001262170 08714729767619  LeVeen Standard Needle Electrode System 5.0cm x 25cm  M001262310 08714729120735  LeVeen Standard Needle Electrode System 4.0cm x 25cm | The LeVeen Needle Electrode Family / Soloist Single Needle Electrode is intended to be used in conjunction with the RF3000 Generator for the thermal coagulation necrosis of soft tissues, including partial or complete ablation of nonresectable liver lesions.  These procedures should only be performed by physicians and staff familiar with the equipment and techniques involved. |  |
| 43 | M/s Ferozsons Laboratories Limited, P.O. Ferozsons, Amangarh, Nowshera-KPK, Pakistan | **Legal Manufacturer:** M/s Boston Scientific Corporation  300, Boston Scientific Way, Marlborough, MA 01752 USA  **Manufacturing Site:**  M/s Boston Scientific Corporation  780 Brookside Drive Spencer, IN USA 47460  (FSC USFDA) | Epic™ Over The Wire Self-Expanding Nitinol Stent with  Delivery System  Class C  Shelf Life: 36Month  H74939054051070  Epic 5mm x 100mm x 75cm  H74939054051270  Epic 5mm x 120mm x 75cm  H74939054052070  Epic 5mm x 20mm x 75cm  H74939054053070  Epic 5mm x 30mm x 75cm  H74939054054070  Epic 5mm x 40mm x 75cm  H74939054055070  Epic 5mm x 50mm x 75cm  H74939054056070  Epic 5mm x 60mm x 75cm  H74939054057070  Epic 5mm x 70mm x 75cm  H74939054058070  Epic 5mm x 80mm x 75cm  H74939054061070  Epic 6mm x 100mm x 75cm    H74939054061270  Epic 6mm x 120mm x 75cm  H74939054062070  Epic 6mm x 20mm x 75cm  H74939054063070  Epic 6mm x 30mm x 75cm    H74939054064070  Epic 6mm x 40mm x 75cm  H74939054065070  Epic 6mm x 50mm x 75cm  H74939054066070  Epic 6mm x 60mm x 75cm  H74939054067070  Epic 6mm x 70mm x 75cm    H74939054068070  Epic 6mm x 80mm x 75cm    H74939054071070  Epic 7mm x 100mm x 75cm  H74939054071270  Epic 7mm x 120mm x 75cm  H74939054072070  Epic 7mm x 20mm x 75cm    H74939054073070  Epic 7mm x 30mm x 75cm  H74939054074070  Epic 7mm x 40mm x 75cm  H74939054075070  Epic 7mm x 50mm x 75cm    H74939054076070  Epic 7mm x 60mm x 75cm    H74939054077070  Epic 7mm x 70mm x 75cm  H74939054078070  Epic 7mm x 80mm x 75cm  H74939054081070  Epic 8mm x 100mm x 75cm    H74939054081270  Epic 8mm x 120mm x 75cm  H74939054082070  Epic 8mm x 20mm x 75cm  H74939054083070  Epic 8mm x 30mm x 75cm    H74939054084070  Epic 8mm x 40mm x 75cm  H74939054085070  Epic 8mm x 50mm x 75cm  H74939054086070  Epic 8mm x 60mm x 75cm  H74939054087070  Epic 8mm x 70mm x 75cm  H74939054088070  Epic 8mm x 80mm x 75cm  H74939054091070  Epic 9mm x 100mm x 75cm  H74939054092070  Epic 9mm x 20mm x 75cm  H74939054093070  Epic 9mm x 30mm x 75cm    H74939054094070  Epic 9mm x 40mm x 75cm  H74939054095070  Epic 9mm x 50mm x 75cm    H74939054096070  Epic 9mm x 60mm x 75cm    H74939054097070  Epic 9mm x 70mm x 75cm  H74939054098070  Epic 9mm x 80mm x 75cm    H74939054101070  Epic 10mm x 100mmx75cm    H74939054102070  Epic 10mm x 20mm x 75cm  H74939054103070  Epic 10mm x 30mm x 75cm  H74939054104070  Epic 10mm x 40mm x 75cm  H74939054105070  Epic 10mm x 50mm x 75cm  H74939054106070  Epic 10mm x 60mm x 75cm  H74939054107070  Epic 10mm x 70mm x 75cm  H74939054108070  Epic 10mm x 80mm x 75cm  H74939054123070  Epic 12mm x 30mm x 75cm  H74939054124070  Epic 12mm x 40mm x 75cm  H74939054125070  Epic 12mm x 50mm x 75cm  H74939054126070  Epic 12mm x 60mm x 75cm  H74939054143070  Epic 14mm x 30mm x 75cm  H74939054144070  Epic 14mm x 40mm x 75cm  H74939054145070  Epic 14mm x 50mm x 75cm  H74939054146070  Epic 14mm x 60mm x 75cm  H74939054051020  Epic 5mm x 100mm x 120cm  H74939054051220  Epic 5mm x 120mm x 120cm  H74939054052020  Epic 5mm x 20mm x 120cm  H74939054053020  Epic 5mm x 30mm x 120cm  H74939054054020  Epic 5mm x 40mm x 120cm  H74939054055020  Epic 5mm x 50mm x 120cm  H74939054056020  Epic 5mm x 60mm x 120cm  H74939054057020  Epic 5mm x 70mm x 120cm  H74939054058020  Epic 5mm x 80mm x 120cm  H74939054061020  Epic 6mm x 100mm x 120cm  H74939054061220  Epic 6mm x 120mm x 120cm  H74939054062020  Epic 6mm x 20mm x 120cm  H74939054063020  Epic 6mm x 30mm x 120cm  H74939054064020  Epic 6mm x 40mm x 120cm  H74939054065020  Epic 6mm x 50mm x 120cm  H74939054066020  Epic 6mm x 60mm x 120cm  H74939054067020  Epic 6mm x 70mm x 120cm  H74939054068020  Epic 6mm x 80mm x 120cm  H74939054071020  Epic 7mm x 100mm x 120cm  H74939054071220  Epic 7mm x 120mm x 120cm  H74939054072020  Epic 7mm x 20mm x 120cm  H74939054073020  Epic 7mm x 30mm x 120cm  H74939054074020  Epic 7mm x 40mm x 120cm  H74939054075020  Epic 7mm x 50mm x 120cm  H74939054076020  Epic 7mm x 60mm x 120cm  H74939054077020  Epic 7mm x 70mm x 120cm    H74939054078020  Epic 7mm x 80mm x 120cm    H74939054081020  Epic 8mm x 100mm x 120cm    H74939054081220  Epic 8mm x 120mm x 120cm    H74939054082020  Epic 8mm x 20mm x 120cm    H74939054083020  Epic 8mm x 30mm x 120cm    H74939054084020  Epic 8mm x 40mm x 120cm    H74939054085020  Epic 8mm x 50mm x 120cm  H74939054086020  Epic 8mm x 60mm x 120cm  H74939054087020  Epic 8mm x 70mm x 120cm  H74939054088020  Epic 8mm x 80mm x 120cm  H74939054091020  Epic 9mm x 100mm x 120cm  H74939054092020  Epic 9mm x 20mm x 120cm  H74939054093020  Epic 9mm x 30mm x 120cm  H74939054094020  Epic 9mm x 40mm x 120cm    H74939054095020  Epic 9mm x 50mm x 120cm    H74939054096020  Epic 9mm x 60mm x 120cm  H74939054097020  Epic 9mm x 70mm x 120cm  H74939054098020  Epic 9mm x 80mm x 120cm  H74939054101020  Epic 10mm x 100mm x 120cm    H74939054102020  Epic 10mm x 20mm x 120cm  H74939054103020  Epic 10mm x 30mm x 120cm  H74939054104020  Epic 10mm x 40mm x 120cm  H74939054105020  Epic 10mm x 50mm x 120cm  H74939054106020  Epic 10mm x 60mm x 120cm  H74939054107020  Epic 10mm x 70mm x 120cm  H74939054108020  Epic 10mm x 80mm x 120cm    H74939054123020  Epic 12mm x 30mm x 120cm  H74939054124020  Epic 12mm x 40mm x 120cm    H74939054125020  Epic 12mm x 50mm x 120cm    H74939054126020  Epic 12mm x 60mm x 120cm    H74939054143020  Epic 14mm x 30mm x 120cm  H74939054144020  Epic 14mm x 40mm x 120cm    H74939054145020  Epic 14mm x 50mm x 120cm  H74939054146020  Epic 14mm x 60mm x 120cm | The Epic Nitinol Vascular Stent System is indicated for the treatment of peripheral vascular lesions and obstructions.  NOTE: This product is marketed with different indications in other geographies; the DFU contained with the product serves to differentiate the different uses.The Epic Nitinol Vascular Stent System is comprised of two (2) components: the implantable endoprosthesis (stent) and the stent delivery system. The endoprosthesis is a laser cut self-expanding stent composed of a nickel titanium alloy (nitinol). On both the proximal and distal ends of the stent, radiopaque tantalum markers increase visibility of the stent to aid in placement. The stent is available in diameters ranging from 5 mm to 14 mm and lengths ranging from 20 mm to 120 mm. Stent diameters 5, 6, and 7 mm are part of the Small Diameter (SD) model family; stent diameters 8, 9, and 10 mm are part of the Large Diameter (LD) model family; and stent diameters 12 and 14 mm are part of the Extra Large Diameter (XLD) model family. Stents 5-7 mm in diameter have four (4) tantalum markers on each end and stents 8-14 mm in diameter have five (5) tantalum markers on each end. The stent is constrained within a 6F (2.1 mm) maximum outside diameter (OD) delivery system |  |
| 44 | M/s Ferozsons Laboratories Limited, P.O. Ferozsons, Amangarh, Nowshera-KPK, Pakistan | **Legal Manufacturer:** M/s Boston Scientific Corporation  300, Boston Scientific Way, Marlborough, MA 01752 USA  **Manufacturing Site:**  M/s Boston Scientific Corporation  Two Scimed Place Maple Grove, MN 55311 USA  (FSC USFDA) | Rubicon TM35 Support Catheter  Class B  Shelf Life: 36Month  H74939240035061  08714729832065  RUBICON 35, 65cm (box/5)  H74939240035091  08714729832041  RUBICON 35, 90cm (box/5)  H74939240035131  08714729832072  RUBICON 35, 135cm (box/5)  H74939240035151  08714729832058  RUBICON 35, 150cm (box/5) | The Rubicon Support Catheter is intended to facilitate placement and support of guidewires and other interventional devices within the peripheral vasculature and to allow for exchange of guidewires, and provide a conduit for the delivery of saline or contrast solutions. The Boston Scientific Rubicon™ 14, 18 and 35 Support Catheters (Rubicon) are Over-the-Wire (OTW) catheters with a single lumen shaft design. The lumen is used to pass the catheter over the appropriately sized 0.014", 0.018", or 0.035" guidewire. The lumen terminates at the proximal end of the catheter in a hub with a female luer-lock port  Three radiopaque marker bands spaced equally along the distal shaft are designed to aid in estimating geometry within the vascular system. The distal marker band is approximately 2mm away from the distal end of the catheter tip to aid in positioning the system during the procedure. A coating is applied to the distal 40 cm of the shaft to aid with inserting/withdrawing the catheter from the guide sheath/catheter. The tip of the catheter is gradually tapered to facilitate advancement of the catheter through the stricture/lesion following the guidewire |  |
| 45 | M/s Ferozsons Laboratories Limited, P.O. Ferozsons, Amangarh, Nowshera-KPK, Pakistan | **Legal Manufacturer:** M/s Boston Scientific Corporation  300, Boston Scientific Way, Marlborough, MA 01752 USA  **Manufacturing Site:**  M/ Boston Scientific Limited  Ballybrit Business Park Galway Ireland  (FSC Ireland) | Express LD Vascular Over The Wire Premounted Stent System  Class C  Shelf Life: 36Month  H74938162520750  Vascular LD 5-2 x 75cm  H74938162530750  Vascular LD 5-3 x 75cm  H74938162540750  Vascular LD 5-4 x 75cm  H74938162560750  Vascular LD 5-6 x 75cm  H74938162620750  Vascular LD 6-2 x 75cm  H74938162630750  Vascular LD 6-3 x 75cm  H74938162640750  Vascular LD 6-4 x 75cm  H74938162660750  Vascular LD 6-6 x 75cm  H74938162720750  Vascular LD 7-2 x 75cm  H74938162730750  Vascular LD 7-3 x 75cm  H74938162740750  Vascular LD 7-4 x 75cm  H74938162760750  Vascular LD 7-6 x 75cm  H74938162820750  Vascular LD 8-2 x 75cm  H74938162830750  Vascular LD 8-3 x 75cm  H74938162840750  Vascular LD 8-4 x 75cm  H74938162860750  Vascular LD 8-6 x 75cm  H74938162920750  Vascular LD 9-3 x 75cm  H74938162940750  Vascular LD 9-4 x 75cm  H74938162960750  Vascular LD 9-6 x 75cm  H74938162102070  Vascular LD 10-3 x 75cm  H74938162104070  Vascular LD 10-4 x 75cm  H74938162106070  Vascular LD 10-6 x 75cm  H74938162520130  Vascular LD 5-2 x 135cm  H74938162530130  Vascular LD 5-3 x 135cm  H74938162540130  Vascular LD 5-4 x 135cm  H74938162560130  Vascular LD 5-6 x 135cm  H74938162620130  Vascular LD 6-2 x 135cm  H74938162630130  Vascular LD 6-3 x 135cm  H74938162640130  Vascular LD 6-4 x 135cm  H74938162660130  Vascular LD 6-6 x 135cm  H74938162720130  Vascular LD 7-2 x 135cm  H74938162730130  Vascular LD 7-3 x 135cm  H74938162740130  Vascular LD 7-4 x 135cm  H74938162760130  Vascular LD 7-6 x 135cm  H74938162820130  Vascular LD 8-2 x 135cm  H74938162830130  Vascular LD 8-3 x 135cm  H74938162840130  Vascular LD 8-4 x 135cm  H74938162860130  Vascular LD 8-6 x 135cm  H74938162920130  Vascular LD 9-3 x 135cm  H74938162940130  Vascular LD 9-4 x 135cm  H74938162960130  Vascular LD 9-6 x 135cm  H74938162120130  Vascular LD 10-3 x 135cm  H74938162140130  Vascular LD 10-4 x 135cm  H74938162160130  Vascular LD 10-6 x 135cm | The Express LD Vascular device is indicated for use in the treatment of peripheral vascular lesions.The Express LD Vascular device consists of a 316 L surgical grade stainless steel balloon expandable stent. The stent is pre-mounted on an over-the-wire (OTW) Stent Delivery System (SDS), equipped with a non-compliant balloon. The SDS balloon catheter has two radiopaque markers embedded in the shaft to aid in the placement of the stent. The SDS is compatible with 0.035 in (0.89 mm) guidewires. The SDS balloon has a nominal inflation pressure of 8 atm (5 mm thru 9 mm product codes) or 10 atm (10 mm product codes) that can be used for initial stent placement and post stent dilatation. The maximum inflation pressure or rated burst pressure (RBP) is 12 atm (1216kPa) for all product codes.  The Express LD Vascular product is available with stent lengths of 17 mm, 25 mm, 27 mm, 37 mm or 57 mm, stent and balloon diameters ranging from 5 mm to 10 mm and balloon lengths from 20 mm to 60 mm. The Express LD Vascular product is offered in two catheter lengths: 75cm and 135cm. See Figure 1 for Express LD Vascular image and Figure 2 for Express LD Vascular schematic. |  |
| 46 | M/s Ferozsons Laboratories Limited, P.O. Ferozsons, Amangarh, Nowshera-KPK, Pakistan | **Legal Manufacturer:** M/s Boston Scientific Corporation  300, Boston Scientific Way, Marlborough, MA 01752 USA  **Manufacturing Site:**  M/ Teleflex Medical  Unit 7 8 & 9, Anncotty Business Park, Anncotty, Co Limerick, Ireland  (FSC Ireland) | Imager II Angiographic Catheters  Class D  Shelf Life: 24Month  M001315250  737193  4F Flush / 4F Contra / 65cm  M001315251 355991  4F Flush / 4F Contra / 65cm (5pk)  M001315260 737209  4F Flush / 4F Contra / 90cm  M001315261 356004  4F Flush / 4F Contra / 90cm (5pk)  M001315270 737216  4F Flush/4F Contra/100cm  M001315271 356011  4F Flush / 4F Contra /100cm (5pk)  M001315090 737032  4F Flush / 4F Pigtail / 65cm  M001315091 355830  4F Flush / 4F Pigtail / 65cm (5pk)  M001315110 737056  4F Flush / 4F Pigtail / 90cm  M001315111 355854  4F Flush / 4F Pigtail / 90cm (5pk)  M001315100 737049  4F Flush / 4F Straight / 65cm  M001315101 355847  4F Flush / 4F Straight / 65cm (5pk)  M001315120 737063  4F Flush / 4F Straight / 90cm  M001315121 355861  4F Flush / 4F Straight / 90cm (5pk)  M001315000 736943  4F Flush / 4F Tennis Racquet / 65cm  M001315001 355748  4F Flush / 4F Tennis Racquet / 65cm (5pk)  M001315010 736950  4F Flush / 4F Tennis Racquet / 90cm  M001315011 355755  4F Flush / 4F Tennis Racquet / 90cm (5pk)  M001315020 736967  4F Flush / 4F Tennis Racquet /100cm  M001315021 355762  4F Flush / 4F Tennis Racquet /100cm (5pk)  M001316040 737346  4F Selective / 4F BARNH /100cm  M001316041 404385  4F Selective / 4F BARNH /100cm (5pk)  M001316130 737438  4F Selective / 4F H1 / 65cm  M001316131 404477  4F Selective / 4F H1 / 65cm (5pk)  M001316210 737513  4F Selective / 4F JB1 / 65cm  M001316211 404552  4F Selective / 4F JB1 / 65cm (5pk)  M001316380 737681  4F Selective /4F SIM4/100cm  M001316381 404729  4F Selective / 4F SIM4 / 100cm (5pk)  M001316020 737322  4F Selective / 4F STR / 65cm  M001316021 404361  4F Selective / 4F STR / 65cm (5pk)  M001316030 737339  4F Selective / 4F STR /100cm  M001316031 404378  4F Selective / 4F STR /100cm (5pk)  M001316060 737360  4F Selective / 4F BERN /100cm  M001316061 404408  4F Selective / 4F BERN /100cm (5pk)  M001316070 737377  4F Selective / 4F BERN / 40cm  M001316071 404415  4F Selective / 4F BERN / 40cm (5pk)  M001316090 737391  4F Selective / 4F BERN / 65cm  M001316091 404439  4F Selective / 4F BERN / 65cm (5pk)  M001316120 737421  4F Selective / 4F WEIN /100cm  M001316121 404460  4F Selective / 4F WEIN / 100cm (5pk)  M001316150 737452  4F Selective / 4F H1 /100cm  M001316151 404491  4F Selective / 4F H1 / 100cm (5pk)  M001316170 737476  4F Selective / 4F H3 /100cm  M001316171 404514  4F Selective / 4F H3 /100cm (5pk)  M001316190 737490 4F Selective/4FH1H/100cm  M001316191 404538  4F Selective / 4F H1H / 100cm (5pk)  M001316200  737506  4F Selective / 4F H3H /100cm  M001316201  404545  4F Selective / 4F H3H / 100cm (5pk)  M001316230  737537  4F Selective / 4F JB1 / 100cm  M001316231  404576  4F Selective / 4F JB1 / 100cm (5pk)  M001316250  737551  4F Selective / 4F JB2 / 100cm  M001316251  404590  4F Selective / 4F JB2 / 100cm (5pk)  M001316270  737575  4F Selective / 4F JB3 / 100cm  M001316271  404613  4F Selective / 4F JB3 / 100cm (5pk)  M001316290  737599  4F Selective / 4F MAN / 100cm  M001316291  404637  4F Selective / 4F MAN / 100cm (5pk)  M001316310  737612  4F Selective / 4F SIM1 / 65cm  M001316311  404651  4F Selective / 4F SIM1 / 65cm (5pk)  M001316330  737636  4F Selective / 4F SIM1 / 100cm  M001316331  404675  4F Selective / 4F SIM1 / 100cm (5pk)  M001316350  737650  4F Selective / 4F SIM2 / 100cm  M001316351  404699  4F Selective / 4F SIM2 / 100cm (5pk)  M001316370  737674  4F Selective / 4F SIM3 / 100cm  M001316371  404712  4F Selective / 4F SIM3 / 100cm (5pk)  M001316390  737698  4F Selective .038 GW/ 4F HN1 / 100cm  M001316391  404736  4F Selective .038 GW/4F HN1 / 100cm (5pk)  M001316400  737704  4F Selective / 4F HN1 / 100cm  M001316401  404743  4F Selective / 4F HN1 / 100cm (5pk)  M001316420  737728  4F Selective / 4F HN2 / 100cm  M001316421  404767  4F Selective / 4F HN2 / 100cm (5pk)  M001316440  737742  4F Selective / 4F HN3 / 100cm  M001316441  404781  4F Selective / 4F HN3 / 100cm (5pk)  M001316460  737766  4F Selective / 4F HN4 / 100cm  M001316461  404804  4F Selective / 4F HN4 / 100cm (5pk)  M001316470  737773  4F Selective .038 GW / 4F HN5 / 100cm  M001316471  404811  4F Selective .038 GW / 4F HN5 / 100cm (5pk)  M001316480  737780  4F Selective / 4F HN5 / 100cm  M001316481  404828  4F Selective / 4F HN5 / 100cm (5pk)  M001316490  737797  4F Selective / 4F CK /100cm  M001316491  404835  4F Selective / 4F CK / 100cm (5pk)  M001316500  737803  4F Selective / 4F GEN / 100cm  M001316501  404842  4F Selective / 4F GEN / 100cm (5pk)  M001316510  737810  4F Selective / 4F GEN / 2S /100cm  M001316511  404859  4F Selective / 4F GEN / 2S / 100cm (5pk)  M001316530  737834  5F Flush .035 GW / 4F CHGB / 65cm  M001316531  404873  5F Flush .035 GW / 4F CHGB / 65cm (5pk)  M001316550  737858  5F Flush .035 GW / 4F CHGC / 65cm  M001316551  404897  5F Flush .035 GW / 4F CHGC / 65cm (5pk)  M001316570  737872  5F Flush .035 GW / 4F CHG2.5 / 65cm  M001316571  404910  5F Flush .035 GW / 4F CHG2.5 / 65cm (5pk)  M001316580  737889  5F Flush .035 GW / 4F Contra 2 / 65cm  M001316581  404927  5F Flush .035 GW / 4F Contra 2 / 65cm (5pk)  M001316610  737919  5F Flush .035 GW / 4F DUCK / 65cm  M001316611  404958  5F Flush .035 GW / 4F DUCK / 65cm (5pk)  M001316630  737933  5F Flush .035 GW / 4F C1 / 65cm  M001316631  404972  5F Flush .035 GW /4FC1 / 65cm (5pk)  M001316650  737957  5F Flush .035 GW / 4F C1/ 2S / 65cm  M001316651  404996  5F Flush .035 GW/4F C1/2S/65cm(5pk)  M001316670  737971  5F Flush .035 GW / 4F C2/65cm  M001316671  405016  5F Flush .035 GW/4F C2 / 65cm (5pk)  M001316690  737995  5F Flush .035 GW/4F C2/ 2S / 65cm  M001316691  405030  5F Flush .035 GW/4F C2/ 2S / 65cm (5pk)  M001316710  738015  5F Flush .035 GW / 4F C3 / 65cm  M001316711  405054  5F Flush .035 GW / 4F C3 / 65cm (5pk)  M001316730  738039  5F Flush .035 GW/4F C3 / 2S / 65cm  M001316731  405078  5F Flush .035 GW/4F C3 / 2S / 65cm (5pk)  M001316740  738046  5F Flush .035 GW/4F VAN / 2S / 65cm  M001316741  405085  5F Flush .035 GW/4F VAN / 2S / 65cm (5pk)  M001316750  738053  5F Flush .035 GW/4F TRAIN / 65cm  M001316751  405092  5F Flush .035 GW/4F TRAIN /65cm(5pk)  M001316770  738077  5F Flush .035 GW / 4F MIK/65cm  M001316771  405115  5F Flush .035 GW/4F MIK / 65cm (5pk)  M001316790  738091  5F Flush .035 GW/4F HK1 / 65cm  M001316791  405139  5F Flush .035 GW/4F HK1 / 65cm (5pk)  M001316810  738114  5F Flush .035 GW/4F SHK0.8 / 65cm  M001316811  405153  5F Flush .035 GW/4F SHK0.8 / 65cm (5pk)  M001316830  738138  5F Flush .035 GW7 4F SHK1.0/65cm  M001316831  405177  5F Flush .035 GW/4F SHK1.0/ 65cm (5pk)  M001316850  738152  5F Flush .035 GW/4F RC1 / 65cm  M001316851  405191  5F Flush .035 GW/4F RC1 / 65cm (5pk)  M001316870  738176  5F Flush .035 GW/4F RC2 / 65cm  M001316871  405214  5F Flush .035 GW/4F RC2 / 65cm (5pk)  M001316890  738190  5F Flush .035 GW/4F RDC / 65cm  M001316891  405238  5F Flush .035 GW/4F RDC / 65cm (5pk)  M001316910  738213  5F Flush .035 GW/4F RDC / 2S / 65cm  M001316911  405252  5F Flush .035 GW/4F RDC / 2S / 65cm (5pk)  M001316000  737308  5F Flush .035 GW/4F LEV / 65cm  M001316001  404347  5F Flush .035 GW/4F LEV / 65cm (5pk)  M001316010  737315  5F Flush .035 GW/4F LEV / 100cm  M001316011  404354  5F Flush .035 GW/4F LEV / 100cm (5pk)  M001316050  737353  5F Flush .035 GW/4F LEV2 / 65cm  M001316051  404392  5F Flush .035 GW/4F LEV2 / 65cm (5pk)  M001316080  737384  5F Flush .035 GW/4F LEV2/100cm  M001316081  404422  5F Flush .035 GW/4F LEV2/100cm (5pk)  M001316300  737605  5F Flush .035 GW/4F OSB/ 100cm  M001316301  404644  5F Flush .035 GW/4F OSB/ 100cm (5pk)  M001316320  737629  5F Flush .035 GW/4F OSB / 65cm  M001316321  404668  5F Flush .035 GW/4F OSB / 65cm (5pk)  M001315280  737223  5F Flush .035 GW/5F Contra / 65cm  M001315281  356028  5F Flush .035 GW/5F Contra / 65cm (5pk)  M001315290  737230  5F Flush .035 GW/5F Contra / 90cm  M001315291  356035  5F Flush .035 GW/5F Contra / 90cm (5pk)  M001315300  737247  5F Flush .035 GW / 5F Contra / 100cm  M001315301  356042  5F Flush .035 GW/5F Contra / 100cm (5pk)  M001315190  737131  5F Flush .035 GW/5F Pigtail / 65cm  M001315191  355939  5F Flush .035 GW/5F Pigtail / 65cm (5pk)  M001315210  737155  5F Flush .035 GW/5FPigtail / 90cm  M001315211  355953  5F Flush .035 GW /5F Pigtail/90cm (5pk)  M001315230  737179  5F Flush .035 GW /5F Pigtail/100cm  M001315231  355977  5F Flush .035 GW / 5F Pigtail/100cm (5pk)  M001315200  737148  5F Flush .035 GW /5F Straight /65cm  M001315201  355946  5F Flush .035 GW / 5F Straight /65cm (5pk)  M001315220  737162  5F Flush .035 GW / 5F Straight /90cm  M001315221  355960  5F Flush .035 GW / 5F Straight /90cm (5pk)  M001315240  737186  5F Flush .035 GW / 5F Straight /100cm  M001315241  355984  5F Flush .035 GW / 5F Straight /100cm (5pk)  M001315030  736974  5F Flush .035 GW /5F Tennis Racquet /65cm  M001315031  355779  5F Flush .035 GW / 5F Tennis Racquet /65cm (5pk)  M001315040  736981  5F Flush .035 GW /5F Tennis Racquet /90cm  M001315041  355786  5F Flush .035 GW /5F Tennis Racquet /90cm (5pk)  M001315050  736998  5F Flush .035 GW /5F Tennis Racquet /100cm  M001315051  355793  5F Flush .035 GW / 5F Tennis Racquet /100cm (5pk)  M001315310  737254  5F Flush .038 GW /5F Contra /65cm  M001315311  356059  5F Flush .038 GW / 5F Contra /65cm (5pk)  M001315320  737261  5F Flush .038 GW /5F Contra /90cm  M001315321  356066  5F Flush .038 GW /5F Contra /90cm (5pk)  M001315330  737278  5F Flush .038 GW /5F Contra /100cm  M001315331  356073  5F Flush .038 GW / 5F Contra /100cm (5pk)  M001315130  737070  5F Flush .038 GW / 5F Pigtail/ 65cm  M001315131  355878  5F Flush .038 GW / 5F Pigtail/ 65cm (5pk)  M001315140  737087  5F Flush .038 GW /5F Pigtail/90cm  M001315141  355885  5F Flush .038 GW / 5F Pigtail/90cm (5pk)  M001315150  737094  5F Flush .038 GW / 5F Pigtail/100cm  M001315151  355892  5F Flush .038 GW / 5F Pigtail/100cm (5pk)  M001315160  737100  5F Flush .038 GW / 5F Straight /65cm  M001315161  355908  5F Flush .038 GW / 5F Straight / 65cm (5pk)  M001315170  737117  5F Flush .038 GW / 5F Straight / 90cm  M001315171  355915  5F Flush .038 GW / 5F Straight / 90cm (5pk)  M001315180  737124  5F Flush .038 GW / 5F Straight /100cm  M001315181  355922  5F Flush .038 GW / 5F Straight /100cm (5pk)  M001315060  737001  5F Flush .038 GW / 5F Tennis Racquet /65cm  M001315061  355809  5F Flush .038 GW /5F Tennis Racquet /65cm (5pk)  M001315070  737018  5F Flush .038 GW /5F Tennis Racquet /90cm  M001315071  355816  5F Flush .038 GW /5F Tennis Racquet /90cm (5pk)  M001315080  737025  5F Flush .038 GW /5F Tennis Racquet /100cm  M001315081  355823  5F Flush .038 GW / 5F Tennis Racquet /100cm (5pk)  M001314630736653  5F Selective .035 GW /5F C1/65cm  M001314631 355458  5F Selective .035 GW /5F C1/65cm (5pk)  M001314650 736677  5F Selective .035 GW /5F C1/2S /65cm  M001314651 355472  5F Selective .035 GW /5F C1 /2S /65cm (5pk)  M001314670 736691  5F Selective .035 GW /5F C2/65cm  M001314671 355496  5F Selective .035 GW /5F C2/65cm (5pk)  M001314690 736714  5F Selective .035 GW /5F C2/2S /65cm  M001314691 355519  5F Selective .035 GW /5F C2/2S /65cm (5pk)  M001314710 736738  5F Selective .035 GW /5F C3/65cm  M001314711 355533  5F Selective .035 GW /5F C3/65cm (5pk)  M001314730 736752  5F Selective .035 GW / 5F C3 / 2S / 65cm  M001314731 355557  5F Selective .035 GW / 5F C3 / 2S /65cm (5pk)  M001314570 736592  5F Selective .035 GW /5F CHG2.5/65cm  M001314571 355397  5F Selective .035 GW / 5F CHG2.5/65cm (5pk)  M001314530 736554  5F Selective .035 GW /5F CHGB /65cm  M001314531 355359  5F Selective .035 GW / 5F CHGB / 65cm (5pk)  M001314550 736578  5F Selective .035 GW / 5F CHGC / 65cm  M001314551 355373  5F Selective .035 GW / 5F CHGC /65cm (5pk)  M001314590 736615  5F Selective .035 GW / 5F Contra 2 / 65cm  M001314591 355410  5F Selective .035 GW / 5F Contra 2 / 65cm (5pk)  M001314610 736639  5F Selective .035 GW /5F Duck /65cm  M001314611 355434  5F Selective .035 GW / 5F Duck / 65cm (5pk)  M001314790 736813  5F Selective .035 GW / 5F HK1.0 /65cm  M001314791 355618  5F Selective .035 GW / 5F HK1.0 /65cm (5pk)  M001314400 736424  5F Selective .035 GW /5F HN1 /100cm  M001314401 355229  5F Selective .035 GW / 5F HN1/100cm (5pk)  M001314770 736790  5F Selective .035 GW /5F MIK /65cm  M001314771 355595  5F Selective .035 GW / 5F MIK /65cm (5pk)  M001314850 736875  5F Selective .035 GW /5F RC1/65cm  M001314851 355670  5F.Selective .035 .GW /5F RC1 /65cm (5pk)  M001314870 736899  5F Selective .035 GW /5F RC2 / 65cm  M001314871 355694  5F Selective .035 GW /5F RC2/65cm (5pk)  M001314890 736912  5F Selective .035 GW /5F ROC /65cm  M001314891 355717  5F Selective .035 GW /5F ROC /65cm (5pk)  M001314910 736936  5F Selective .035 GW /5F ROC /2S /65cm  M001314911 355731  5F Selective .035 GW /5F ROC /2S /65cm (5pk)  M001314810 736837  5F Selective .035 GW /SF SHK 0.8/65cm  M001314811 355632  5F Selective .035 GW / 5F SHK 0.8 / 65cm (5pk)  M001314830 736851  5F Selective .035 GW / 5F SHK 1.0 /65cm  M001314831 355656  5F Selective .035 GW / 5F SHK 1.0 /65cm (5pk)  M001314020 736042  5F Selective .035 GW / 5F Straight / 65cm  M001314021 354840  5F Selective .035 GW /5F Straight /65cm (5pk)  M001314030 736059  5F Selective .035 GW / 5F Straight / 100cm  M001314031 354857  5F Selective .035 GW / 5F Straight / 100cm (5pk)  M001314070 736097  5F Selective .035 GW /5F Bern / 40cm  M001314071 354895  5F Selective .035 GW /5F Bern /40cm (5pk)  M001314090 736110  5F Selective .035 GW /5F Bern /65cm  M001314091 354918  5F Selective .035 GW /5F Bern /65cm (5pk)  M001314060 736080  5F Selective .035 GW / SF Bern /100cm  M001314061 354888  5F Selective .035 GW / 5F Bern /100cm (5pk)  M001314490 736516  5F Selective .035 GW / 5F CK /100cm  M001314491 355311  5F Selective .035 GW / 5F CK / 100cm (5pk)  M001314500 736523  5F Selective .035 GW /5F GEN /100cm  M001314501 355328  5F Selective .035 GW / 5F GEN /100cm (5pk)  M001314510 736530  5F Selective .035 GW /5F GEN /2S /100cm  M001314511 355335  5F Selective .035 GW / 5F GEN / 2S /100cm (5pk)  M001314150 736172  5F Selective .035 GW /5F H1 / 100cm  M001314151 354970  5F Selective .035 GW /5F H1 /100cm (5pk)  M001314190 736219  5F Selective .035 GW /5F H1H /100cm  M001314191 355014  5F Selective .035 GW / 5F H1H / 100cm (5pk)  M001314170 736196  5F Selective .035 GW / 5F H3 /100cm  M001314171 354994  5F Selective .035 GW / 5F H3 /100cm (5pk)  M001314200 736226  5F Selective .035 GW / 5F H3H /100cm  M001314201 355021  5F Selective .035 GW / 5F H3H /100cm (5pk)  M001314420 736448  5F Selective .035 GW / 5F HN2 /100cm  M001314421 355243  5F Selective .035 GW /5F HN2/100cm (5pk)  M001314440 736462  5F Selective .035 GW /5F HN3/100cm  M001314441 355267  5F Selective .035 GW /5F HN3/100cm (5pk)  M001314460 736486  5F Selective .035 GW / 5F HN4 /100cm  M001314461 355281  5F Selective .035 GW / 5F HN4 /100cm (5pk)  M001314480 736509  5F Selective .035 GW /5F HN5/100cm  M001314481 355304  5F Selective .035 GW / 5F HN5 /100cm (5pk)  M001314230 736257  5F Selective .035 GW /5F JB1/100cm  M001314231 355052  5F Selective .035 GW /5F JB1 /100cm (5pk)  M001314250 736271  5F Selective .035 GW /5F JB2/100cm  M001314251 355076  5F Selective .035 GW /5F JB2/100cm (5pk)  M001314270 736295  5F Selective .035 GW /5F JB3/100cm  M001314271 355090  5F Selective .035 GW /5F JB3/100cm (5pk)  M001314290 736318  5F Selective .035 GW /5F MAN /100cm  M001314291 355113  5F Selective .035 GW / 5F MAN /100cm (5pk)  M001314310 736332  5F Selective .035 GW /5F SIM1/65cm  M001314311 355137  5F Selective .035 GW /5F SIM1/65cm (5pk)  M001314330 736356  5F Selective .035 GW /5F SIM1/100cm  M001314331 355151  5F Selective .035 GW /5F SIM1 /100cm (5pk)  M001314350 736370  5F Selective .035 GW /5F SIM2/100cm  M001314351 355175  5F Selective .035 GW /5F SIM2/100cm (5pk)  M001314370 736394  5F Selective .035 GW /5F SIM3/100cm  M001314371 355199  5F Selective .035 GW / 5F SIM3 /100cm (5pk)  M001314120 736141  5F Selective .035 GW /5F WEIN /100cm  M001314121 354949  5F Selective .035 GW /5F WEIN /100cm (5pk)  M001314620 736646  5F Selective .038 GW /5F C1/65cm  M001314621 355441  5F Selective .038 GW /5F C1 /65cm (5pk)  M001314640 736660  5F Selective .038 GW /5F C1/ 2S /65cm  M001314641 355465  5F Selective .038 GW /5F C1/2S /65cm (5pk)  M001314660 736684  5F Selective .038 GW / 5F C2 / 65cm  M001314661 355489  5F Selective .038 GW /5F C2/65cm (5pk)  M001314680 736707  5F Selective .038 GW / 5F C2 / 2S / 65cm  M001314681 355502  5F Selective .038 GW /5F C2 /2S /65cm (5pk)  M001314700 736721  5F Selective .038 GW /5F C3/65cm  M001314701 355526  5F Selective .038 GW /5F C3/65cm (5pk)  M001314720 736745  5F Selective .038 GW /5F C3/2S /65cm  M001314721 355540  5F Selective .038 GW /5F C3/2S /65cm (5pk)  M001314560 736585  5F Selective .038 GW /5F CHG2.5/65cm  M001314561 355380  5F Selective .038 GW /5F CHG2.5/65cm (5pk)  M001314520 736547  5F Selective .038 GW /5F CHGB /65cm  M001314521 355342  5F Selective .038 GW / 5F CHGB / 65cm (5pk)  M001314540 736561  5F Selective .038 GW /5F CHGC /65cm  M001314541 355366  5F Selective .038 GW /5F CHGC /65cm (5pk)  M001314580 736608  5F Selective .038 GW / 5F Contra 2 / 65cm  M001314581 355403  5F Selective .038 GW / 5F Contra 2 / 65cm (5pk)  M001314600 736622  5F Selective .038 GW /5F Duck /65cm  M001314601 355427  5F Selective .038 GW / 5F Duck /65cm (5pk)  M001314780 736806  5F Selective .038 GW / 5F HK1.0 /65cm  M001314781 355601  5F Selective .038 GW /5F HK1.0 / 65cm (5pk)  M001314760 736783  5F Selective .038 GW /5F MIK /65cm  M001314761 355588  5F Selective .038 GW / 5F MIK / 65cm (5pk)  M001314840 736868  5F Selective .038 GW /5F RC1 /65cm  M001314841 355663  5F Selective .038 GW /5F RC1 /65cm (5pk)  M001314860 736882  5F Selective .038 GW /5F RC2/65cm  M001314861 355687  5F Selective .038 GW / 5F RC2 /65cm (5pk)  M001314880 736905  5F Selective .038 GW /5F ROC /65cm  M001314881 355700  5F Selective .038 GW / 5F ROC /65cm (5pk)  M001314900 736929  5F Selective .038 GW / 5F RDC /2S / 65cm  M001314901 355724  5F Selective .038 GW / 5F ROC /2S /65cm (5pk)  M001314800 736820  5F Selective .038 GW / 5F SHK 0.8 / 65cm  M001314801 355625  5F Selective .038 GW /5F SHK 0.8/65cm (5pk)  M001314820 736844  5F Selective .038 GW /5F SHK 1.0 /65cm  M001314821 355649  5F Selective .038 GW /5F SHK 1.0 /65cm (5pk)  M001314000 736028  5F Selective .038 GW /5F Straight /65cm  M001314001 354826  5F Selective .038.GW / 5F Straight / 65cm (5pk)  M001314010 736035  5F Selective .038 GW / 5F Straight /100cm  M001314011 354833  5F Selective .038 GW / 5F Straight /100cm (5pk)  M001314750 736776  5F Selective .038 GW / 5F Train / 65cm  M001314751 355571  5F Selective .038 GW / 5F Train / 65cm (5pk)  M001314740 736769  5F Selective .038 GW / 5F VAN /2S / 65cm  M001314741 355564  5F Selective .038 GW /5F VAN /2S / 65cm (5pk)  M001315360 737285  5F Selective .038 GW / 5F Yashiro / 65cm  M001315361 356080  5F Selective .038 GW / 5F Yashiro / 65cm (5pk)  M001315370 737292  5F Selective .038 GW / 5F Yashiro / 100cm  M001315371 356097  5F Selective .038 GW / 5F Yashiro / 100cm (5pk)  M001314080 736103  5F Selective .038 GW / 5F Bern / 40cm  M001314081 354901  5F Selective .038 GW / 5F Bern / 40cm (5pk)  M001314100 736127  5F Selective .038 GW / 5F Bern / 65cm  M001314101 354925  5F Selective .038 GW / 5F Bern / 65cm (5pk)  M001314050 736073  5F Selective .038 GW / 5F Bern / 100cm  M001314051 354871  5F Selective .038 GW / 5F Bern /100cm (5pk)  M001314040 736066  5F Selective .038 GW / 5F BARNH / 100cm  M001314041 354864  5F Selective .038 GW / 5F BARNH /100cm (5pk)  M001314130 736158  5F Selective .038 GW / 5F H1 /65cm  M001314131 354956  5F Selective .038 GW / 5F H1 /65cm (5pk)  M001314140 736165  5F Selective .038 GW / 5F H1 /100cm  M001314141 354963  5F Selective .038 GW /5F H1 /100cm (5pk)  M001314180 736202  5F Selective .038 GW / 5F H1H / 100cm  M001314181 355007  5F Selective .038 GW /5F H1H /100cm (5pk)  M001314160 736189  5F Selective .038 GW /5F H3/100cm  M001314161 354987  5F Selective .038 GW / 5F H3 /100cm (5pk)  M001314390 736417  5F Selective .038 GW /5F HN1/ 100cm  M001314391 355212  5F Selective .038 GW / 5F HN1 / 100cm (5pk)  M001314410 736431  5F Selective .038 GW / 5F HN2 / 100cm  M001314411 355236  5F Selective .038 GW /5F HN2 / 100cm (5pk)  M001314430 736455  5F Selective .038 GW / 5F HN3 /100cm  M001314431 355250  5F Selective .038 GW /5F HN3/100cm (5pk)  M001314450 736479  5F Selective .038 GW /5F HN4/100cm  M001314451 355274  5F Selective .038 GW / 5F HN4/100cm (5pk)  M001314470 736493  5F Selective .038 GW /5F HN5/100cm  M001314471 355298  5F Selective .038 GW /5F HN5/100cm (5pk)  M001314210 736233  5F Selective .038 GW / 5F JB1/65cm  M001314211 355038  5F Selective .038 GW /5F JB1 / 65cm (5pk)  M001314220 736240  5F Selective .038 GW /5F JB1/100cm  M001314221 355045  5F Selective .038 GW /5F JB1/100cm (5pk)  M001314240 736264  5F Selective .038 GW /5F JB2/100cm  M001314241 355069  5F Selective .038 GW /5F JB2 / 100cm (5pk)  M001314260 736288  5F Selective .038 GW /5F JB3 / 100cm  M001314261 355083  5F Selective .038 GW / 5F JB3 / 100cm (5pk)  M001314280 736301  5F Selective .038 GW / 5F MAN / 100cm  M001314281 355106  5F Selective .038 GW /5F MAN /100cm (5pk)  M001314300 736325  5F Selective .038 GW /5F SIM1/65cm  M001314301 355120  5F Selective .038 GW /5F SIM1/65cm (5pk)  M001314320 736349  5F Selective .038 GW /5F SIM1/ 100cm  M001314321 355144  5F Selective .038 GW /5F SIM1/100cm (5pk)  M001314340 736363  5F Selective .038'GW / 5F 81M2 /100cm  M001314341 355168  5F Selective .038 GW /5F 81M2 /100cm (5pk)  M001314360 736387  5F Selective .038 GW /5F SIM3/100cm  M001314361 355182  5F Selective .038 GW /5F SIM3/100cm (5pk)  M001314380 736400  5F Selective .038 GW /5F SIM4/100cm  M001314381 355205  5F Selective .038 GW /5F SIM4/100cm (5pk)  M001314110 736134  5F Selective .038 GW /5F WEIN /100cm  M001314111 354932  5F Selective .038 GW / 5F WEIN /100cm (5pk) | The Imager™ II angiographic catheters are sterile, single-use intravascular catheters that are used for diagnostic angiography, and are offered in a variety of flush and selective shapes.  Imager II catheters are designed to provide a pathway for delivering contrast media to selected sites in the vascular system. Imager II 5F Selective catheters may also be used to deliver Interlock™ 0.035” detachable coils to specified sites in the peripheral vasculature. |  |
| 47 | M/s Ferozsons Laboratories Limited, P.O. Ferozsons, Amangarh, Nowshera-KPK, Pakistan | **Legal Manufacturer:** M/s Boston Scientific Corporation  300, Boston Scientific Way, Marlborough, MA 01752 USA  **Manufacturing Site:**  M/s Boston Scientific Limited  Ballybrit Business Park Galway Ireland  (FSC Ireland) | Wallgraft TM Over the Wire Endoprosthesis with Unistep Plus Delivery System  Class C  Shelf Life: 36Month  H965520010  WALLGRAFT PKG/6X30 9FR COMML  H965520020  WALLGRAFT PKG/6X50 9FR COMML  H965520030  WALLGRAFT PKG/6X70 9FR COMML  H965520050  WALLGRAFT PKG/7X30 9FR COMML  H965520060  WALLGRAFT PKG/7X50 9FR COMML  H965520070  WALLGRAFT PKG/7X70 9FR COMML  H965520090  WALLGRAFT PKG/8X30 9FR COMML  H965520100  WALLGRAFT PKG/8X50 9FR COMML  H965520110  WALLGRAFT PKG/8X70 9FR COMML  H965520130  WALLGRAFT PKG/9X30 10FR COMML  H965520140  WALLGRAFT PKG/9X50 10FR COMML  H965520150  WALLGRAFT PKG/9X70 10FR COMML  H965520170  WALLGRAFT PKG/10X30 10FR COMML  H965520180  WALLGRAFT PKG/10X50 10FR COMML  H965520190  WALLGRAFT PKG/10X70 10FR COMML  H965520210  WALLGRAFT PKG/12X30 11FR COMML  H965520220  WALLGRAFT PKG/12X50 11FR COMML  H965520230  WALLGRAFT PKG/12X70 11FR COMML  H965520250  WALLGRAFT PKG/6X20 9FR COMML  H965520260  WALLGRAFT PKG/7X20 9FR COMML  H965520270  WALLGRAFT PKG/8X20 9FR COMML  H965520280  WALLGRAFT PKG/9X20 10FR COMML  H965520290  WALLGRAFT PKG/10X20 10FR COMML  H965520320  WALLGRAFT PKG/14X50 12FR COMML  H965520330  WALLGRAFT PKG/14X70 12FR COMML | The WALLGRAFT Endoprosthesis is indicated for use for treatment of:  • Complex iliac artery stenoses (lesion ≥ 3 cm in length or a calcified or eccentric lesion < 3 cm in length) and iliac occlusions in vessels 7-12 mm in diameter.  • Exclusion of atherosclerotic arterial aneurysms and traumatic vessel disruptions in peripheral vessels 5-12 mm in diameter.The WALLGRAFT Endoprosthesis with Unistep Plus Delivery System is comprised of two components: The implantable endoprosthesis (stent-graft) and the delivery system. The stent-graft is pre-mounted onto the delivery system. |  |
| **Decision:** The Board approved the products at serial no. 38-47 for import in the name of M/s Ferozsons Laboratories Limited, Nowshera, KPK. | | | | | |
| 48 | M/s Roche Pakistan Limited, 37-C, Bi-6, P.E.C.H.S, Karachi  (ELI-00009) | **Legal Manufacturer/ Manufacturing Site:** M/s Roche Diagnostics GmbH,  Sandhofer Str.116,  68305 Mannheim, Germany  (FSC Germany) | Elecsys HBsAg II. Kit  Class D  Shelf Life:  (i) 22Month  (ii) 12Month  (iii) 18Month  (iv) 12Month  (v) 12Month  (i) HBsAg Confirmatory Test  Code: 11820648  (ii) HBsAgll  Size: 100  Code: 06487787  (iii) PreciControlHBsAgll  Size: 16x1.3mL  Code: 04687876  (iv)ElecsysHBsAgll  Size: 200  Code: 07914482190  (v)ElecsysHBsAgll  Size: 300  Code: 07251076190 | Immunoassay for the in vitro confirmation of the presence of Hepatitis B surface antigen (HBsAg) in human serum & plasma samples. |  |
| 49 | M/s Roche Pakistan Limited, 37-C, Bi-6, P.E.C.H.S, Karachi  (ELI-00009) | **Legal Manufacturer/ Manufacturing Site:** M/s Roche Diagnostics GmbH,  Sandhofer Str.116,  68305 Mannheim, Germany  (FSC Germany) | Class D  Shelf Life:  (i) 18Month  (ii) 15Month  (iii) 15Month  (iv) 18Month  (v) 15Month  (i) PreciControl HIV Gen ll  Size: 6x2.0mL  Code: 06924107190  (ii) HIVCombi PT  Size: 200  Code: 07914504190  (iii) HIV Combi PT  Size: 100  Code: 05390095  (iv) PreciControl HIV  Size: 6x2.0mL  Code: 05162645  (v) Elecsys HIV Duo  Size: 300  Code: 07229542190 |  |  |
| 50 | M/s Roche Pakistan Limited, 37-C, Bi-6, P.E.C.H.S, Karachi  (ELI-00009) | **Legal Manufacturer/ Manufacturing Site:** M/s Roche Diagnostics GmbH,  Sandhofer Str.116,  68305 Mannheim, Germany  (FSC Germany) | Class D  Shelf Life:  (i) 10Month  (ii) 10Month  (iii) 18Month  (iv) 10Month  (i) Anti-HCV ll  Size: 100  Code: 06368921  (ii) Anti-HCV ll  Size: 200  Code: 06427405  (iii) PreciControl Anti-HCV  Size: 16x1.3mL  Code: 03290379  (iv) Elecsys Anti-HCV ll  Size: 300  Code: 07026889190 | In-vitro diagnostics test for the qualitative detection of antibodies to Hepatitis C Virus (HCV) in human serum & plasma |  |
| **Decision:** The Board approved the products at serial no. 48-50 for import in the name of M/s Roche Pakistan Limited, Karachi. | | | | | |
| 51 | M/s Digital Imaging Systems, 121 Habitat Apartments, Shadman II, Ghaus-ul-Azam Road, Lahore  (ELI-00094) | **Legal Manufacture:** M/s Abbott Vascular 3200 Lakeside Drive, Santa Clara, CA 95054, USA **Manufacturing Sites:** (1) M/s Abbott Vascular Cashel Road, Clonmel, Tipperary, Ireland (2) M/s Abbott Vascular 26531, YNEZ Road, Temecula CA 92591, USA (3) M/s Abbott Vascular 52 Calle 3, B31 Coyol Free Zone, El Coyol, Aljuela, Costa Rica (4) M/s Abbott Vascular Road No.2, KM 58, Cruce Davila, Barceloneta, PR 00617, USA  (FSC USFDA) | Hi-Torque Whisper Guide Wire  Sizes and codes as per submitted Free Sale Certificate.  Class D  Shelf Life: 2Year | PTCA Guide Wire |  |
| 52 | M/s Digital Imaging Systems, 121 Habitat Apartments, Shadman II, Ghaus-ul-Azam Road, Lahore.  (ELI-00094) | **Legal Manufacture:** M/s Abbott Vascular 3200 Lakeside Drive, Santa Clara, CA 95054, USA **Manufacturing Sites:** (1) M/s Abbott Vascular Cashel Road, Clonmel, Tipperary, Ireland (2) M/s Abbott Vascular 26531, YNEZ Road, Temecula CA 92591, USA (3) M/s Abbott Vascular 52 Calle 3, B31 Coyol Free Zone, El Coyol, Aljuela, Costa Rica (4) M/s Abbott Vascular Road No.2, KM 58, Cruce Davila, Barceloneta, PR 00617, USA  (FSC USFDA) | Hi-Torque Balance Middle Weight Guide Wire  Sizes and codes as per submitted Free Sale Certificate.  Class D  Shelf Life: 2Year | PTCA Guide Wire |  |
| 53 | M/s Digital Imaging Systems, 121 Habitat Apartments, Shadman II, Ghaus-ul-Azam Road, Lahore  (ELI-00094) | **Legal Manufacture:** M/s Abbott Vascular 3200 Lakeside Drive, Santa Clara, CA 95054, USA **Manufacturing Sites:** (1) M/s Abbott Vascular Cashel Road, Clonmel, Tipperary, Ireland (2) M/s Abbott Vascular 26531, YNEZ Road, Temecula CA 92591, USA (3) M/s Abbott Vascular 52 Calle 3, B31 Coyol Free Zone, El Coyol, Aljuela, Costa Rica (4) M/s Abbott Vascular Road No.2, KM 58, Cruce Davila, Barceloneta, PR 00617, USA  (FSC USFDA) | Hi-Torque Pilot Guide Wire  Sizes and codes as per submitted Free Sale Certificate.  Class D  Shelf Life: 2Year | PTCA Guide Wire |  |
| **Decision:** The Board approved the products at serial no. 51-53 for import in the name of M/s Digital Imaging Systems, Lahore. | | | | | |
| 54 | M/s Intek Corporation, Office No. 30, Al Amin Plaza, The Mall, Rawalpindi  (ELI-00034) | **Legal Manufacture/ Distributor:** M/s Terumo Medical Corporation 2101 Cottontail Lane Somerset, New Jersey 08873 USA  **Manufacturer:** M/s Terumo Puerto Rico, LLC Caguas West Industrial Park Lot 21-B Street  Caguas, Puerto Rico 00725  USA  M/s St. Jude Medical, 14901 Deveau Pl. Minnetonka, MN 55345, USA  (FSC USFDA valid till 17-04-2019) | Angio-Seal VIP Vascular Closure Device  Class D  Shelf Life: 1 Year  AngioSeal VIP 610132 6Fr  AngioSeal VIP 610133 8Fr | The Angio-Seal  device is composed of an absorbable collagen sponge  and a specially designed absorbable polymer anchor  that are connected by an absorbable self-tightening  suture (STS). The device seals and sandwiches the  arteriotomy between its two primary members, the anchor  and collagen sponge. |  |
| 55 | M/s Intek Corporation, Office No. 30, Al Amin Plaza, The Mall, Rawalpindi  (ELI-00034) | **Legal Manufacture/ Distributor:** M/s Microvention Europe: 30 bis rue du Vieil Abreuvior, 78100 Saint Germain en Laye, France  **Design & Development/ Production Sites:** M/s MicroVention, Inc.1311 Valencia Avenue Tustin, California, 92780 USA  **Production Sites:**  M/s MicroVention Costa Rica S.R.L  Edificio B33  Zona Franca Coyol  Alajuela, Costa Rica  (FSC France  Issue Date 02-12-2016) | LVIS Intraluminal Support Device  Class D  Shelf Life: 3 Years  212517-CAS 3.5 x 17  212525-CAS 3.5 x 22  213015-CAS 4.5 x 18  213025-CAS 4.5 x 23  213041-CAS 4.5 x 32  214035-CAS 5.5 x 30  214049-CAS 5.5 x 33 | The LVIS Intraluminal Support Device is intended for use with embolic coils for the treatment of intracranial neurovascular diseases. The LVIS is also intended to be used in the peripheral vasculature. |  |
| 56 | M/s Intek Corporation, Office No. 30, Al Amin Plaza, The Mall, Rawalpindi  (ELI-00034) | **Legal Manufacture/ Distributor:** M/s Microvention Europe:  30 bis rue du Vieil Abreuvior, 78100 Saint Germain en Laye, France  **Design & Development/ Production Sites:** M/s MicroVention, Inc.  1311 Valencia Avenue  Tustin, California, 92780 USA  **Production Sites:**  M/MicroVention, Inc.  35 Enterprise  Aliso Viejo, CA 92656 USA  (FSC France  Issue Date 25-01-2016) | ERICTM Retrieval Device  Class D  Shelf Life: 5Years  Codes Spheres Sizes  ER173015 3 3 x 15  ER173020 4 3 x 20  ER174024 4 4 x 24  ER174030 5 4 x 30  ER176044 5 6 x 44 | The ERIC Retrieval Device is a mechanical thrombectomy device designed to restore blood flow be effectively removing clots from occlusive vasculature in patients suffering from acute ischemic strok |  |
| 57 | M/s Intek Corporation, Office No. 30, Al Amin Plaza, The Mall, Rawalpindi  (ELI-00034) | **Legal Manufacture/ Distributor:** M/s MicroVention, Inc.  1311 Valencia Avenue  Tustin, California, 92780 USA  **Manufacturer:** M/s Ashitaka Factory of Terumo Corporation  150, Maimaigi-cho  Fujinomiya-shi,  Shizuoka, 418-0015 Japan  (FSC USFDA valid till 31-08-2019) | CHAPERON Guiding Catheter System  Class D  Shelf Life: 3Years  Codes Shape  **5Fr Guiding Catheter System**.  GC595ST STR  GC595M2 MP2  GC595STJB STR/JB2  GC595STVT STR/VTR  GC595STSI STR/SIM  GC595M2JB MP2/JB2  GC595M2VT MP2/VTR  GC595M2SI MP2/SIM  **6Fr Guiding Catheter System.**  GC695ST STR  GC695M2 MP2  GC595STJB STR/JB2  GC595STVT STR/VTR  GC595STSI STR/SIM  GC595M2JB MP2/JB2  GC595M2VT MP2/VTR  GC595M2SI MP2/SIM  GC695BUJB BUR/JB2  GC695BUVT BUR/VTR | The Chaperon Guiding Catheter is a two-catheter system comprised of the outer catheter and the inner catheter. Used to access and deliver stent, balloon, microcatheter and other devices to Neuro arteries. |  |
| **Decision:** The Board approved the products at serial no. 54-57 for import in the name of M/s Intek Corporation, Rawalpindi. | | | | | |

**Item No. XIII:- RENEWAL OF REGISTRATION OF MEDICAL DEVICES FOR IMPORT ALREADY REGISTERED AS DRUG.**

Following firms has applied for the renewal of registration of medical devices for import on prescribed form 7-A:-

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S. No** | **Name and Addresses of Establishment** | **Manufacture Details** | **Name of Medical Device with sizes/Class/Shelf Life** | **Brief Description** | **Remarks** |
| 1 | M/s Digital Imaging Systems, 121 Habitat Apartments, Shadman II, Ghaus-ul-Azam Road, Lahore | **Legal Manufacture:** M/s Abbott Vascular 3200 Lakeside Drive, Santa Clara, CA 95054, USA **Manufacturing Sites:** (1) M/s Abbott Vascular Cashel Road, Clonmel, Tipperary, Ireland (2) M/s Abbott Vascular 26531, YNEZ Road, Temecula CA 92591, USA (3) M/s Abbott Vascular 52 Calle 3, B31 Coyol Free Zone, El Coyol, Aljuela, Costa Rica (4) M/s Abbott Vascular Road No.2, KM 58, Cruce Davila, Barceloneta, PR 00617, USA | Xience Prime Everolimus Eluting Coronary Stent System  (Reg No.74643)  Class D  Shelf Life: 2Year  Diameter(mm) Length (mm)  2.25 x 8,12,15,18,23,28  2.50 x 8,12,15,18,23,28,33,38  2.75 x 8,12,15,18,23,28,33,38  3.0 x 8,12,15,18,23,28,33,38  3.50 x 8,12,15,18,23,28,33,38  4.0 x 8,12,15,18,23,28,33,38 | DrugEluting Coronary Stent System |  |
| 2 | M/s Digital Imaging Systems, 121 Habitat Apartments, Shadman II, Ghaus-ul-Azam Road, Lahore | **Legal Manufacture:** M/s Abbott Vascular 3200 Lakeside Drive, Santa Clara, CA 95054, USA **Manufacturing Sites:** (1) M/s Abbott Vascular Cashel Road, Clonmel, Tipperary, Ireland (2) M/s Abbott Vascular 26531, YNEZ Road, Temecula CA 92591, USA (3) M/s Abbott Vascular 52 Calle 3, B31 Coyol Free Zone, El Coyol, Aljuela, Costa Rica (4) M/s Abbott Vascular Road No.2, KM 58, Cruce Davila, Barceloneta, PR 00617, USA | NC Trek RX Coronary Dilatation Catheter  (Reg No. 74650)  Class D  Shelf Life: 2Year  1.50 mm x 06 mm  1.50 mm x 08 mm  1.50 mm x 12 mm  1.50 mm x 15 mm  1.50 mm x20 mm  2.0 mm x 06 mm  2.0 mm x 08mm  2.0 mm x 12 mm  2.0 mm x 15 mm  2.0 mm x20 mm  2.25 mm x 06 mm  2.25 mm x 08mm  2.25 mm x 12 mm  2.25 mm x 15 mm  2.25mm x20 mm  2.5 mm x 06 mm  2.5 mm x 08mm  2.5 mm x 12 mm  2.5 mm x 15 mm  2.5mm x20 mm  2.75 mm x 06 mm  2.75 mm x 08mm  2.75 mm x 12 mm  2.75 mm x 15 mm  2.75mm x20 mm  3.0 mm x 06 mm  3.0 mm x 08mm  3.0 mm x 12 mm  3.0 mm x 15 mm  3.0 mm x20 mm  3.25 mm x 06 mm  3.25 mm x 08mm  3.25 mm x 12 mm  3.25 mm x 15 mm  3.25mm x20 mm  3.5 mm x 06 mm  3.5 mm x 08mm  3.5 mm x 12 mm  3.5 mm x 15 mm  3.5mm x20 mm  3.75 mm x 06 mm  3.75 mm x 08mm  3.75 mm x 12 mm  3.75 mm x 15 mm  3.75mm x20 mm  4.0 mm x 8 mm  4.0 mm x 12 mm  4.0 mm x 15 mm  4.0 mm x 20 mm  4.5 mm x 8 mm  4.5 mm x 12 mm  4.5 mm x 15 mm  4.5 mm x 20 mm  5.0 mm x 8 mm  5.0 mm x 12 mm  5.0 mm x 15 mm  5.0mm x 20 mm | Coronary Dilatation Catheter |  |
| 3 | M/s Digital Imaging Systems, 121 Habitat Apartments, Shadman II, Ghaus-ul-Azam Road, Lahore | **Legal Manufacture:** M/s Abbott Vascular 3200 Lakeside Drive, Santa Clara, CA 95054, USA **Manufacturing Sites:** (1) M/s Abbott Vascular Cashel Road, Clonmel, Tipperary, Ireland (2) M/s Abbott Vascular 26531, YNEZ Road, Temecula CA 92591, USA (3) M/s Abbott Vascular 52 Calle 3, B31 Coyol Free Zone, El Coyol, Aljuela, Costa Rica (4) M/s Abbott Vascular Road No.2, KM 58, Cruce Davila, Barceloneta, PR 00617, USA | RX Herculink Elite Peripheral Stent System  (Reg No. 74652)  Class D  Shelf Life: 3Year  Diameter(mm) Length (mm)  4.00 x 12,15,18  4.5 x 12,15,18  5.00 x 12,15,18  5.5 x 12,15,18  6.00 x 12,15,18  6.5 x 12,15,18  7.00 x 12,15,18 | Peripheral Stent System |  |
| 4 | M/s Digital Imaging Systems, 121 Habitat Apartments, Shadman II, Ghaus-ul-Azam Road, Lahore | **Legal Manufacture:** M/s Abbott Vascular 3200 Lakeside Drive, Santa Clara, CA 95054, USA **Manufacturing Sites:** (1) M/s Abbott Vascular Cashel Road, Clonmel, Tipperary, Ireland (2) M/s Abbott Vascular 26531, YNEZ Road, Temecula CA 92591, USA (3) M/s Abbott Vascular 52 Calle 3, B31 Coyol Free Zone, El Coyol, Aljuela, Costa Rica (4) M/s Abbott Vascular Road No.2, KM 58, Cruce Davila, Barceloneta, PR 00617, USA | Omnilink Elite Peripheral Stent System  (Reg No. 74644)  Class D  Shelf Life: 3Year  4.00 x 12,16,19  5.00 x 12,16,19,29,39,59  6.00 x 12,16,19,29,39,59  7.00 x 12,16,19,29,39,59  8.00 x 19,29,39,59  9.00 x 19,29,39,59  10.00 x 19,29,39,59 | Peripheral Stent System |  |
| 5 | M/s Digital Imaging Systems, 121 Habitat Apartments, Shadman II, Ghaus-ul-Azam Road, Lahore | **Legal Manufacture:** M/s Abbott Vascular 3200 Lakeside Drive, Santa Clara, CA 95054, USA **Manufacturing Sites:** (1) M/s Abbott Vascular Cashel Road, Clonmel, Tipperary, Ireland (2) M/s Abbott Vascular 26531, YNEZ Road, Temecula CA 92591, USA (3) M/s Abbott Vascular 52 Calle 3, B31 Coyol Free Zone, El Coyol, Aljuela, Costa Rica (4) M/s Abbott Vascular Road No.2, KM 58, Cruce Davila, Barceloneta, PR 00617, USA | RX Acculink Carotid Stent System  (Reg No. 74651)  Class D  Shelf Life: 2Year  Diameter(mm) Length (mm)  5.00 x 20,30,40  6.00 x 20,30,40  7.00 x 20,30,40  8.00 x 20,30,40  9.00 x 20,30,40  10.00 x 20,30,40  6.0-8.0 x 30,40  7.0-10.0 x 30,40 | Carotid Stent System |  |
| 6 | M/s Digital Imaging Systems, 121 Habitat Apartments, Shadman II, Ghaus-ul-Azam Road, Lahore | **Legal Manufacture:** M/s Abbott Vascular 3200 Lakeside Drive, Santa Clara, CA 95054, USA **Manufacturing Sites:** (1) M/s Abbott Vascular Cashel Road, Clonmel, Tipperary, Ireland (2) M/s Abbott Vascular 26531, YNEZ Road, Temecula CA 92591, USA (3) M/s Abbott Vascular 52 Calle 3, B31 Coyol Free Zone, El Coyol, Aljuela, Costa Rica (4) M/s Abbott Vascular Road No.2, KM 58, Cruce Davila, Barceloneta, PR 00617, USA | Mini Trek RX Coronary Dilatation Catheter  (Reg No. 74649)  Class D  Shelf Life: 2Year  1.20 mm x 06 mm  1.20 mm x 08 mm  1.20 mm x 12 mm  1.20 mm x 15mm  1.20 mm x 20 mm  1.50 mm x 06 mm  1.50 mm x 08 mm  1.50 mm x 12 mm  1.50 mm x 15 mm  1.50 mm x20 mm  2.0 mm x 06 mm  2.0 mm x 08mm  2.0 mm x 12 mm  2.0 mm x 15 mm  2.0 mm x20 mm  2.0 mm x 25 mm  2.0 mm x 30 mm | Coronary Dilatation Catheter |  |
| 7 | M/s Digital Imaging Systems, 121 Habitat Apartments, Shadman II, Ghaus-ul-Azam Road, Lahore | **Legal Manufacture:** M/s Abbott Vascular 3200 Lakeside Drive, Santa Clara, CA 95054, USA **Manufacturing Sites:** (1) M/s Abbott Vascular Cashel Road, Clonmel, Tipperary, Ireland (2) M/s Abbott Vascular 26531, YNEZ Road, Temecula CA 92591, USA (3) M/s Abbott Vascular 52 Calle 3, B31 Coyol Free Zone, El Coyol, Aljuela, Costa Rica (4) M/s Abbott Vascular Road No.2, KM 58, Cruce Davila, Barceloneta, PR 00617, USA | Trek RX Coronary Dilatation Catheter  (Reg No. 74648)  Class D  Shelf Life: 2Year  2.25 mm x 06 mm  2.25 mm x 08mm  2.25 mm x 12 mm  2.25 mm x 15 mm  2.25mm x20 mm  2.25 mm x 25 mm  2.25mm x30 mm  2.5 mm x 06 mm  2.5 mm x 08mm  2.5 mm x 12 mm  2.5 mm x 15 mm  2.5mm x20 mm  2.5 mm x 25 mm  2.5mm x30 mm  2.75 mm x 06 mm  2.75 mm x 08mm  2.75 mm x 12 mm  2.75 mm x 15 mm  2.75mm x20 mm  2.75 mm x 25 mm  2.75mm x30 mm  3.0 mm x 06 mm  3.0 mm x 08mm  3.0 mm x 12 mm  3.0 mm x 15 mm  3.0 mm x20 mm  3.0 mm x 25 mm  3.0 mm x30 mm  3.25 mm x 06 mm  3.25 mm x 08mm  3.25 mm x 12 mm  3.25 mm x 15 mm  3.25mm x20 mm  3.25 mm x 25 mm  3.25mm x30 mm  3.5 mm x 06 mm  3.5 mm x 08mm  3.5 mm x 12 mm  3.5 mm x 15 mm  3.5mm x20 mm  3.5 mm x 25 mm  3.5mm x30 mm  3.75 mm x 06 mm  3.75 mm x 08mm  3.75 mm x 12 mm  3.75 mm x 15 mm  3.75mm x20 mm  4.0 mm x 8 mm  4.0 mm x 12 mm  4.0 mm x 15 mm  4.0 mm x 20 mm  4.0 mm x 25 mm  4.0 mm x 30 mm  4.5 mm x 12 mm  4.5 mm x 15 mm  5.0 mm x 12 mm  5.0 mm x 15 mm | Coronary Dilatation Catheter |  |
| **Decision:** The Board approved the products at serial no. 1-7 for renewal in the name of M/s s Digital Imaging Systems, Lahore. | | | | | |
| 8 | M/s Sind Medical Stores, 13-B, Block 6, PECHS, Shahrah e Faisal, Karachi | **Manufacture By:** M/s Wuxi Yushou Medical Appliances Co. Ltd., China | Yushou Sterile Latex Free Disposable Syringes 3ml, 5ml, 10ml & 20ml  (Reg No. 59223)  Class B  Shelf Life: 5Year | Disposable Syringes |  |
| 9 | M/s Sind Medical Stores, 13-B, Block 6, PECHS, Shahrah e Faisal, Karachi | **Manufacture By:** M/s Wuxi Yushou Medical Appliances Co. Ltd., China | Yushou Sterile Latex Free Disposable Syringes 50ml  (Reg No. 59224)  Class B  Shelf Life: 5Year | Disposable Syringes |  |
| 10 | M/s Sind Medical Stores, 13-B, Block 6, PECHS, Shahrah e Faisal, Karachi | **Manufacture By:** M/s Wuxi Yushou Medical Appliances Co. Ltd., China | Yushou Sterile Disposable Insulin Syringes 1.0ml  (Reg No. 59222)  Class B  Shelf Life: 5Year | Disposable Insulin Syringes |  |
| **Decision:** The Board approved the products at serial No. 8-10 for renewal subject to the foreign inspection of the manufcturer. | | | | | |

**Item No. XIV: HARDSHIP OF DISPOSABLE SYRINGE MANUFACTURERS CAUSEDTHROUGH SRO DATED 15-03-2017.**

Medical Devices Board (MDB), DRAP in its 9th meeting held on 5th July, 2018 decided to constitute a committee under the Chairmanship of Dr. Abdul Haleem Khan, member MDB to examine the petition of the Pakistan Medical Devices Manufacturers Association regarding hardships faced by its members in term of levy of different taxes by Federal Board of Revenue (FBR).

In pursuance of the decision of the MDB, the Committee held its meeting along with representatives of Pakistan Medical Devices Manufacturers Association (PMDMA) under the Chairmanship of Dr. Abdul Haleem Khan on August 3, 2018 in DRAP. The following were in attendance:

1. Dr. Abdul Haleem Khan In Chair

Member, MDB

1. Dr. Sajid Bashir Via Videophone

Member, MDB

1. Ms. Hira Bhutto Focal Person

Assistant Director-I, MDB

1. Mr. Tariq Mahmood

Member, PMDMA

1. Mr. QamarZaman

Member, PMDMA

1. Mr. SirajMehmood

Member, PMDMA

**Recommendations of the Committee:**

The Committee was of the considered opinion that imposition of sales tax on finished and raw material of medical devices is an extra burden on patients since it is passed on to patients by the firms. Therefore MDB should take a sympathetic view and address the concern of medical device manufacturers and importers by recommending waver of sales tax on both imported raw material used in manufacturing of medical devices and finished medical devices previously declared or defined as drugs. The MDB should send a proposal to Federal Board of Revenue (FBR) to exempt the levy of sales tax on imported raw materials used in manufacturing of medical devices and finished medical devices of following categories:

**MEDICAL DEVICES PREVIOUSLY DECLARED AS DRUGS UNDER VARIOUS SROs**

|  |  |  |
| --- | --- | --- |
| **S.No.** | **SRO No.** | **Products** |
|  | **S.R.O 324(I)/94** | Disposable Syringes  Disposables Set for collection or transfusion of blood of giving any infusion. |
|  | **S.R.O 957(I)/2009** | Cannula  Catheter  Stent |
|  | **S.R.O 349(I)/2010** | Auto-Disable Syringes and butterfly needles. |

**MEDICAL DEVICES PREVIOUSLY DEFINED AS DRUGS**

|  |  |  |
| --- | --- | --- |
| **S.No.** | **SRO No.** | **Products** |
|  | **S.R.O 824(I)/2018** | 1. Abortive and contraceptive devices 2. Surgical Ligatures 3. Sutures 4. Bandages 5. Absorbent cotton 6. Adhesive plasters |

Submitted for wisdom and consideration of the Medical Device Board.

**Decision :** The Board deliberated on the report of the Committee and after discussion agreed to write a letter to the Federal Board of Revenue (FBR) for exempetion of sales tax on raw material imported for manufactring and import of finished form of above referred medical devices or otherwise. The Board authorised the Chairman MDB to include any other medical device(s) or class(es) of medical device in a letter to FBR for exemption of sales tax.

**Item No. XV M/S B. BRAUN PAKISTAN PVT. LTD APPLICATION FOR TRANSFER OF REGISTRATION FROM IMPORT TO LOCAL MANUFACTURING OF MEDICAL DEVICE NAMELY “ INJECTOCAN” DISPOSABLE SYRINGE UNDER CONTRACT MANUFACTURING BY M/S AMSON VACCINES & PHARMA PVT. LIMITED**

It is submitted that M/s B. Braun Pakistan Pvt. Ltd has applied for transfer of registration from import to local manufacturing of medical device Namely “ Injectocan” Disposable Syringe under Contract Manufacturing by M/s Amson Vaccines & Pharma Pvt. Limited.

Firm has submitted following documents in support of their application.

1. Copy of Registration Letter
2. Application on Form 7 by M/s B.Braun (contract giver)
3. Copy of Agreement between M/s B.Braun Pakistan & M/s Amsons Vaccine & Pharma.
4. Bank Deposit ChallanRs. 25,000/-
5. Manufacturing and Quality control documentation.
6. Label artwork.
7. Undertaking on stamp paper.

It is submitted that under rule 67 of Medical Devices Rules, 2017 Out sourcing of manufacturing of medical devices may be allowed subject to fulfillment of the following conditions:-

1. the establishment for manufacturing medical device being contract giver, intending to outsource, has been licensed and its medical device enlisted or registered by the MDB or approved by any regulatory authority of USA, Japan, Australia, Canada, Austria, Belgium, Denmark, France, Germany, Ireland, Italy, Netherlands, Norway, Spain, Sweden, Switzerland and United Kingdom or pre-qualified by World Health Organization or CE marked by manufacturer whose conformity assessment is performed by conformity assessment bodies notified in NANDO database under the relevant European directive for medical devices subject to evidence and supporting document;
2. the contract giver shall possess establishment licence issued by the MDB; and
3. if the contract giver is of foreign jurisdiction, the MDB shall determine the conditions of out sourcing.

(2) Outsourcing of manufacturing processes or analysis of medical devices may be allowed subject to the conditions as may be prescribed”

Submitted for wisdom and consideration of Medical Device Board.

**Decision:** The Board acceeded to the request of the firm, namely M/s B. Braun Pakistan Pvt. Ltd for outsource / contract manufacturing of “Injectocan” Disposable Syringe from M/s Amson Vaccines & Pharma Pvt. Limited, Islamabad. The outsource / contract manufactruing shall be for a period of 2 years and the registration shall stand cancelled after 2 years without any further renewal of the product. M/s B. Braun Pakistan Pvt. Ltd shall inform the period for outsource / contract manufacturing.

**Item No. XVI. CONVERSION OF DRUG MANUFACTURING LICENCE (BY WAY OF FORMULATION)ISSUED BY LICENCING DIVISION UNDER THE DRUGS ACT, 1976 TO ESTABLISHMENT LICENCE TO MANUFACTURE MEDICAL DEVICES UNDER MEDICAL DEVICES RULES, 2017.**

Certain Medical Devices were declared or defined as drugs such as sutures, bandages, ligatures, adsorbent cotton, adhesive plasters, syringes, I.V. Catheters, etcthrough various SROs under the Drugs Act, 1976 and in Schedule-I of DRAP Act, 2012. These products are also treated as medical devices internationally and now declared by Federal Government as medical devices.

Drug Licencing Division of Drug Regulatory Authority of Pakistan has issued Drug Manufacturing Licence by way of formulation to the manufacturers of above referred medical devices. Since these medical devices are required to be dealt under Medical Devices Rules, 2017. Therefore, they require to be manufactured under Establishment Licence to Manufacture Medcial Devices in order to streamline/ regularize their transition. Therefore, matter is put up for consideration and wisdom of Medical Device Board.

**Decision:** The Board discussed the matter at length and acceeded to the immediate conversion of Drug Manufacturing Licence (DML) to Establishment Licence to Manufacture Medcial Devices. The firms manufacturing medical devices previously defined or declared as drugs shall be asked to surrender their DML.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**Item No. XVII. DELEGATION OF POWER TO CHAIRMAN MEDICAL DEVICES BOARD FOR CHANGE IN PARTICULARS AND ANY MINOR CORRECTION IN PARTICULARS OF ESTABLISHMENT LICENCE AND ENLISTMENT / REGISTRATION CERTIFICATES.**

The Secretary of the MDB with the permission of the Chair presented before the Board that Board may delegate power to Chairman, MDB for change in particulars such as change in qualified staff of the firm etc, minor changes in inclusion of directors name or correction of spellings of directors or firm / company name so as to smoothly run the day to day business of Medical Devices Division rather than bringing to the MDB.

**Decision:** MDB delegated the powers and authorised the Chairman MDB to approve change in particulars and approve minor changes such as mentioned above on behalf of MDB for smooth working of the Medical Devices Division.

**Item No. XVIII. REGULATION OF SURGICAL INSTRUMENTS MANUFACTURERS:**

Chairman MDB also informed the Board that the Surgical Instruments Manufacturers Association of Pakistan (SIMAP) is continuously pursuing for exemption of surgical instruments from regulation under Medical Devices Rules, 2017. He further informed that surgical instruments industry is an important industry earning much needed foreign exchange for the country and we have no intention to hamper the export. The exemption of regulation of surgical instruments needed to be looked under the DRAP Act, 2012.

**Decision:** The Board agreed that the exemption under the DRAP Act, 2012 cannot be allowed since medical devices are required to be regulated under the existing law of land, however, the Board and the Medical Devices Division is ready to facilitate them. The Board asked the Chairman to bringforth the complete case and proposal for regulation of surgical instruments in the next Board meeting.

**Annexure-I**

**LIST OF PROVISIONAL REGISTRATION OF MEDICAL DEVICES FOR IMPORT PROVIDED IN SCHEDULE-D OF MDR, 2017.**

**Issued after 9th Meeting**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S.#** | **PR.No.** | **Issue Date** | **Name of Importer** | **Product Name** | **Name of Manufacturer** |
|  | 00552-PR-MD | 13-07-2018 | M/s Cardiac Care,  848-C, Shadman-I, Lahore | Sterile Single use epicardial electrodes Myopace, unipolar, adult, straight chest needle, L 60cm | **Manufactured By**  M/s FIAB S.p.A., Via P. Costoli 4, 50039 Vicchio (FI) Italy |
|  | 00553-PR-MD | 13-07-2018 | -do- | Pro-Active (Pro-Long Tube) | **Manufactured By**  M/s PRO-ACTIVE S.r.l., Via del Commercio 12, 45100 Rovigo (RO), Italy |
|  | 00554-PR-MD | 13-07-2018 | M/s B. Braun Pakistan (Pvt) Ltd,  The Forum, Suite 216, Kh-e-Jami, Block 9, Clifton,  Karachi | Combidyn PVC Press, Tubing Transp | **Manufacturer**  M/s B. Braun Melsungen AG Carl-Braun-Strabe 1 34212 Melsungen, Germany |
|  | 00555-PR-MD | 13-07-2018 | M/s Intra Health,  56/A, Unit No.1, Justice Inamullah Road, Block 7/8, KCHS,  Karachi | Thermo Sheild (Adult Viral/Bacterial Filter + HME )  (038-41-350) | **Manufactured By**  M/s Flexicare Medical Limited Cyon Valley Business Park, Mountain Ash, CF45 4ER, UK |
|  | 00556-PR-MD | 13-07-2018 | M/s Fresenius Medical Care (Pvt) Ltd,  TAMC, First Floor, 27C III, M.M. Alam Road Gulberg-III,  Lahore | Tenckhoff-Catheter 180 & 215 | **Legal Manufacturer**  M/s Fresenius Medical Care AG & Co. KGaA, 61346 Bad Homburg, Germany  **Manufacturing Site**  M/s Fresenius Medical Care Deutschland GmbH Werk St. Wendel Frankfurter Strabe 6 - 8 66606 St. Wendel Germany |
|  | 00557-PR-MD | 13-07-2018 | -do- | Swan-Neck-Catheter 416 | -do- |
|  | 00558-PR-MD | 13-07-2018 | M/s JK Traders,  Suite No. 13, 2nd Floor Majeed Plaza Bank Road, Saddar,  Rawalpindi | Balloon Inflation Devices | **Manufactured By**  M/s Anntom Medica Limited, 5/F, Building A6 Yinlong Industrial Zone, 292 Shenshan Road, Longgang District Shenzhen, China |
|  | 00559-PR-MD | 03-10-2018 | M/s Iqbal & Company,  Alfalah Manzil Opp. National Police Foundation,  Street # 26, Sector E-11/4,  Islamabad. | Quad Lumen Multi-Cath Catheter Sets | **Manufacturer:** M/s Medical Components Inc., DBA - Medcomp 1499, Delp Drive Harleysville, PA 19438, USA  **Contract Manufacturer:**  M/s Martech Medical Products Calle Mercurio N 46, Parque Industrial Mexicali 1Mexicali, Baja California 21210, Mexico |
|  | 00560-PR-MD | 03-10-2018 | -do- | Duo-Flow® Catheter Sets | **-do-** |
|  | 00561-PR-MD | 03-10-2018 | -do- | Double Lumen Multi-Cath Catheter Sets | **-do-** |
|  | 00562-PR-MD | 03-10-2018 | -do- | Triple Lumen Multi-Cath Catheter Sets | **-do-** |
|  | 00563-PR-MD | 03-10-2018 | M/s Verizon,  60-D, F.C.C. Zahoor Elahi Road, Gulberg IV,  Lahore. | Biocor TM Valve Aortic – Sizes 21mm – 29mm (St. Jude Medical ® Tissue Valve) | **Legal Manufacturer:** M/s St. Jude Medical 177, County Road B.E, Saint Paul, MN 55117,USA  **Manufacturing Site:**   1. M/s St. Jude Medical Costa Rica Ltda., Edificio No. 44, Calle 0, Ave. 2, Zona Franca Coyol, El Coyol, Alajuela 1897-4050 Costa Rica 2. M/s St. Jude Medical Brasil Ltda., Rua Professor Jose Vieria de Meddonca, 1301 Bairro Engenho Nogueira Belo Horizonte, Minas Gerais 31.310-260, Brazil |
|  | 00564-PR-MD | 03-10-2018 | -do- | Trifecta TM Valve Aortic – Sizes 19mm – 29mm (St. Jude Medical ® Tissue Valve) | **-do-** |
|  | 00565-PR-MD | 03-10-2018 | -do- | Biocor TM Valve Mitral – Sizes 25mm – 33mm (St. Jude Medical ® Tissue Valve) | **-do-** |
|  | 00566-PR-MD | 03-10-2018 | -do- | Aortic Expanded Hemodynamic Plus – Sizes 17mm – 27mm (St. Jude Medical® Mechanical Heart Valve SJM® Masters Series (Rotatable)) | **Legal Manufacturer:** M/s St. Jude Medical 177, County Road B.E, Saint Paul, MN 55117, USA  **Manufacturing Facility:** M/s St. Jude Medical, Puerto Rico, LLC Lot 20-B St. Caguas, PR 00725, USA |
|  | 00567-PR-MD | 03-10-2018 | -do- | SJM® Tailor TM Annuloplasty Ring | **-do-** |
|  | 00568-PR-MD | 03-10-2018 | -do- | SJM Regent TM Mechanical Heart Valve – Sizes 19mm – 27mm (St. Jude Medical® Regent TM Mechanical Heart Valve (Rotatable)) | **-do-** |
|  | 00569-PR-MD | 03-10-2018 | -do- | Mitral Expanded – Sizes 19mm – 33mm (St. Jude Medical® Mechanical Heart Valve SJM® Masters Series (Rotatable)) | **-do-** |
|  | 00570-PR-MD | 03-10-2018 | -do- | St. Jude Medical® SJM® Masters Series Coated Aortic Valved Graft (Rotatable) | **-do-** |
|  | 00571-PR-MD | 03-10-2018 | -do- | Inoue-Balloon (PMTC Catheter) | **Manufacturer:** M/s Toray Industries, Inc., 1-1, Nihonbashi-Muromachi 2-Chome, Chou-ku, Tokyo, 103-8666, Japan  **Manufacturing Site:** M/s Toray Industries, Inc. Seta Plant 1-1, Oe 1-Chome, Otsu, Shiga, 520-2141, Japan |
|  | 00572-PR-MD | 04-10-2018 | M/s Digital Imaging Systems, 121-Habitat Apartments, Shadman II, Ghaus-ul-Azam Road, Lahore. | SightRail Manual Dilator Sheath | **Manufacturer:** M/s Spectranetics Corp., 9965 Federal Drive, Colorado Springs, CO 80921,USA |
|  | 00573-PR-MD | 04-10-2018 | -do- | TightRail Rotating Dilator Sheath | -do- |
|  | 00574-PR-MD | 04-10-2018 | -do- | Bridge Occlusion Balloon Catheter | -do- |
|  | 00575-PR-MD | 04-10-2018 | -do- | GlideLight Laser Sheath Kit | -do- |
|  | 00576-PR-MD | 04-10-2018 | -do- | ELCA (Coronary Laser Atherectomy Catheters) | -do- |
|  | 00577-PR-MD | 04-10-2018 | M/s Intek Corporation,  Office No. 30, First Floor Al Amin Plaza, The Mall, Rawalpindi. | Thrombuster II | **Marketed By:** M/s Kaneka Corporation, 3-18, 2-Chome, Nakanoshima, Kita-ku, Osaka-city, Osaka, 530-8288, Japan.  **Manufacturing Site:** M/s Kaneka Medix Corporation Kanagawa Plant 225-1, Aza Deguchi, Yamakita, Yamakita-machi, Ashigara-Kami-gun, Kanagawa, 258-0113, Japan |
|  | 00578-PR-MD | 04-10-2018 | -do- | TR Band | **Marketed By:** M/s Terumo Corporation, 44-1, 2-Chome, Hatagaya, Shibuya-ku, Tokoyo, Japan.  **Manufacturing Site:** M/s Ashitaka Factory of Terumo Corporation 150, Maimaigi-cho, Fujinomiya City, Shizuoka Prefecture, Japan |
|  | 00579-PR-MD | 04-10-2018 | -do- | Azur Peripheral Embolization Coil System | **Manufacturer/**  **Manufacturing Site:**   1. M/s Microvention, Inc.1311 Valencia Avenue Tustin, CA 92780 USA 2. M/s MicroVention Costa Rica S.R.L., Zona Franca Coyol Alajuela Costa Rica. |
|  | 00580-PR-MD | 04-10-2018 | -do- | Angioway Manifold | **Legal Manufacturer:** M/s Lepu Medical (Europe) Cooeratief UA Abe Lenstra boulevard 36 8448JB Heerenveen, The Netherlands.  **Manufacturer:**  M/s Lepu Medical Technology (Beijing) Co., Ltd No.37 Chaoqian Rd., Changping District Beijing 102200 China |
|  | 00581-PR-MD | 04-10-2018 | -do- | Rayband TM Radial Artery Compression Tourniquets | -do- |
|  | 00582-PR-MD | 04-10-2018 | -do- | Angioway High Pressure Extension Tubings | **Legal Manufacturer:** M/s Lepu Medical (Europe) Cooeratief UA Abe Lenstra boulevard 36 8448JB Heerenveen, The Netherlands.  **Manufacturer:** M/s Lepu Medical Technology (Beijing) Co., Ltd No.37 Chaoqian Rd., Changping District Beijing 102200 China |
|  | 00583-PR-MD | 04-10-2018 | -do- | Shoocin TM Introducer Kit | **-**do- |
|  | 00584-PR-MD | 04-10-2018 | -do- | Brilliant TM Introducer Kit | do- |
|  | 00585-PR-MD | 04-10-2018 | -do- | Inflation Device Kits (Y-Hemostasis Valve Sets and Inflation Devices) | do- |
|  | 00586-PR-MD | 04-10-2018 | -do- | Contrast Medium Injection Manifolds Kits | do- |
|  | 00587-PR-MD | 04-10-2018 | -do- | OrienTM Guiding Catheter | **Legal Manufacturer:** M/s Lepu Medical (Europe) Cooeratief UA Abe Lenstra boulevard 36 8448JB Heerenveen, The Netherlands.  **Manufacturer:** M/s Lepu Medical Technology (Beijing) Co., Ltd No.37 Chaoqian Rd., Changping District Beijing 102200 China |
|  | 00588-PR-MD | 04-10-2018 | -do- | Occlutech® PDA Occluder | **Manufacturer:** M/s Occlutech GmbH Wildenbruchstrasse 15 07745 Jena Germany.  **Manufacturing Site:** M/s Occlutech Tibbi Urunler San. Ve Tic Ltd. Sti AHL Serbest Bolgesi, E-5 Blok 34149 Barkirkoy/Istanbul, Turkey |
|  | 00589-PR-MD | 04-10-2018 | -do- | Occlutech® Muscular VSD Occluder | -do- |
|  | 00590-PR-MD | 04-10-2018 | -do- | Occlutech® Delivery Set | **Manufacturer/**  **Manufacturing Site:**  M/s Occlutech GmbH Wildenbruchstrasse 15 07745 Jena Germany |
|  | 00591-PR-MD | 04-10-2018 | -do- | Figulla® Flex II ASD | -do- |
|  | 00592-PR-MD | 04-10-2018 | -do- | Angio-Seal VIP | **Legal Manufacturer:** M/s Terumo Medical Corp. 2101 Cottontail LN. Somerset, NJ 08873 USA.  **Manufacturer(s):**  1. M/s Terumo Puerto Rico LLC Innovacion Street Lot 21 Caguas West Industrial Park Caguas, PR 00725 USA  2. M/s St. Jude Medical 14901 Deveau PL. Minnetonka, MN 55345 USA |
|  | 00593-PR-MD | 04-10-2018 | -do- | Ultimaster Tansei Sirolimus Eluting Coronary Stent System | **Manufacturer:** M/s Terumo Europe N.V., Interleuvenlaan 40, 3001 Leuven, Belgium. |
|  | 00594-PR-MD | 04-10-2018 | -do- | PBMV Balloon Catheters Sets | **Manufacturer:** M/s Shenzhen Shineyard Medical Device co., Ltd., 3 F, Changfeng Industrial Block no.3, Liuxian Road, Xin'an Bao'an District, Shenzhen, Guangdong, China. |
|  | 00595-PR-MD | 04-10-2018 | -do- | MemopartTM ASD Occluder | **Legal Manufacturer:**  M/s Lepu Medical (Europe) Cooperatief UA Abe Lenstra Boulevard 36, 8448 JB Heerenveen, The Netherlands.  **Manufacturer:**  M/s Shanghai Shape Memory Alloy Co., Ltd., 1F and 5F, Tower 41, No.258Xinzhuan Rd., Songjiang High-Tech Park, CaoHejing Shanghai 201612, China |
|  | 0096-PR-MD | 04-10-2018 | -do- | MemopartTM PDA Occluder | -do- |
|  | 00597-PR-MD | 04-10-2018 | -do- | MemopartTM Occluder Delivery System | -do- |
|  | 00598-PR-MD | 04-10-2018 | -do- | MemopartTM VSD Occluder | -do- |

==============